## Sheet1
FILE:001.67.00/3.00 | LABRADOR INTERCONNECTED SYSTEM
MONTHLY SUMMARY OF LABRADOR ENERGY
Month of: April 2018 |  | {kWhrs}
| Month | Month | 12 M-T-D | 12 M-T-D | To Date Change | Change
PURCHASES FROM CF(L)Co | Last Year | This Year | Last Year | This Year | Kwhrs | %
Labrador West
Total CF(L)Co Purchases (Recall + TwinCo) | 191744218 | 77879575 | 2210549089 | 2103801989 | -106747100 | -4.829%
Hydro CF(L)Co Purchases TwinCo | 153502032 | 77879575 | 1815507705 | 1705176851 | -110330854 | -6.077%
Less Fermont Wheeling | 0 | 0 | 1133246 | 0 | -1133246 | -100%
Hydro CF(L)Co Purchases Recall - West | 38242186 | 0 | 393908138 | 398625138 | 4717000 | 1.197%
Labrador East
138 Kv Metered | 30781085 | 33022406 | 347293172 | 340178371 | -7114801 | -2.049%
Plus Transformer Losses (Recall + TwinCo) | 70513 | 74454 | 848745 | 828283 | -20462 | -2.411%
Hydro CF(L)Co Purchases Recall - East | 30851598 | 33022406 | 348141917 | 340932200 | -7209717 | -2.071%
Hydro CF(L)Co Purchases (Recall + TwinCo) - C. Falls Customers | 48146 | 668796 | 1093240 | 3707138 | 2613898 | 239.1%
TOTAL CFLCO PURCHASES (Recall + TwinCo) | 222643962 | 111570777 | 2559784246 | 2448441327 | -111342919 | -4.35%
HV North Plant Diesel (net) | -37680 | -17480 | -366200 | -220960 | 145240 | -39.66%
HV Gas Turbine (Gross) | 5.4 | 101444.4 | 885792.4 | 947434 | 61641.6 | 6.959%
Less Gas Turbine Station Service | 50975 | 609250 | 390657 | 4185981 | 3795324 | 971.5%
HV GT Synchronous Condensor Use | 157901.4 | 254385 | 1177842.6 | 1181645.6 | 3803 | 0.3229%
HV Gas Turbine (Net) | -208871 | -762190.6 | -682707.2 | -4420192.6 | -3737485.4 | 547.5%
TOTAL NET GENERATION | -246551 | -779670.6 | -1048907.2 | -4641152.6 | -3592245.4 | 342.5%
TOTAL CFLCO PURCHASES + NET GENERATION | 222397411 | 110791106.4 | 2558735338.8 | 2443800174.4 | -114935164.4 | -4.492%
Purchases For Export at border | 126207000 | 160251000 | 1628912000 | 1604507000 | -24405000 | -1.498%
TOTAL CFLCO PURCHASES + NET GENERATION + EXPORTS | 348604411 | 271042106.4 | 4187647338.8 | 4048307174.4 | -139340164.4 | -3.327%
TOTAL ENERGY DISTRIBUTED | 209742906 | 104734923 | 2406161675 | 2312770633 | -93391042 | -3.881%
TRANSMISSION & TRANSFORMER LOSSES | 12654505 | 6056183.4 | 152573663.8 | 131029541.4 | -21544122.4 | -14.12%
TOTAL SYSTEM PERCENT LOSS FACTOR (INCLUDING TwinCo) | 5.69% | 5.466% | 5.963% | 5.362%
ENERGY DISTRIBUTION
Labrador West
I. O. C. C. | 150098893 | 38041478 | 1766598286 | 1617729981 | -148868305 | -8.427%
Wabush Mines | 374045 | 1553585 | 3704033 | 9432080 | 5728047 | 154.6%
Wabush Townsite | 7565283 | 8633304 | 84274160 | 86901324 | 2627164 | 3.117%
Labrador City | 23075613 | 25232769 | 229694909 | 269060290 | 39365381 | 17.14%
Sub Total Sales | 181113834 | 73461136 | 2084271388 | 1983123675 | -101147713 | -4.853%
Losses | 10630384 | 4418439 | 126277701 | 120678314 | -5599387 | -4.434%
% Losses | 5.544% | 5.673% | 5.713% | 5.736%
Labrador East
Goose Bay | 24637786 | 25981380 | 281458614 | 276467414 | -4991200 | -1.773%
Dept. of National Defence (boiler) | 1653 | 8477 | 58536 | 76523 | 17987 | 30.73%
Muskrat Falls Construction Power | 3944637 | 4706399 | 39351418 | 49685918 | 10334500 | 26.26%
Sub Total Sales | 28584076 | 30696256 | 320868568 | 326229855 | 5361287 | 1.671%
Losses | 2020971 | 1546479.4 | 26224441.8 | 10061192.4 | -16163249.4 | -61.63%
% Losses | 6.603% | 4.796% | 7.555% | 2.992%
Churchill Falls Sales | 44996 | 577531 | 1021719 | 3417103 | 2395384 | 234.4%
TOTAL SALES INTERCONNECTED | 209742906 | 104734923 | 2406161675 | 2312770633 | -93391042 | -3.881%
Export Sales at Border | 126207000 | 160251000 | 1628912000 | 1604507000 | -24405000 | -1.498%
TOTAL WABTS SALES + EXPORTS | 335949906 | 264985923 | 4035073675 | 3917277633 | -117796042 | -2.919%
Coincident Peak 138 & 230 (MW) | 371.94 | 216.725 | 417.019 | 430.742
Peak Time (Island time) | 9:00 | 10:00 | 6110:44 | 6577:03
Peak Date | 2017-04-04 | 2018-04-05 | 0.89583 | 0.64583
Printed Date/Time: | 2018-11-16 | 43420.5099
Comments:
2018-04-01 | [5 empty] | H:\Operations\Monthly Reports\SPGD\2008-2018 SPGD (excel) - Paul Stratton\2018\[SPGD Island March 2018.xlsx]Sheet1
2014-12-01 | [5 empty] | H:\Operations\Monthly Reports\SPGD\2008-2018 SPGD (excel) - Paul Stratton\2014\[SPGD Island November 2014.xlsx]Sheet1