## Sheet1
FILE:001.67.00/3.00 | LABRADOR INTERCONNECTED SYSTEM
MONTHLY SUMMARY OF LABRADOR ENERGY
Month of: August 2018 |  | {kWhrs}
| MONTH | MONTH | 12 M-T-D | 12 M-T-D | 12 M-T-D Delta | CHANGE | Calendar YTD
PURCHASES FROM CF(L)Co | LAST YEAR | THIS YEAR | LAST YEAR | THIS YEAR | KWHRS | % | THIS YEAR
Labrador West
Total CF(L)Co Purchases (Recall + TwinCo) | 167709063 | 154968231 | 2219477261 | 1972899816 | -246577445 | -11.11% | 1213817716
Hydro CF(L)Co Purchases TwinCo | 151359973 | 153961913.4769 | 1808934847 | 1638936655.8908 | -169998191.1092 | -9.398% | 1031214771.8908
Less Fermont Wheeling | 0 | 0 | 851299 | 301521.3821 | -549777.6179 | -64.58% | 301521.3821
Hydro CF(L)Co Purchases Recall - West | 16349090 | 1006317.5231 | 409691115 | 333661638.7271 | -76029476.2729 | -18.56% | 182301422.7271
Labrador East
138 Kv Metered | 15070465 | 15399400 | 353812747 | 350839759 | -2972988 | -0.8403% | 238658360
Plus Transformer Losses (Recall + TwinCo) | 50837 | 51772 | 856171 | 842932 | -13239 | -1.546% | 572570
Hydro CF(L)Co Purchases Recall - East | 15121302 | 15451172 | 354668918 | 351608237 | -3060681 | -0.863% | 239156476
Hydro CF(L)Co Purchases (Recall + TwinCo) - C. Falls Customers | 179282 | 232583 | 2055482 | 3427318.2044 | 1371836.2044 | 66.74% | 2535832.2044
TOTAL CFLCO PURCHASES (Recall + TwinCo) | 183009647 | 170651986 | 2576201661 | 2327935371.2044 | -248266289.7956 | -9.637% | 1455510024.2044
HV North Plant Diesel (net) | 0 | -17880 | -359800 | -199240 | 160560 | -44.62% | -139160
HV Gas Turbine (Gross) | 134005 | 73753.2 | 714765.8 | 1114711.2 | 399945.4 | 55.95% | 593838
Less Gas Turbine Station Service | 1081 | 17250 | 501093 | 4947875 | 4446782 | 887.4% | 3499375
HV GT Synchronous Condensor Use | 0 | 0 | 1177241.4 | 1435384.4 | 258143 | 21.93% | 1277564
HV Gas Turbine (Net) | 132924 | 56503.2 | -963568.6 | -5268548.2 | -4304979.6 | 446.8% | -4183101
TOTAL NET GENERATION | 132924 | 38623.2 | -1323368.6 | -5467788.2 | -4144419.6 | 313.2% | -4322261
TOTAL CFLCO PURCHASES + NET GENERATION | 183142571 | 170690609.2 | 2574878292.4 | 2322467583.0044 | -252410709.3956 | -9.803% | 1451187763.2044
Purchases For Export at border | 169653000 | 183960000 | 1605173000 | 1623221000 | 18048000 | 1.124% | 1115723000
TOTAL CFLCO PURCHASES + NET GENERATION + EXPORTS | 352795571 | 354650609.2 | 4180051292.4 | 3945688583.0044 | -234362709.3956 | -5.607% | 2566910763.2044
TOTAL ENERGY DISTRIBUTED | 173490372 | 161732237 | 2419644789 | 2198255318 | -221389471 | -9.15% | 1375403900
TRANSMISSION & TRANSFORMER LOSSES | 9652199 | 8958372.2 | 155233503.4 | 124212265.0044 | -31021238.3956 | -19.98% | 75783863.2044
TOTAL SYSTEM PERCENT LOSS FACTOR (INCLUDING TwinCo) | 5.27% | 5.248% | 6.029% | 5.348% |  |  | 42.06%
ENERGY DISTRIBUTION
Labrador West
I. O. C. C. | 143086311 | 129076975 | 1755915885 | 1479670469 | -276245416 | -15.73% | 893446796
Wabush Mines | 405034 | 1297133 | 3985792 | 13330375 | 9344583 | 234.4% | 10437062
Wabush Townsite | 2751516 | 2909194 | 84496015 | 90223824 | 5727809 | 6.779% | 59959592
Labrador City | 12519631 | 13423945 | 246784385 | 275988393 | 29204008 | 11.83% | 181856779
Sub Total Sales | 158762492 | 146707247 | 2091182077 | 1859213061 | -231969016 | -11.09% | 1145700229
Losses | 8946571 | 8260984 | 128295184 | 113686755 | -14608429 | -11.39% | 68117487
% Losses | 5.335% | 5.331% | 5.78% | 5.762% |  |  | 44.97%
Labrador East
Goose Bay | 12061858 | 12384244 | 284243183 | 283683463 | -559720 | -0.1969% | 192317827
Dept. of National Defence (boiler) | 813 | 9378 | 43199 | 104206 | 61007 | 141.2% | 71017
Muskrat Falls Construction Power | 2497656 | 2455254 | 42255319 | 52253788 | 9998469 | 23.66% | 35147191
Sub Total Sales | 14560327 | 14848876 | 326541701 | 336041457 | 9499756 | 2.909% | 227536035
Losses | 693899 | 640919.2 | 26803848.4 | 10098991.8 | -16704856.6 | -62.32% | 7298180
% Losses | 4.549% | 4.138% | 7.586% | 2.918% |  |  | 27.02%
Churchill Falls Sales | 167553 | 176114 | 1921011 | 3000800 | 1079789 | 56.21% | 2167636
TOTAL SALES INTERCONNECTED | 173490372 | 161732237 | 2419644789 | 2198255318 | -221389471 | -9.15% | 1375403900
Export Sales at Border | 169653000 | 183960000 | 1605173000 | 1623221000 | 18048000 | 1.124% | 1115723000
TOTAL WABTS SALES + EXPORTS | 343143372 | 345692237 | 4024817789 | 3821476318 | -203341471 | -5.052% | 2491126900
Coincident Peak 138 & 230 (MW) | 274.61 | 270.965 | 417.019 | 430.742
Peak Time (Island time) | 6:00 | 7:00 | 6110:44 | 6577:03
Peak Date | 2017-08-27 | 2018-08-31 | 0.89583 | 0.64583
Printed Date/Time: | 2018-11-16 | 43420.5145
Comments:
2018-08-01 | [5 empty] | H:\Operations\Monthly Reports\SPGD\2008-2018 SPGD (excel) - Paul Stratton\2018\[SPGD Island July 2018.xlsx]Sheet1
| 4.907% | 2.093% | 3.223% | 2.924% |  |  | 3.01%
ISLAND PEAK MW | 848.38 | 829.63 | 1714.15 | 1647.86 | Established | 1714.47
ISLAND PEAK TIME | 16:53 | 11:58 | 7:13 | 16:42 | Record Peaks | 10:07
ISLAND PEAK DATE | 2017-07-02 | 2018-07-04 | 2017-02-08 | 2017-12-27 |  | 2014-02-10
Printed Date/Time: | 2018-11-16 | 43420.5135
Comments: | Updated 2018-08-08-0910. Newfoundland Power Energy
2018-07-01 | [5 empty] | H:\Operations\Monthly Reports\SPGD\2008-2018 SPGD (excel) - Paul Stratton\2018\[SPGD Island June 2018.xlsx]Sheet1
2018-06-01 | [5 empty] | H:\Operations\Monthly Reports\SPGD\2008-2018 SPGD (excel) - Paul Stratton\2018\[SPGD Island May 2018.xlsx]Sheet1