## Sheet1
FILE:001.67.00/3.00 | LABRADOR INTERCONNECTED SYSTEM
MONTHLY SUMMARY OF LABRADOR ENERGY
Month of: December 2018 |  | {kWhrs}
| MONTH | MONTH | 12 M-T-D | 12 M-T-D | 12 M-T-D Delta | CHANGE | Calendar YTD
PURCHASES FROM CF(L)Co | LAST YEAR | THIS YEAR | LAST YEAR | THIS YEAR | KWHRS | % | THIS YEAR
Labrador West
Total CF(L)Co Purchases (Recall + TwinCo) | 220592587 | 218928293 | 2228724580 | 1966201455 | -262523125 | -11.78% | 1966201455
Hydro CF(L)Co Purchases TwinCo | 161287436 | 167099991 | 1805075899 | 1662935451.8908 | -142140447.1092 | -7.874% | 1662935451.8908
Less Fermont Wheeling | 0 | 0 | 0 | 301521.3821 | 301521.3821 | 0% | 301521.3821
Hydro CF(L)Co Purchases Recall - West | 59305151 | 51828302 | 423648681 | 302964481.7271 | -120684199.2729 | -28.49% | 302964481.7271
Labrador East
138 Kv Metered | 41117528 | 37768641 | 346726894 | 348188291 | 1461397 | 0.4215% | 348188291
Plus Transformer Losses (Recall + TwinCo) | 86848 | 82163 | 841629 | 838004 | -3625 | -0.4307% | 838004
Hydro CF(L)Co Purchases Recall - East | 41204376 | 37850804 | 347568523 | 348951841 | 1383318 | 0.398% | 348951841
Hydro CF(L)Co Purchases (Recall + TwinCo) - C. Falls Customers | 276899 | 568794 | 2593217 | 4350660.2044 | 1757443.2044 | 67.77% | 4350660.2044
TOTAL CFLCO PURCHASES (Recall + TwinCo) | 262073862 | 257347891 | 2578886320 | 2319503956.2044 | -259382363.7956 | -10.06% | 2319503956.2044
HV North Plant Diesel (net) | -45800 | -33840 | -237440 | -203400 | 34040 | -14.34% | -203400
HV Gas Turbine (Gross) | 3.6 | 3.6 | 704104.6 | 817295.2 | 113190.6 | 16.08% | 817295.2
Less Gas Turbine Station Service | 588750 | 58750 | 1861379 | 3632625 | 1771246 | 95.16% | 3632625
HV GT Synchronous Condensor Use | 157676.4 | 211411.8 | 1079193.6 | 1573177.8 | 493984.2 | 45.77% | 1573177.8
HV Gas Turbine (Net) | -746422.8 | -270158.2 | -2236468 | -4388507.6 | -2152039.6 | 96.22% | -4388507.6
TOTAL NET GENERATION | -792222.8 | -303998.2 | -2473908 | -4591907.6 | -2117999.6 | 85.61% | -4591907.6
TOTAL CFLCO PURCHASES + NET GENERATION | 261281639.2 | 257043892.8 | 2576412412 | 2314912048.6044 | -261500363.3956 | -10.15% | 2314912048.6044
Purchases For Export at border | 100887000 | 47254000 | 1578497000 | 1578812000 | 315000 | 0.01996% | 1578812000
TOTAL CFLCO PURCHASES + NET GENERATION + EXPORTS | 362168639.2 | 304297892.8 | 4154909412 | 3893724048.6044 | -261185363.3956 | -6.286% | 3893724048.6044
TOTAL ENERGY DISTRIBUTED | 246276850 | 239749088.75 | 2427027723 | 2170602056.75 | -256425666.25 | -10.57% | 2170602056.75
TRANSMISSION & TRANSFORMER LOSSES | 15004789.2 | 17294804.05 | 149384689 | 144309991.8544 | -5074697.1456 | -3.397% | 144309991.8544
TOTAL SYSTEM PERCENT LOSS FACTOR (INCLUDING TwinCo) | 5.743% | 6.728% | 5.798% | 6.234% |  |  | 73.87%
ENERGY DISTRIBUTION
Labrador West
I. O. C. C. | 161427466 | 152785096 | 1747355793 | 1431807007 | -315548786 | -18.06% | 1431807007
Wabush Mines | 900049 | 6916267 | 5599481 | 25801574 | 20202093 | 360.8% | 25801574
Wabush Townsite | 11590689 | 11550782 | 84929357 | 93527994 | 8598637 | 10.12% | 93527994
Labrador City | 32478223 | 33620533.75 | 261762379 | 286609824.75 | 24847445.75 | 9.492% | 286609824.75
Sub Total Sales | 206396427 | 204872678.75 | 2099647010 | 1837746399.75 | -261900610.25 | -12.47% | 1837746399.75
Losses | 14196160 | 14055614.25 | 129077570 | 128455055.25 | -622514.75 | -0.4823% | 128455055.25
% Losses | 6.435% | 6.42% | 5.792% | 6.533% |  |  | 77.2%
Labrador East
Goose Bay | 33690258 | 34389662 | 278552707 | 292663590 | 14110883 | 5.066% | 292663590
Dept. of National Defence (boiler) | 9324 | 17922 | 53137 | 113433 | 60296 | 113.5% | 113433
Muskrat Falls Construction Power | 5922057 | 0 | 46351303 | 36412759 | -9938544 | -21.44% | 36412759
Sub Total Sales | 39621639 | 34407584 | 324957147 | 329189782 | 4232635 | 1.303% | 329189782
Losses | 790514.2 | 3139221.8 | 20137468 | 15170151.4 | -4967316.6 | -24.67% | 15170151.4
% Losses | 1.956% | 8.361% | 5.835% | 4.405% |  |  | 54.62%
Churchill Falls Sales | 258784 | 468826 | 2423566 | 3665875 | 1242309 | 51.26% | 3665875
TOTAL SALES INTERCONNECTED | 246276850 | 239749088.75 | 2427027723 | 2170602056.75 | -256425666.25 | -10.57% | 2170602056.75
Export Sales at Border | 100887000 | 47254000 | 1578497000 | 1578812000 | 315000 | 0.01996% | 1578812000
TOTAL WABTS SALES + EXPORTS | 347163850 | 287003088.75 | 4005524723 | 3749414056.75 | -256110666.25 | -6.394% | 3749414056.75
Coincident Peak 138 & 230 (MW) | 407.959 | 370.656 | 413.086 | 430.742
Peak Time (Island time) | 12:30 | 19:30 | 6110:44 | 6577:03
Peak Date | 2017-12-30 | 2018-12-26 | 0.89583 | 0.64583
Printed Date/Time: | 2019-04-01 | 43556.6436
Comments: | 2019-02-20-1000: Updated Labrador City Distribution
2018-12-01 | [5 empty] | H:\Operations\Monthly Reports\SPGD\2008-2018 SPGD (excel) - Paul Stratton\2018\[SPGD Labrador July 2018.xlsx]Sheet1