## Sheet1
FILE:001.67.00/3.00 | LABRADOR INTERCONNECTED SYSTEM
MONTHLY SUMMARY OF LABRADOR ENERGY
Month of: February 2018 |  | {kWhrs}
| Month | Month | 12 M-T-D | 12 M-T-D | To Date Change | Change
PURCHASES FROM CF(L)Co | Last Year | This Year | Last Year | This Year | Kwhrs | %
Labrador West
Total CF(L)Co Purchases (Recall + TwinCo) | 201904297 | 209888996 | 2191138651 | 2243752751 | 52614100 | 2.401%
Hydro CF(L)Co Purchases TwinCo | 149540183 | 149506159 | 1811531651 | 1801413697 | -10117954 | -0.5585%
Less Fermont Wheeling | 0 | 0 | 1133246 | 0 | -1133246 | -100%
Hydro CF(L)Co Purchases Recall - West | 52364114 | 60382837 | 378473754 | 442339054 | 63865300 | 16.87%
Labrador East
138 Kv Metered | 43214075 | 43266516 | 346284786 | 345857603 | -427183 | -0.1234%
Plus Transformer Losses | 97220 | 92421 | 847586 | 835980 | -11606 | -1.369%
Hydro CF(L)Co Purchases Recall - East | 43311295 | 43358937 | 347132372 | 346693583 | -438789 | -0.1264%
Hydro CF(L)Co Purchases Recall - C. Falls Customers | 63400 | 293489 | 1144716 | 2980036 | 1835320 | 160.3%
TOTAL CFLCO PURCHASES (Recall + TwinCo) | 245278992 | 253541422 | 2539415739 | 2593426370 | 54010631 | 2.127%
HV North Plant Diesel (net) | -36840 | -45480 | -381800 | -294160 | 87640 | -22.95%
HV Gas Turbine (Gross) | 49221 | 0 | 885787 | 681460.6 | -204326.4 | -23.07%
Less Gas Turbine Station Service | 63105 | 591000 | 364710 | 3077726 | 2713016 | 743.9%
HV GT Synchronous Condensor Use | 237081.6 | 242323.2 | 1160517.6 | 1086431 | -74086.6 | -6.384%
HV Gas Turbine (Net) | -250965.6 | -833323.2 | -639440.6 | -3482696.4 | -2843255.8 | 444.6%
TOTAL NET GENERATION | -287805.6 | -878803.2 | -1021240.6 | -3776856.4 | -2755615.8 | 269.8%
TOTAL CFLCO PURCHASES + NET GENERATION | 244991186.4 | 252662618.8 | 2538394498.4 | 2589649513.6 | 51255015.2 | 2.019%
Purchases For Export at border | 87277000 | 77980000 | 1632501000 | 1558447000 | -74054000 | -4.536%
TOTAL CFLCO PURCHASES + NET GENERATION + EXPORTS | 332268186.4 | 330642618.8 | 4170895498.4 | 4148096513.6 | -22798984.8 | -0.5466%
TOTAL ENERGY DISTRIBUTED | 229159807 | 238307533 | 2387645460 | 2445599222 | 57953762 | 2.427%
TRANSMISSION & TRANSFORMER LOSSES | 15831379.4 | 14355085.8 | 150749038.4 | 144050291.6 | -6698746.8 | -4.444%
TOTAL SYSTEM PERCENT LOSS FACTOR (INCLUDING TwinCo) | 6.462% | 5.682% | 5.939% | 5.563%
ENERGY DISTRIBUTION
Labrador West
I. O. C. C. | 151136706 | 151891788 | 1752998794 | 1749937308 | -3061486 | -0.1746%
Wabush Mines | 340323 | 1153021 | 3597329 | 7000367 | 3403038 | 94.6%
Wabush Townsite | 10539135 | 11645343 | 85192281 | 87155001 | 1962720 | 2.304%
Labrador City | 28069313 | 31645374 | 224760829 | 269110032 | 44349203 | 19.73%
Sub Total Sales | 190085477 | 196335526 | 2066549233 | 2113202708 | 46653475 | 2.258%
Losses | 11818820 | 13553470 | 124589418 | 130550043 | 5960625 | 4.784%
% Losses | 5.854% | 6.457% | 5.686% | 5.818%
Labrador East
Goose Bay | 34063063 | 35563956 | 283102049 | 280798550 | -2303499 | -0.8137%
Dept. of National Defence (boiler) | 2918 | 7752 | 57883 | 63244 | 5361 | 9.262%
Muskrat Falls Construction Power | 4949097 | 6126010 | 36866467 | 48749640 | 11883173 | 32.23%
Sub Total Sales | 39015078 | 41697718 | 320026399 | 329611434 | 9585035 | 2.995%
Losses | 4008411.4 | 782415.8 | 26084732.4 | 13305292.6 | -12779439.8 | -48.99%
% Losses | 9.317% | 1.842% | 7.537% | 3.88%
Churchill Falls Sales | 59252 | 274289 | 1069828 | 2785080 | 1715252 | 160.3%
TOTAL SALES INTERCONNECTED | 229159807 | 238307533 | 2387645460 | 2445599222 | 57953762 | 2.427%
Export Sales at Border | 87277000 | 77980000 | 1632501000 | 1558447000 | -74054000 | -4.536%
TOTAL WABTS SALES + EXPORTS | 316436807 | 316287533 | 4020146460 | 4004046222 | -16100238 | -0.4005%
Coincident Peak 138 & 230 (MW) | 413.062 | 430.742 | 417.019 | 430.742
Peak Time (Island time) | 12:00 | 18:00 | 6110:44 | 6577:03
Peak Date | 2017-02-05 | 2018-02-03 | 0.89583 | 0.64583
Printed Date/Time: | 2018-11-16 | 43420.5078
Comments:
2018-02-01 | [5 empty] | H:\Operations\Monthly Reports\SPGD\2008-2018 SPGD (excel) - Paul Stratton\2018\[SPGD Island January 2018.xlsx]Sheet1
2014-12-01 | [5 empty] | H:\Operations\Monthly Reports\SPGD\2008-2018 SPGD (excel) - Paul Stratton\2014\[SPGD Island November 2014.xlsx]Sheet1