## Sheet1
FILE:001.67.00/3.00 | LABRADOR INTERCONNECTED SYSTEM
MONTHLY SUMMARY OF LABRADOR ENERGY
Month of: February 2019 |  | {kWhrs}
| MONTH | MONTH | 12 M-T-D | 12 M-T-D | 12 M-T-D Delta | CHANGE | Calendar YTD
PURCHASES FROM CF(L)Co | LAST YEAR | THIS YEAR | LAST YEAR | THIS YEAR | KWHRS | % | THIS YEAR
Labrador West
Total CF(L)Co Purchases (Recall + TwinCo) | 209888996 | 207695113 | 2243752751 | 1973544187 | -270208564 | -12.04% | 439894906
Hydro CF(L)Co Purchases TwinCo | 149506159 | 151200000 | 1801413697 | 1673060193.8908 | -128353503.1092 | -7.125% | 318513773
Less Fermont Wheeling | 0 | 0 | 0 | 301521.3821 | 301521.3821 | 0% | 0
Hydro CF(L)Co Purchases Recall - West | 60382837 | 56495113 | 442339054 | 300182471.7271 | -142156582.2729 | -32.14% | 121381133
Labrador East
138 Kv Metered | 43266516 | 38826394 | 345857603 | 340636734 | -5220869 | -1.51% | 82828440
Plus Transformer Losses (Recall + TwinCo) | 92421 | 82984 | 835980 | 820340 | -15640 | -1.871% | 177208
Hydro CF(L)Co Purchases Recall - East | 43358937 | 38909378 | 346693583 | 341382620 | -5310963 | -1.532% | 83005648
Hydro CF(L)Co Purchases (Recall + TwinCo) - C. Falls Customers | 293489 | 606634 | 2980036 | 5122678.2044 | 2142642.2044 | 71.9% | 1308872
TOTAL CFLCO PURCHASES (Recall + TwinCo) | 253541422 | 247211125 | 2593426370 | 2320049485.2044 | -273376884.7956 | -10.54% | 524209426
HV North Plant Diesel (net) | -45480 | -35600 | -294160 | -205040 | 89120 | -30.3% | -83960
HV Gas Turbine (Gross) | 0 | 3.6 | 681460.6 | 790721.8 | 109261.2 | 16.03% | 3.6
Less Gas Turbine Station Service | 591000 | 60250 | 3077726 | 2436125 | -641601 | -20.85% | 143000
HV GT Synchronous Condensor Use | 242323.2 | 234316.8 | 1086431 | 1566898 | 480467 | 44.22% | 500522.4
HV Gas Turbine (Net) | -833323.2 | -294563.2 | -3482696.4 | -3212301.2 | 270395.2 | -7.764% | -643518.8
TOTAL NET GENERATION | -878803.2 | -330163.2 | -3776856.4 | -3417341.2 | 359515.2 | -9.519% | -727478.8
TOTAL CFLCO PURCHASES + NET GENERATION | 252662618.8 | 246880961.8 | 2589649513.6 | 2316632144.0044 | -273017369.5956 | -10.54% | 523481947.2
Purchases For Export at border | 77980000 | 44647000 | 1558447000 | 1463939000 | -94508000 | -6.064% | 53709000
TOTAL CFLCO PURCHASES + NET GENERATION + EXPORTS | 330642618.8 | 291527961.8 | 4148096513.6 | 3780571144.0044 | -367525369.5956 | -8.86% | 577190947.2
TOTAL ENERGY DISTRIBUTED | 238307533 | 231141876 | 2445599222 | 2167176893.75 | -278422328.25 | -11.38% | 490332065
TRANSMISSION & TRANSFORMER LOSSES | 14355085.8 | 15739085.8 | 144050291.6 | 149455250.2544 | 5404958.6544 | 3.752% | 33149882.2
TOTAL SYSTEM PERCENT LOSS FACTOR (INCLUDING TwinCo) | 5.682% | 6.375% | 5.563% | 6.451% |  |  | 12.67%
ENERGY DISTRIBUTION
Labrador West
I. O. C. C. | 151891788 | 142414114 | 1749937308 | 1422786593 | -327150715 | -18.69% | 303352983
Wabush Mines | 1153021 | 8436390 | 7000367 | 40182989 | 33182622 | 474% | 16462285
Wabush Townsite | 11645343 | 12020058 | 87155001 | 93836711 | 6681710 | 7.666% | 24995382
Labrador City | 31645374 | 32441119 | 269110032 | 288277184.75 | 19167152.75 | 7.122% | 68981943
Sub Total Sales | 196335526 | 195311681 | 2113202708 | 1845083477.75 | -268119230.25 | -12.69% | 413792593
Losses | 13553470 | 12383432 | 130550043 | 128460709.25 | -2089333.75 | -1.6% | 26102313
% Losses | 6.457% | 5.962% | 5.818% | 6.509% |  |  | 11.87%
Labrador East
Goose Bay | 35563956 | 35318461 | 280798550 | 293952585 | 13154035 | 4.685% | 75434969
Dept. of National Defence (boiler) | 7752 | 7752 | 63244 | 113433 | 50189 | 79.36% | 16608
Muskrat Falls Construction Power | 6126010 | 0 | 48749640 | 23775361 | -24974279 | -51.23% | 0
Sub Total Sales | 41697718 | 35326213 | 329611434 | 317841379 | -11770055 | -3.571% | 75451577
Losses | 782415.8 | 3253001.8 | 13305292.6 | 20123899.8 | 6818607.2 | 51.25% | 6826592.2
% Losses | 1.842% | 8.432% | 3.88% | 5.954% |  |  | 16.61%
Churchill Falls Sales | 274289 | 503982 | 2785080 | 4252037 | 1466957 | 52.67% | 1087895
TOTAL SALES INTERCONNECTED | 238307533 | 231141876 | 2445599222 | 2167176893.75 | -278422328.25 | -11.38% | 490332065
Export Sales at Border | 77980000 | 44647000 | 1558447000 | 1463939000 | -94508000 | -6.064% | 53709000
TOTAL WABTS SALES + EXPORTS | 316287533 | 275788876 | 4004046222 | 3631115893.75 | -372930328.25 | -9.314% | 544041065
Coincident Peak 138 & 230 (MW) | 430.742 | 417.694 | 430.742 | 436.942
Peak Time (Island time) | 18:00 | 18:30 | 6110:44 | 6577:03
Peak Date | 2018-02-03 | 2019-02-19 | 0.89583 | 0.64583
Printed Date/Time: | 2019-04-01 | 43556.6476
Comments:
2019-02-01 | [5 empty] | H:\Operations\Monthly Reports\SPGD\2008-2018 SPGD (excel) - Paul Stratton\2019\[SPGD Island January 2019.xlsx]Sheet1