## Sheet1
FILE:001.67.00/3.00 | LABRADOR INTERCONNECTED SYSTEM
MONTHLY SUMMARY OF LABRADOR ENERGY
Month of: January 2018 |  | {kWhrs}
| Month | Month | 12 M-T-D | 12 M-T-D | To Date Change | Change
PURCHASES FROM CF(L)Co | Last Year | This Year | Last Year | This Year | Kwhrs | %
Labrador West
Total CF(L)Co Purchases (Recall + TwinCo) | 215619706 | 222663178 | 2188810386 | 2235768052 | 46957666 | 2.145%
Hydro CF(L)Co Purchases TwinCo | 162511050 | 158882872 | 1813186989 | 1801447721 | -11739268 | -0.6474%
Less Fermont Wheeling | 0 | 0 | 1133246 | 0 | -1133246 | -100%
Hydro CF(L)Co Purchases Recall - West | 53108656 | 63780306 | 374490151 | 434320331 | 59830180 | 15.98%
Labrador East
138 Kv Metered | 48035213 | 47113481 | 345496707 | 345805162 | 308455 | 0.08928%
Plus Transformer Losses | 103301 | 102451 | 843590 | 840779 | -2811 | -0.3332%
Hydro CF(L)Co Purchases Recall - East | 48138514 | 47215932 | 346340297 | 346645941 | 305644 | 0.08825%
Hydro CF(L)Co Purchases Recall - C. Falls Customers | 86635 | 243365 | 1170217 | 2749947 | 1579730 | 135%
TOTAL CFLCO PURCHASES (Recall + TwinCo) | 263844855 | 270122475 | 2536320900 | 2585163940 | 48843040 | 1.926%
HV North Plant Diesel (net) | 11240 | -36840 | -403240 | -285520 | 117720 | -29.19%
HV Gas Turbine (Gross) | 0 | 26577 | 836603.8 | 730681.6 | -105922.2 | -12.66%
Less Gas Turbine Station Service | 60048 | 748500 | 342875 | 2549831 | 2206956 | 643.7%
HV GT Synchronous Condensor Use | 262483.2 | 264479 | 1169132.4 | 1081189.4 | -87943 | -7.522%
HV Gas Turbine (Net) | -322531.2 | -986402 | -675403.6 | -2900338.8 | -2224935.2 | 329.4%
TOTAL NET GENERATION | -311291.2 | -1023242 | -1078643.6 | -3185858.8 | -2107215.2 | 195.4%
TOTAL CFLCO PURCHASES + NET GENERATION | 263533563.8 | 269099233 | 2535242256.4 | 2581978081.2 | 46735824.8 | 1.843%
Purchases For Export at border | 101355000 | 90602000 | 1643665000 | 1567744000 | -75921000 | -4.619%
TOTAL CFLCO PURCHASES + NET GENERATION + EXPORTS | 364888563.8 | 359701233 | 4178907256.4 | 4149722081.2 | -29185175.2 | -0.6984%
TOTAL ENERGY DISTRIBUTED | 246025922 | 255449695 | 2385589553 | 2436451496 | 50861943 | 2.132%
TRANSMISSION & TRANSFORMER LOSSES | 17507641.8 | 13649538 | 149652703.4 | 145526585.2 | -4126118.2 | -2.757%
TOTAL SYSTEM PERCENT LOSS FACTOR (INCLUDING TwinCo) | 6.643% | 5.072% | 5.903% | 5.636%
ENERGY DISTRIBUTION
Labrador West
I. O. C. C. | 158655176 | 160481609 | 1751038876 | 1749182226 | -1856650 | -0.106%
Wabush Mines | 339661 | 927849 | 3606446 | 6187669 | 2581223 | 71.57%
Wabush Townsite | 11921886 | 13041322 | 85876761 | 86048793 | 172032 | 0.2003%
Labrador City | 31897617 | 35669209 | 224611884 | 265533971 | 40922087 | 18.22%
Sub Total Sales | 202814340 | 210119989 | 2065133967 | 2106952659 | 41818692 | 2.025%
Losses | 12805366 | 12543189 | 123676419 | 128815393 | 5138974 | 4.155%
% Losses | 5.939% | 5.633% | 5.65% | 5.762%
Labrador East
Goose Bay | 37837068 | 38582018 | 284441477 | 279297657 | -5143820 | -1.808%
Dept. of National Defence (boiler) | 3583 | 8856 | 56762 | 58410 | 1648 | 2.903%
Muskrat Falls Construction Power | 5289964 | 6511388 | 34863686 | 47572727 | 12709041 | 36.45%
Sub Total Sales | 43130615 | 45102262 | 319361925 | 326928794 | 7566869 | 2.369%
Losses | 4696607.8 | 1090428 | 25899728.4 | 16531288.2 | -9368440.2 | -36.17%
% Losses | 9.82% | 2.361% | 7.501% | 4.813%
Churchill Falls Sales | 80967 | 227444 | 1093661 | 2570043 | 1476382 | 135%
TOTAL SALES INTERCONNECTED | 246025922 | 255449695 | 2385589553 | 2436451496 | 50861943 | 2.132%
Export Sales at Border | 101355000 | 90602000 | 1643665000 | 1567744000 | -75921000 | -4.619%
TOTAL WABTS SALES + EXPORTS | 347380922 | 346051695 | 4029254553 | 4004195496 | -25059057 | -0.6219%
Coincident Peak 138 & 230 (MW) | 413.086 | 419.846 | 417.019 | 419.846
Peak Time (Island time) | 8:30 | 8:00 | 6110:44 | 6577:03
Peak Date | 2016-01-16 | 2018-01-30 | 0.89583 | 0.64583
Printed Date/Time: | 2018-11-16 | 43420.5064
Comments:
2018-01-01 | [5 empty] | H:\Operations\Monthly Reports\SPGD\2008-2018 SPGD (excel) - Paul Stratton\2017\[SPGD Island December 2017.xlsx]Sheet1
2014-12-01 | [5 empty] | H:\Operations\Monthly Reports\SPGD\2008-2018 SPGD (excel) - Paul Stratton\2014\[SPGD Island November 2014.xlsx]Sheet1