## Sheet1
FILE:001.67.00/3.00 | LABRADOR INTERCONNECTED SYSTEM
MONTHLY SUMMARY OF LABRADOR ENERGY
Month of: January 2019 |  | {kWhrs}
| MONTH | MONTH | 12 M-T-D | 12 M-T-D | 12 M-T-D Delta | CHANGE | Calendar YTD
PURCHASES FROM CF(L)Co | LAST YEAR | THIS YEAR | LAST YEAR | THIS YEAR | KWHRS | % | THIS YEAR
Labrador West
Total CF(L)Co Purchases (Recall + TwinCo) | 222663178 | 232199793 | 2235768052 | 1975738070 | -260029982 | -11.63% | 232199793
Hydro CF(L)Co Purchases TwinCo | 158882872 | 167313773 | 1801447721 | 1671366352.8908 | -130081368.1092 | -7.221% | 167313773
Less Fermont Wheeling | 0 | 0 | 0 | 301521.3821 | 301521.3821 | 0% | 0
Hydro CF(L)Co Purchases Recall - West | 63780306 | 64886020 | 434320331 | 304070195.7271 | -130250135.2729 | -29.99% | 64886020
Labrador East
138 Kv Metered | 47113481 | 44002046 | 345805162 | 345076856 | -728306 | -0.2106% | 44002046
Plus Transformer Losses (Recall + TwinCo) | 102451 | 94224 | 840779 | 829777 | -11002 | -1.309% | 94224
Hydro CF(L)Co Purchases Recall - East | 47215932 | 44096270 | 346645941 | 345832179 | -813762 | -0.2348% | 44096270
Hydro CF(L)Co Purchases (Recall + TwinCo) - C. Falls Customers | 243365 | 702238 | 2749947 | 4809533.2044 | 2059586.2044 | 74.9% | 702238
TOTAL CFLCO PURCHASES (Recall + TwinCo) | 270122475 | 276998301 | 2585163940 | 2326379782.2044 | -258784157.7956 | -10.01% | 276998301
HV North Plant Diesel (net) | -36840 | -48360 | -285520 | -214920 | 70600 | -24.73% | -48360
HV Gas Turbine (Gross) | 26577 | 0 | 730681.6 | 790718.2 | 60036.6 | 8.217% | 0
Less Gas Turbine Station Service | 748500 | 82750 | 2549831 | 2966875 | 417044 | 16.36% | 82750
HV GT Synchronous Condensor Use | 264479 | 266205.6 | 1081189.4 | 1574904.4 | 493715 | 45.66% | 266205.6
HV Gas Turbine (Net) | -986402 | -348955.6 | -2900338.8 | -3751061.2 | -850722.4 | 29.33% | -348955.6
TOTAL NET GENERATION | -1023242 | -397315.6 | -3185858.8 | -3965981.2 | -780122.4 | 24.49% | -397315.6
TOTAL CFLCO PURCHASES + NET GENERATION | 269099233 | 276600985.4 | 2581978081.2 | 2322413801.0044 | -259564280.1956 | -10.05% | 276600985.4
Purchases For Export at border | 90602000 | 9062000 | 1567744000 | 1497272000 | -70472000 | -4.495% | 9062000
TOTAL CFLCO PURCHASES + NET GENERATION + EXPORTS | 359701233 | 285662985.4 | 4149722081.2 | 3819685801.0044 | -330036280.1956 | -7.953% | 285662985.4
TOTAL ENERGY DISTRIBUTED | 255449695 | 259190189 | 2436451496 | 2174342550.75 | -262108945.25 | -10.76% | 259190189
TRANSMISSION & TRANSFORMER LOSSES | 13649538 | 17410796.4 | 145526585.2 | 148071250.2544 | 2544665.0544 | 1.749% | 17410796.4
TOTAL SYSTEM PERCENT LOSS FACTOR (INCLUDING TwinCo) | 5.072% | 6.295% | 5.636% | 6.376% |  |  | 6.295%
ENERGY DISTRIBUTION
Labrador West
I. O. C. C. | 160481609 | 160938869 | 1749182226 | 1432264267 | -316917959 | -18.12% | 160938869
Wabush Mines | 927849 | 8025895 | 6187669 | 32899620 | 26711951 | 431.7% | 8025895
Wabush Townsite | 13041322 | 12975324 | 86048793 | 93461996 | 7413203 | 8.615% | 12975324
Labrador City | 35669209 | 36540824 | 265533971 | 287481439.75 | 21947468.75 | 8.265% | 36540824
Sub Total Sales | 210119989 | 218480912 | 2106952659 | 1846107322.75 | -260845336.25 | -12.38% | 218480912
Losses | 12543189 | 13718881 | 128815393 | 129630747.25 | 815354.25 | 0.633% | 13718881
% Losses | 5.633% | 5.908% | 5.762% | 6.561% |  |  | 5.908%
Labrador East
Goose Bay | 38582018 | 40116508 | 279297657 | 294198080 | 14900423 | 5.335% | 40116508
Dept. of National Defence (boiler) | 8856 | 8856 | 58410 | 113433 | 55023 | 94.2% | 8856
Muskrat Falls Construction Power | 6511388 | 0 | 47572727 | 29901371 | -17671356 | -37.15% | 0
Sub Total Sales | 45102262 | 40125364 | 326928794 | 324212884 | -2715910 | -0.8307% | 40125364
Losses | 1090428 | 3573590.4 | 16531288.2 | 17653313.8 | 1122025.6 | 6.787% | 3573590.4
% Losses | 2.361% | 8.178% | 4.813% | 5.164% |  |  | 8.178%
Churchill Falls Sales | 227444 | 583913 | 2570043 | 4022344 | 1452301 | 56.51% | 583913
TOTAL SALES INTERCONNECTED | 255449695 | 259190189 | 2436451496 | 2174342550.75 | -262108945.25 | -10.76% | 259190189
Export Sales at Border | 90602000 | 9062000 | 1567744000 | 1497272000 | -70472000 | -4.495% | 9062000
TOTAL WABTS SALES + EXPORTS | 346051695 | 268252189 | 4004195496 | 3671614550.75 | -332580945.25 | -8.306% | 268252189
Coincident Peak 138 & 230 (MW) | 419.846 | 436.942 | 419.846 | 436.942
Peak Time (Island time) | 8:00 | 16:30 | 6110:44 | 6577:03
Peak Date | 2018-01-30 | 2019-01-20 | 0.89583 | 0.64583
Printed Date/Time: | 2019-04-01 | 43556.6537
Comments:
2019-01-01 | [5 empty] | H:\Operations\Monthly Reports\SPGD\2008-2018 SPGD (excel) - Paul Stratton\2019\[SPGD Labrador February 2019.xlsx]Sheet1