## Sheet1
FILE:001.67.00/3.00 | LABRADOR INTERCONNECTED SYSTEM
MONTHLY SUMMARY OF LABRADOR ENERGY
Month of: July 2018 |  | {kWhrs}
| MONTH | MONTH | 12 M-T-D | 12 M-T-D | 12 M-T-D Delta | CHANGE | Calendar YTD
PURCHASES FROM CF(L)Co | LAST YEAR | THIS YEAR | LAST YEAR | THIS YEAR | KWHRS | % | THIS YEAR
Labrador West
Total CF(L)Co Purchases (Recall + TwinCo) | 161890872 | 156063279 | 2207034221 | 1985640648 | -221393573 | -10.03% | 1058849485
Hydro CF(L)Co Purchases TwinCo | 145734687 | 151356059 | 1801918769 | 1636334715.4139 | -165584053.5861 | -9.189% | 877252858.4139
Less Fermont Wheeling | 0 | 0 | 851299 | 301521.3821 | -549777.6179 | -64.58% | 301521.3821
Hydro CF(L)Co Purchases Recall - West | 16156185 | 4707220 | 404264153 | 349004411.204 | -55259741.796 | -13.67% | 181295105.204
Labrador East
138 Kv Metered | 15170164 | 16233394 | 352314758 | 350510824 | -1803934 | -0.512% | 223258960
Plus Transformer Losses (Recall + TwinCo) | 50978 | 52462 | 854313 | 841997 | -12316 | -1.442% | 520798
Hydro CF(L)Co Purchases Recall - East | 15221142 | 16285856 | 353169071 | 351278367 | -1890704 | -0.5354% | 223705304
Hydro CF(L)Co Purchases (Recall + TwinCo) - C. Falls Customers | 198697 | 236654 | 1929331 | 3374017.2044 | 1444686.2044 | 74.88% | 2303249.2044
TOTAL CFLCO PURCHASES (Recall + TwinCo) | 177310711 | 172585789 | 2562132623 | 2340293032.2044 | -221839590.7956 | -8.658% | 1284858038.2044
HV North Plant Diesel (net) | -4120 | -3440 | -361760 | -181360 | 180400 | -49.87% | -121280
HV Gas Turbine (Gross) | 0 | 227529 | 733762.6 | 1174963 | 441200.4 | 60.13% | 520084.8
Less Gas Turbine Station Service | 73000 | 170250 | 516300 | 4931706 | 4415406 | 855.2% | 3482125
HV GT Synchronous Condensor Use | 0 | 0 | 1177241.4 | 1435384.4 | 258143 | 21.93% | 1277564
HV Gas Turbine (Net) | -73000 | 57279 | -959778.8 | -5192127.4 | -4232348.6 | 441% | -4239604.2
TOTAL NET GENERATION | -77120 | 53839 | -1321538.8 | -5373487.4 | -4051948.6 | 306.6% | -4360884.2
TOTAL CFLCO PURCHASES + NET GENERATION | 177233591 | 172639628 | 2560811084.2 | 2334919544.8044 | -225891539.3956 | -8.821% | 1280497154.0044
Purchases For Export at border | 169532000 | 171826000 | 1611548000 | 1608914000 | -2634000 | -0.1634% | 931763000
TOTAL CFLCO PURCHASES + NET GENERATION + EXPORTS | 346765591 | 344465628 | 4172359084.2 | 3943833544.8044 | -228525539.3956 | -5.477% | 2212260154.0044
TOTAL ENERGY DISTRIBUTED | 167659903 | 164575855 | 2406650237 | 2210013453 | -196636784 | -8.171% | 1213671663
TRANSMISSION & TRANSFORMER LOSSES | 9573688 | 8063773 | 154160847.2 | 124906091.8044 | -29254755.3956 | -18.98% | 66825491.0044
TOTAL SYSTEM PERCENT LOSS FACTOR (INCLUDING TwinCo) | 5.402% | 4.671% | 6.02% | 5.349% |  |  | 36.82%
ENERGY DISTRIBUTION
Labrador West
I. O. C. C. | 137440816 | 131752442 | 1749483558 | 1493679805 | -255803753 | -14.62% | 764369821
Wabush Mines | 282442 | 1171855 | 3812617 | 12438276 | 8625659 | 226.2% | 9139929
Wabush Townsite | 2796951 | 3059590 | 84383795 | 90066146 | 5682351 | 6.734% | 57050398
Labrador City | 12422760 | 12655751 | 241937669 | 275084079 | 33146410 | 13.7% | 168432834
Sub Total Sales | 152942969 | 148639638 | 2079617639 | 1871268306 | -208349333 | -10.02% | 998992982
Losses | 8947903 | 7423641 | 127416582 | 114372342 | -13044240 | -10.24% | 59856503
% Losses | 5.527% | 4.757% | 5.773% | 5.76% |  |  | 39.64%
Labrador East
Goose Bay | 12199443 | 13199813 | 283720484 | 283361077 | -359407 | -0.1267% | 179933583
Dept. of National Defence (boiler) | 3423 | 9378 | 51880 | 95641 | 43761 | 84.35% | 61639
Muskrat Falls Construction Power | 2328370 | 2548961 | 41457121 | 52296190 | 10839069 | 26.15% | 32691937
Sub Total Sales | 14531236 | 15758152 | 325229485 | 335752908 | 10523423 | 3.236% | 212687159
Losses | 612786 | 581543 | 26618047.2 | 10151971.6 | -16466075.6 | -61.86% | 6657260.8
% Losses | 4.046% | 3.559% | 7.565% | 2.935% |  |  | 22.88%
Churchill Falls Sales | 185698 | 178065 | 1803113 | 2992239 | 1189126 | 65.95% | 1991522
TOTAL SALES INTERCONNECTED | 167659903 | 164575855 | 2406650237 | 2210013453 | -196636784 | -8.171% | 1213671663
Export Sales at Border | 169532000 | 171826000 | 1611548000 | 1608914000 | -2634000 | -0.1634% | 931763000
TOTAL WABTS SALES + EXPORTS | 337191903 | 336401855 | 4018198237 | 3818927453 | -199270784 | -4.959% | 2145434663
Coincident Peak 138 & 230 (MW) | 274.044 | 280.894 | 417.019 | 430.742
Peak Time (Island time) | 15:30 | 12:00 | 6110:44 | 6577:03
Peak Date | 2017-07-30 | 2018-07-02 | 0.89583 | 0.64583
Printed Date/Time: | 2018-11-16 | 43420.5186
Comments:
2018-07-01 | [5 empty] | H:\Operations\Monthly Reports\SPGD\2018 spgd\[spgd_2018_07 rev1 PAL Sept 18.xls]Data
| 4.907% | 2.093% | 3.223% | 2.924% |  |  | 3.01%
ISLAND PEAK MW | 848.38 | 829.63 | 1714.15 | 1647.86 | Established | 1714.47
ISLAND PEAK TIME | 16:53 | 11:58 | 7:13 | 16:42 | Record Peaks | 10:07
ISLAND PEAK DATE | 2017-07-02 | 2018-07-04 | 2017-02-08 | 2017-12-27 |  | 2014-02-10
Printed Date/Time: | 2018-11-16 | 43420.5135
Comments: | Updated 2018-08-08-0910. Newfoundland Power Energy
2018-07-01 | [5 empty] | H:\Operations\Monthly Reports\SPGD\2008-2018 SPGD (excel) - Paul Stratton\2018\[SPGD Island June 2018.xlsx]Sheet1
2018-06-01 | [5 empty] | H:\Operations\Monthly Reports\SPGD\2008-2018 SPGD (excel) - Paul Stratton\2018\[SPGD Island May 2018.xlsx]Sheet1