## Sheet1
FILE:001.67.00/3.00 | LABRADOR INTERCONNECTED SYSTEM
MONTHLY SUMMARY OF LABRADOR ENERGY
Month of: June 2018 |  | {kWhrs}
| MONTH | MONTH | 12 M-T-D | 12 M-T-D | 12 M-T-D Delta | CHANGE | Calendar YTD
PURCHASES FROM CF(L)Co | LAST YEAR | THIS YEAR | LAST YEAR | THIS YEAR | KWHRS | % | THIS YEAR
Labrador West
Total CF(L)Co Purchases (Recall + TwinCo) | 136475506 | 133505665 | 2199222639 | 1991468241 | -207754398 | -9.447% | 902786206
Hydro CF(L)Co Purchases TwinCo | 120193708 | 131879113.4139 | 1799194918 | 1630713343.4139 | -168481574.5861 | -9.364% | 725896799.4139
Less Fermont Wheeling | 0 | 301521.3821 | 1090078 | 301521.3821 | -788556.6179 | -72.34% | 301521.3821
Hydro CF(L)Co Purchases Recall - West | 16281798 | 1325030.204 | 398937643 | 360453376.204 | -38484266.796 | -9.647% | 176587885.204
Labrador East
138 Kv Metered | 17282361 | 21297947 | 350685965 | 349447594 | -1238371 | -0.3531% | 207025566
Plus Transformer Losses (Recall + TwinCo) | 52964 | 57000 | 852961 | 840513 | -12448 | -1.459% | 468336
Hydro CF(L)Co Purchases Recall - East | 17335325 | 21354947 | 351538926 | 350213653 | -1325273 | -0.377% | 207419448
Hydro CF(L)Co Purchases (Recall + TwinCo) - C. Falls Customers | 530464 | 152383.7683 | 1791403 | 3336060.2044 | 1544657.2044 | 86.23% | 2066595.2044
TOTAL CFLCO PURCHASES (Recall + TwinCo) | 154341295 | 155012995.7683 | 2552552968 | 2345017954.2044 | -207535013.7956 | -8.13% | 1112272249.2044
HV North Plant Diesel (net) | -18760 | 17920 | -358960 | -182040 | 176920 | -49.29% | -117840
HV Gas Turbine (Gross) | 0 | 0 | 773429.2 | 947434 | 174004.8 | 22.5% | 292555.8
Less Gas Turbine Station Service | 69550 | 26875 | 454497 | 4834456 | 4379959 | 963.7% | 3311875
HV GT Synchronous Condensor Use | 0 | 0 | 1177241.4 | 1435384.4 | 258143 | 21.93% | 1277564
HV Gas Turbine (Net) | -69550 | -26875 | -858309.2 | -5322406.4 | -4464097.2 | 520.1% | -4296883.2
TOTAL NET GENERATION | -88310 | -8955 | -1217269.2 | -5504446.4 | -4287177.2 | 352.2% | -4414723.2
TOTAL CFLCO PURCHASES + NET GENERATION | 154252985 | 155004040.7683 | 2551335698.8 | 2339513507.8044 | -211822190.9956 | -8.302% | 1107857526.0044
Purchases For Export at border | 159962000 | 156472000 | 1618072000 | 1606620000 | -11452000 | -0.7078% | 759937000
TOTAL CFLCO PURCHASES + NET GENERATION + EXPORTS | 314214985 | 311476040.7683 | 4169407698.8 | 3946133507.8044 | -223274190.9956 | -5.355% | 1867794526.0044
TOTAL ENERGY DISTRIBUTED | 144933746 | 145359880 | 2397939469 | 2213097501 | -184841968 | -7.708% | 1049095808
TRANSMISSION & TRANSFORMER LOSSES | 9319239 | 9644160.7683 | 153396229.8 | 126416006.8044 | -26980222.9956 | -17.59% | 58761718.0044
TOTAL SYSTEM PERCENT LOSS FACTOR (INCLUDING TwinCo) | 6.042% | 6.222% | 6.012% | 5.404% |  |  | 32.15%
ENERGY DISTRIBUTION
Labrador West
I. O. C. C. | 111892092 | 104291095 | 1747181797 | 1499368179 | -247813618 | -14.18% | 632617379
Wabush Mines | 242573 | 1265948 | 3774607 | 11548863 | 7774256 | 206% | 7968074
Wabush Townsite | 3165543 | 4495947 | 84279694 | 89803507 | 5523813 | 6.554% | 53990808
Labrador City | 12669475 | 14831104 | 237156491 | 274851088 | 37694597 | 15.89% | 155777083
Sub Total Sales | 127969683 | 124884094 | 2072392589 | 1875571637 | -196820952 | -9.497% | 850353344
Losses | 8505823 | 8621571 | 126830050 | 115896604 | -10933446 | -8.621% | 52432862
% Losses | 6.232% | 6.458% | 5.767% | 5.82% |  |  | 34.89%
Labrador East
Goose Bay | 14168470 | 16913261 | 283128989 | 282360707 | -768282 | -0.2714% | 166733770
Dept. of National Defence (boiler) | 3684 | 9280 | 55425 | 89686 | 34261 | 61.82% | 52261
Muskrat Falls Construction Power | 2296148 | 3423082 | 40688258 | 52075599 | 11387341 | 27.99% | 30142976
Sub Total Sales | 16468302 | 20345623 | 323872672 | 334525992 | 10653320 | 3.289% | 196929007
Losses | 778713 | 1000369 | 26448984.8 | 10183214.6 | -16265770.2 | -61.5% | 6075717.8
% Losses | 4.515% | 4.686% | 7.55% | 2.954% |  |  | 19.32%
Churchill Falls Sales | 495761 | 130163 | 1674208 | 2999872 | 1325664 | 79.18% | 1813457
TOTAL SALES INTERCONNECTED | 144933746 | 145359880 | 2397939469 | 2213097501 | -184841968 | -7.708% | 1049095808
Export Sales at Border | 159962000 | 156472000 | 1618072000 | 1606620000 | -11452000 | -0.7078% | 759937000
TOTAL WABTS SALES + EXPORTS | 304895746 | 301831880 | 4016011469 | 3819717501 | -196293968 | -4.888% | 1809032808
Coincident Peak 138 & 230 (MW) | 269.5 | 280.961 | 417.019 | 430.742
Peak Time (Island time) | 19:30 | 7:00 | 6110:44 | 6577:03
Peak Date | 2017-06-04 | 2018-06-25 | 0.89583 | 0.64583
Printed Date/Time: | 2018-11-16 | 43420.5171
Comments: | 2018-07-11-1000 Updates: Dept. of National Defence (boiler), Added "Calendar YTD THIS YEAR" Column
2018-06-01 | [5 empty] | H:\Operations\Monthly Reports\SPGD\2018 spgd\[spgd_2018_06.xls]PUB Qtr Input
| 3% | 4.015% | 3.07% | 3.081% |  |  | 3.099%
ISLAND PEAK MW | 1078.54 | 1202.52 | 1714.15 | 1647.86 | Established | 1714.47
ISLAND PEAK TIME | 16:57 | 8:03 | 7:13 | 16:42 | Record Peaks | 10:07
ISLAND PEAK DATE | 2017-06-05 | 2018-06-04 | 2017-02-08 | 2017-12-27 |  | 2014-02-10
Printed Date/Time: | 2018-11-16 | 43420.5123
Comments: | 2018-07-11-1000 Updates: Bay D'Espoir Generation, "LTA / LIL Imports" replaced with "Soldiers Pond Imports", CBPPL Adjustment Energy Credit, Added "Calendar YTD THIS YEAR" Column
2018-07-12-1000 Updates: Data Tab calculation updated to include Soldiers Pond in System Losses (no affect to the Reports Tab, or PDF version). Cat Arm SS is negative due to a meter reading correction
2018-06-01 | [5 empty] | H:\Operations\Monthly Reports\SPGD\2008-2018 SPGD (excel) - Paul Stratton\2018\[SPGD Island May 2018.xlsx]Sheet1