## Sheet1
FILE:001.67.00/3.00 | LABRADOR INTERCONNECTED SYSTEM
MONTHLY SUMMARY OF LABRADOR ENERGY
Month of: March 2018 |  | {kWhrs}
| Month | Month | 12 M-T-D | 12 M-T-D | To Date Change | Change
PURCHASES FROM CF(L)Co | Last Year | This Year | Last Year | This Year | Kwhrs | %
Labrador West
Total CF(L)Co Purchases (Recall + TwinCo) | 222244095 | 196157976 | 2210050244 | 2217666632 | 7616388 | 0.3446%
Hydro CF(L)Co Purchases TwinCo | 165672653 | 145058264 | 1818374074 | 1780799308 | -37574766 | -2.066%
Less Fermont Wheeling | 0 | 0 | 1133246 | 0 | -1133246 | -100%
Hydro CF(L)Co Purchases Recall - West | 56571442 | 51099712 | 390542924 | 436867324 | 46324400 | 11.86%
Labrador East
138 Kv Metered | 41793383 | 33872830 | 347233952 | 337937050 | -9296902 | -2.677%
Plus Transformer Losses | 85927 | 74289 | 848265 | 824342 | -23923 | -2.82%
Hydro CF(L)Co Purchases Recall - East | 41879310 | 33947119 | 348082217 | 338761392 | -9320825 | -2.678%
Hydro CF(L)Co Purchases Recall - C. Falls Customers | 64643 | 171095 | 1120789 | 3086488 | 1965699 | 175.4%
TOTAL CFLCO PURCHASES (Recall + TwinCo) | 264188048 | 230276190 | 2559253250 | 2559514512 | 261262 | 0.01021%
HV North Plant Diesel (net) | -59920 | -6920 | -380080 | -241160 | 138920 | -36.55%
HV Gas Turbine (Gross) | 0 | 164534.4 | 885787 | 845995 | -39792 | -4.492%
Less Gas Turbine Station Service | 60020 | 610000 | 375400 | 3627706 | 3252306 | 866.4%
HV GT Synchronous Condensor Use | 263907 | 262638 | 1168401.6 | 1085162 | -83239.6 | -7.124%
HV Gas Turbine (Net) | -323927 | -708103.6 | -658014.6 | -3866873 | -3208858.4 | 487.7%
TOTAL NET GENERATION | -383847 | -715023.6 | -1038094.6 | -4108033 | -3069938.4 | 295.7%
TOTAL CFLCO PURCHASES + NET GENERATION | 263804201 | 229561166.4 | 2558215155.4 | 2555406479 | -2808676.4 | -0.1098%
Purchases For Export at border | 103639000 | 115655000 | 1632419000 | 1570463000 | -61956000 | -3.795%
TOTAL CFLCO PURCHASES + NET GENERATION + EXPORTS | 367443201 | 345216166.4 | 4190634155.4 | 4125869479 | -64764676.4 | -1.545%
TOTAL ENERGY DISTRIBUTED | 247043724 | 219223118 | 2404882249 | 2417778616 | 12896367 | 0.5363%
TRANSMISSION & TRANSFORMER LOSSES | 16760477 | 10338048.4 | 153332906.4 | 137627863 | -15705043.4 | -10.24%
TOTAL SYSTEM PERCENT LOSS FACTOR (INCLUDING TwinCo) | 6.353% | 4.503% | 5.994% | 5.386%
ENERGY DISTRIBUTION
Labrador West
I. O. C. C. | 168199713 | 148049801 | 1766923100 | 1729787396 | -37135704 | -2.102%
Wabush Mines | 401424 | 1653597 | 3645943 | 8252540 | 4606597 | 126.3%
Wabush Townsite | 10755849 | 9434151 | 85090479 | 85833303 | 742824 | 0.873%
Labrador City | 29510658 | 27303760 | 227441639 | 266903134 | 39461495 | 17.35%
Sub Total Sales | 208867644 | 186441309 | 2083101161 | 2090776373 | 7675212 | 0.3685%
Losses | 13376451 | 9716667 | 126949083 | 126890259 | -58824 | -0.04634%
% Losses | 6.019% | 4.953% | 5.744% | 5.722%
Labrador East
Goose Bay | 33236418 | 27561688 | 282246239 | 275123820 | -7122419 | -2.523%
Dept. of National Defence (boiler) | 2753 | 9208 | 59037 | 69699 | 10662 | 18.06%
Muskrat Falls Construction Power | 4876495 | 5051011 | 38428346 | 48924156 | 10495810 | 27.31%
Sub Total Sales | 38115666 | 32621907 | 320733622 | 324117675 | 3384053 | 1.055%
Losses | 3379797 | 610188.4 | 26310500.4 | 10535684 | -15774816.4 | -59.96%
% Losses | 8.145% | 1.836% | 7.581% | 3.148%
Churchill Falls Sales | 60414 | 159902 | 1047466 | 2884568 | 1837102 | 175.4%
TOTAL SALES INTERCONNECTED | 247043724 | 219223118 | 2404882249 | 2417778616 | 12896367 | 0.5363%
Export Sales at Border | 103639000 | 115655000 | 1632419000 | 1570463000 | -61956000 | -3.795%
TOTAL WABTS SALES + EXPORTS | 350682724 | 334878118 | 4037301249 | 3988241616 | -49059633 | -1.215%
Coincident Peak 138 & 230 (MW) | 400.032 | 386.138 | 417.019 | 430.742
Peak Time (Island time) | 21:00 | 1:30 | 6110:44 | 6577:03
Peak Date | 2017-03-04 | 2018-03-25 | 0.89583 | 0.64583
Printed Date/Time: | 2018-11-16 | 43420.5089
Comments:
2018-03-01 | [5 empty] | H:\Operations\Monthly Reports\SPGD\2008-2018 SPGD (excel) - Paul Stratton\2018\[SPGD Island February 2018.xlsx]Sheet1
2014-12-01 | [5 empty] | H:\Operations\Monthly Reports\SPGD\2008-2018 SPGD (excel) - Paul Stratton\2014\[SPGD Island November 2014.xlsx]Sheet1