## Sheet1
FILE:001.67.00/3.00 | LABRADOR INTERCONNECTED SYSTEM
MONTHLY SUMMARY OF LABRADOR ENERGY
Month of: May 2018 |  | {kWhrs}
| Month | Month | 12 M-T-D | 12 M-T-D | To Date Change | Change
PURCHASES FROM CF(L)Co | Last Year | This Year | Last Year | This Year | Kwhrs | %
Labrador West
Total CF(L)Co Purchases (Recall + TwinCo) | 172054723 | 62690816 | 2204219094 | 1994438082 | -209781012 | -9.517%
Hydro CF(L)Co Purchases TwinCo | 148839729 | 62690816 | 1806745647 | 1619027938 | -187717709 | -10.39%
Less Fermont Wheeling | 0 | 0 | 1090078 | 0 | -1090078 | -100%
Hydro CF(L)Co Purchases Recall - West | 23214994 | 0 | 396383369 | 375410144 | -20973225 | -5.291%
Labrador East
138 Kv Metered | 23198749 | 28452386 | 350064012 | 345432008 | -4632004 | -1.323%
Plus Transformer Losses (Recall + TwinCo) | 59527 | 67721 | 852471 | 836477 | -15994 | -1.876%
Hydro CF(L)Co Purchases Recall - East | 23258276 | 28520107 | 350916483 | 346194031 | -4722452 | -1.346%
Hydro CF(L)Co Purchases (Recall + TwinCo) - C. Falls Customers | 530464 | 537466.4361 | 1332345 | 3714140.4361 | 2381795.4361 | 178.8%
TOTAL CFLCO PURCHASES (Recall + TwinCo) | 195843463 | 91748389.4361 | 2556467922 | 2344346253.4361 | -212121668.5639 | -8.297%
HV North Plant Diesel (net) | -31280 | -29040 | -350680 | -218720 | 131960 | -37.63%
HV Gas Turbine (Gross) | 0 | 0 | 849770.8 | 947434 | 97663.2 | 11.49%
Less Gas Turbine Station Service | 35100 | 726250 | 404250 | 4877131 | 4472881 | 1106%
HV GT Synchronous Condensor Use | 0 | 253738.8 | 1177241.4 | 1435384.4 | 258143 | 21.93%
HV Gas Turbine (Net) | -35100 | -979988.8 | -731720.6 | -5365081.4 | -4633360.8 | 633.2%
TOTAL NET GENERATION | -66380 | -1009028.8 | -1082400.6 | -5583801.4 | -4501400.8 | 415.9%
TOTAL CFLCO PURCHASES + NET GENERATION | 195777083 | 90739360.6361 | 2555385521.4 | 2338762452.0361 | -216623069.3639 | -8.477%
Purchases For Export at border | 153374000 | 158977000 | 1622291000 | 1610110000 | -12181000 | -0.7509%
TOTAL CFLCO PURCHASES + NET GENERATION + EXPORTS | 349151083 | 249716360.6361 | 4177676521.4 | 3948872452.0361 | -228804069.3639 | -5.477%
TOTAL ENERGY DISTRIBUTED | 186119925 | 86020659 | 2403682190 | 2212671367 | -191010823 | -7.947%
TRANSMISSION & TRANSFORMER LOSSES | 9657158 | 4718701.6361 | 151703331.4 | 126091085.0361 | -25612246.3639 | -16.88%
TOTAL SYSTEM PERCENT LOSS FACTOR (INCLUDING TwinCo) | 4.933% | 5.2% | 5.937% | 5.391%
ENERGY DISTRIBUTION
Labrador West
I. O. C. C. | 140622413 | 29861608 | 1756457984 | 1506969176 | -249488808 | -14.2%
Wabush Mines | 320666 | 1414074 | 3751608 | 10525488 | 6773880 | 180.6%
Wabush Townsite | 5168962 | 6740741 | 84587851 | 88473103 | 3885252 | 4.593%
Labrador City | 17465698 | 21094867 | 234133129 | 272689459 | 38556330 | 16.47%
Sub Total Sales | 163577739 | 59111290 | 2078930572 | 1878657226 | -200273346 | -9.633%
Losses | 8476984 | 3579526 | 125288522 | 115780856 | -9507666 | -7.589%
% Losses | 4.927% | 5.71% | 5.684% | 5.805%
Labrador East
Goose Bay | 18982965 | 22131467 | 283272840 | 279615916 | -3656924 | -1.291%
Dept. of National Defence (boiler) | 1121 | 8688 | 56086 | 84090 | 28004 | 49.93%
Muskrat Falls Construction Power | 3062339 | 4325086 | 40177510 | 50948665 | 10771155 | 26.81%
Sub Total Sales | 22046425 | 26465241 | 323506436 | 330648671 | 7142235 | 2.208%
Losses | 1145471 | 1045837.2 | 26327646.4 | 9961558.6 | -16366087.8 | -62.16%
% Losses | 4.939% | 3.802% | 7.526% | 2.925%
Churchill Falls Sales | 495761 | 444128 | 1245182 | 3365470 | 2120288 | 170.3%
TOTAL SALES INTERCONNECTED | 186119925 | 86020659 | 2403682190 | 2212671367 | -191010823 | -7.947%
Export Sales at Border | 153374000 | 158977000 | 1622291000 | 1610110000 | -12181000 | -0.7509%
TOTAL WABTS SALES + EXPORTS | 339493925 | 244997659 | 4025973190 | 3822781367 | -203191823 | -5.047%
Coincident Peak 138 & 230 (MW) | 319.19 | 150.816 | 417.019 | 430.742
Peak Time (Island time) | 7:30 | 9:30 | 6110:44 | 6577:03
Peak Date | 2017-05-01 | 2018-05-18 | 0.89583 | 0.64583
Printed Date/Time: | 2018-11-16 | 43420.511
Comments:
2018-05-01 | [5 empty] | H:\Operations\Monthly Reports\SPGD\2008-2018 SPGD (excel) - Paul Stratton\2018\[SPGD Island April 2018.xlsx]Sheet1
2014-12-01 | [5 empty] | H:\Operations\Monthly Reports\SPGD\2008-2018 SPGD (excel) - Paul Stratton\2014\[SPGD Island November 2014.xlsx]Sheet1