## Sheet1
FILE:001.67.00/3.00 | LABRADOR INTERCONNECTED SYSTEM
MONTHLY SUMMARY OF LABRADOR ENERGY
Month of: November 2018 |  | {kWhrs}
| MONTH | MONTH | 12 M-T-D | 12 M-T-D | 12 M-T-D Delta | CHANGE | Calendar YTD
PURCHASES FROM CF(L)Co | LAST YEAR | THIS YEAR | LAST YEAR | THIS YEAR | KWHRS | % | THIS YEAR
Labrador West
Total CF(L)Co Purchases (Recall + TwinCo) | 201739200 | 187119053 | 2231395248 | 1967865749 | -263529499 | -11.81% | 1747273162
Hydro CF(L)Co Purchases TwinCo | 158194989 | 142871660 | 1808528094 | 1657122896.8908 | -151405197.1092 | -8.372% | 1495835460.8908
Less Fermont Wheeling | 0 | 0 | 0 | 301521.3821 | 301521.3821 | 0% | 301521.3821
Hydro CF(L)Co Purchases Recall - West | 43544211 | 44247393 | 422867154 | 310441330.7271 | -112425823.2729 | -26.59% | 251136179.7271
Labrador East
138 Kv Metered | 31675987 | 31207788 | 353162268 | 351537178 | -1625090 | -0.4602% | 310419650
Plus Transformer Losses (Recall + TwinCo) | 71959 | 70227 | 856949 | 842689 | -14260 | -1.664% | 755841
Hydro CF(L)Co Purchases Recall - East | 31747946 | 31278015 | 354019217 | 352305413 | -1713804 | -0.4841% | 311101037
Hydro CF(L)Co Purchases (Recall + TwinCo) - C. Falls Customers | 236361 | 581642 | 2382262 | 4058765.2044 | 1676503.2044 | 70.37% | 3781866.2044
TOTAL CFLCO PURCHASES (Recall + TwinCo) | 233723507 | 218978710 | 2587796727 | 2324229927.2044 | -263566799.7956 | -10.18% | 2062156065.2044
HV North Plant Diesel (net) | -35240 | -19440 | -313800 | -215360 | 98440 | -31.37% | -169560
HV Gas Turbine (Gross) | 26157.6 | 7 | 771678.4 | 817295.2 | 45616.8 | 5.911% | 817291.6
Less Gas Turbine Station Service | 332500 | 35250 | 1309681 | 4162625 | 2852944 | 217.8% | 3573875
HV GT Synchronous Condensor Use | 144 | 84058 | 1177385.4 | 1519442.4 | 342057 | 29.05% | 1361766
HV Gas Turbine (Net) | -306486.4 | -119301 | -1715388 | -4864772.2 | -3149384.2 | 183.6% | -4118349.4
TOTAL NET GENERATION | -341726.4 | -138741 | -2029188 | -5080132.2 | -3050944.2 | 150.4% | -4287909.4
TOTAL CFLCO PURCHASES + NET GENERATION | 233381780.6 | 218839969 | 2585767539 | 2319149795.0044 | -266617743.9956 | -10.31% | 2057868155.8044
Purchases For Export at border | 119955000 | 112435000 | 1573467000 | 1632445000 | 58978000 | 3.748% | 1531558000
TOTAL CFLCO PURCHASES + NET GENERATION + EXPORTS | 353336780.6 | 331274969 | 4159234539 | 3951594795.0044 | -207639743.9956 | -4.992% | 3589426155.8044
TOTAL ENERGY DISTRIBUTED | 221727470 | 199773924 | 2433247871 | 2177129818 | -256118053 | -10.53% | 1930852968
TRANSMISSION & TRANSFORMER LOSSES | 11654310.6 | 19066045 | 152519668 | 142019977.0044 | -10499690.9956 | -6.884% | 127015187.8044
TOTAL SYSTEM PERCENT LOSS FACTOR (INCLUDING TwinCo) | 4.994% | 8.712% | 5.898% | 6.124% |  |  | 67.14%
ENERGY DISTRIBUTION
Labrador West
I. O. C. C. | 154621850 | 126518578 | 1751771663 | 1440449377 | -311322286 | -17.77% | 1279021911
Wabush Mines | 809130 | 4861252 | 5070587 | 19785356 | 14714769 | 290.2% | 18885307
Wabush Townsite | 8902014 | 9743057 | 85143485 | 93567901 | 8424416 | 9.894% | 81977212
Labrador City | 26546389 | 29247371 | 260833712 | 285467514 | 24633802 | 9.444% | 252989291
Sub Total Sales | 190879383 | 170370258 | 2102819447 | 1839270148 | -263549299 | -12.53% | 1632873721
Losses | 10859817 | 16748795 | 128575801 | 128595601 | 19800 | 0.0154% | 114399441
% Losses | 5.383% | 8.951% | 5.762% | 6.535% |  |  | 70.78%
Labrador East
Goose Bay | 25656541 | 28903568 | 282825801 | 291964186 | 9138385 | 3.231% | 258273928
Dept. of National Defence (boiler) | 7703 | 7703 | 47732 | 104835 | 57103 | 119.6% | 95511
Muskrat Falls Construction Power | 4962945 | 0 | 45328479 | 42334816 | -2993663 | -6.604% | 36412759
Sub Total Sales | 30627189 | 28911271 | 328202012 | 334403837 | 6201825 | 1.89% | 294782198
Losses | 779030.6 | 2228003 | 23788017 | 12821443.8 | -10966573.2 | -46.1% | 12030929.6
% Losses | 2.48% | 7.155% | 6.758% | 3.693% |  |  | 46.26%
Churchill Falls Sales | 220898 | 492395 | 2226412 | 3455833 | 1229421 | 55.22% | 3197049
TOTAL SALES INTERCONNECTED | 221727470 | 199773924 | 2433247871 | 2177129818 | -256118053 | -10.53% | 1930852968
Export Sales at Border | 119955000 | 112435000 | 1573467000 | 1632445000 | 58978000 | 3.748% | 1531558000
TOTAL WABTS SALES + EXPORTS | 341682470 | 312208924 | 4006714871 | 3809574818 | -197140053 | -4.92% | 3462410968
Coincident Peak 138 & 230 (MW) | 359.962 | 320.774 | 417.019 | 430.742
Peak Time (Island time) | 14:00 | 7:30 | 6110:44 | 6577:03
Peak Date | 2017-11-25 | 2018-11-25 | 0.89583 | 0.64583
Printed Date/Time: | 2019-04-01 | 43556.6417
Comments:
2018-11-01 | [5 empty] | H:\Operations\Monthly Reports\SPGD\2008-2018 SPGD (excel) - Paul Stratton\2018\[SPGD Labrador April 2018.xlsx]Sheet1
H:\Operations\Monthly Reports\SPGD\2008-2018 SPGD (excel) - Paul Stratton\2014\[SPGD Island November 2014.xlsx]Sheet1