## Sheet1
FILE:001.67.00/3.00 | LABRADOR INTERCONNECTED SYSTEM
MONTHLY SUMMARY OF LABRADOR ENERGY
Month of: September 2018 |  | {kWhrs}
| MONTH | MONTH | 12 M-T-D | 12 M-T-D | 12 M-T-D Delta | CHANGE | Calendar YTD
PURCHASES FROM CF(L)Co | LAST YEAR | THIS YEAR | LAST YEAR | THIS YEAR | KWHRS | % | THIS YEAR
Labrador West
Total CF(L)Co Purchases (Recall + TwinCo) | 166595540 | 162825692 | 2234386618 | 1969129968 | -265256650 | -11.87% | 1376643408
Hydro CF(L)Co Purchases TwinCo | 146204273 | 156450061 | 1819735039 | 1649182443.8908 | -170552595.1092 | -9.372% | 1187664832.8908
Less Fermont Wheeling | 0 | 0 | 0 | 301521.3821 | 301521.3821 | 0% | 301521.3821
Hydro CF(L)Co Purchases Recall - West | 20391267 | 6375631 | 414651579 | 319646002.7271 | -95005576.2729 | -22.91% | 188677053.7271
Labrador East
138 Kv Metered | 17132564 | 16173015 | 354863831 | 349880210 | -4983621 | -1.404% | 254831375
Plus Transformer Losses (Recall + TwinCo) | 53182 | 51741 | 858208 | 841491 | -16717 | -1.948% | 624311
Hydro CF(L)Co Purchases Recall - East | 17185746 | 16224756 | 355722039 | 350647247 | -5074792 | -1.427% | 255381232
Hydro CF(L)Co Purchases (Recall + TwinCo) - C. Falls Customers | 176559 | 275946 | 2111874 | 3526705.2044 | 1414831.2044 | 66.99% | 2811778.2044
TOTAL CFLCO PURCHASES (Recall + TwinCo) | 183957845 | 179326394 | 2592220531 | 2323303920.2044 | -268916610.7956 | -10.37% | 1634836418.2044
HV North Plant Diesel (net) | -9560 | 1120 | -367200 | -188560 | 178640 | -48.65% | -138040
HV Gas Turbine (Gross) | 93184.2 | 223446.6 | 523993 | 1244973.6 | 720980.6 | 137.6% | 817284.6
Less Gas Turbine Station Service | 293250 | 15500 | 780081 | 4670125 | 3890044 | 498.7% | 3514875
HV GT Synchronous Condensor Use | 0 | 144 | 1177241.4 | 1435528.4 | 258287 | 21.94% | 1277708
HV Gas Turbine (Net) | -200065.8 | 207802.6 | -1433329.4 | -4860679.8 | -3427350.4 | 239.1% | -3975298.4
TOTAL NET GENERATION | -209625.8 | 208922.6 | -1800529.4 | -5049239.8 | -3248710.4 | 180.4% | -4113338.4
TOTAL CFLCO PURCHASES + NET GENERATION | 183748219.2 | 179535316.6 | 2590420001.6 | 2318254680.4044 | -272165321.1956 | -10.51% | 1630723079.8044
Purchases For Export at border | 156700000 | 170841000 | 1599837000 | 1637362000 | 37525000 | 2.346% | 1286564000
TOTAL CFLCO PURCHASES + NET GENERATION + EXPORTS | 340448219.2 | 350376316.6 | 4190257001.6 | 3955616680.4044 | -234640321.1956 | -5.6% | 2917287079.8044
TOTAL ENERGY DISTRIBUTED | 173421591 | 167544172 | 2434825924 | 2192377899 | -242448025 | -9.958% | 1542948072
TRANSMISSION & TRANSFORMER LOSSES | 10326628.2 | 11991144.6 | 155594077.6 | 125876781.4044 | -29717296.1956 | -19.1% | 87775007.8044
TOTAL SYSTEM PERCENT LOSS FACTOR (INCLUDING TwinCo) | 5.62% | 6.679% | 6.007% | 5.43% |  |  | 48.74%
ENERGY DISTRIBUTION
Labrador West
I. O. C. C. | 137760993 | 129284360 | 1765963127 | 1471193836 | -294769291 | -16.69% | 1022731156
Wabush Mines | 524944 | 1399359 | 4274240 | 14204790 | 9930550 | 232.3% | 11836421
Wabush Townsite | 3862259 | 4376908 | 84487509 | 90738473 | 6250964 | 7.399% | 64336500
Labrador City | 15108301 | 16746343 | 251209125 | 277626435 | 26417310 | 10.52% | 198603122
Sub Total Sales | 157256497 | 151806970 | 2105934001 | 1853763534 | -252170467 | -11.97% | 1297507199
Losses | 9339043 | 11018722 | 128452617 | 115366434 | -13086183 | -10.19% | 79136209
% Losses | 5.606% | 6.767% | 5.749% | 5.859% |  |  | 51.74%
Labrador East
Goose Bay | 13597048 | 14244677 | 284205874 | 284331092 | 125218 | 0.04406% | 206562504
Dept. of National Defence (boiler) | 7665 | 8294 | 40315 | 104835 | 64520 | 160% | 79311
Muskrat Falls Construction Power | 2395373 | 1265568 | 42672021 | 51123983 | 8451962 | 19.81% | 36412759
Sub Total Sales | 16000086 | 15518539 | 326918210 | 335559910 | 8641700 | 2.643% | 243054574
Losses | 976034.2 | 915139.6 | 27003299.6 | 10038097.2 | -16965202.4 | -62.83% | 8213319.6
% Losses | 5.749% | 5.569% | 7.63% | 2.905% |  |  | 32.59%
Churchill Falls Sales | 165008 | 218663 | 1973713 | 3054455 | 1080742 | 54.76% | 2386299
TOTAL SALES INTERCONNECTED | 173421591 | 167544172 | 2434825924 | 2192377899 | -242448025 | -9.958% | 1542948072
Export Sales at Border | 156700000 | 170841000 | 1599837000 | 1637362000 | 37525000 | 2.346% | 1286564000
TOTAL WABTS SALES + EXPORTS | 330121591 | 338385172 | 4034662924 | 3829739899 | -204923025 | -5.079% | 2829512072
Coincident Peak 138 & 230 (MW) | 295.529 | 287.1 | 417.019 | 430.742
Peak Time (Island time) | 22:30 | 10:00 | 6110:44 | 6577:03
Peak Date | 2017-09-30 | 2018-09-29 | 0.89583 | 0.64583
Printed Date/Time: | 2018-11-16 | 43420.5203
Comments:
2018-09-01 | [5 empty] | H:\Operations\Monthly Reports\SPGD\2008-2018 SPGD (excel) - Paul Stratton\2018\[SPGD Island August 2018.xlsx]Sheet1
| 4.907% | 2.093% | 3.223% | 2.924% |  |  | 3.01%
ISLAND PEAK MW | 848.38 | 829.63 | 1714.15 | 1647.86 | Established | 1714.47
ISLAND PEAK TIME | 16:53 | 11:58 | 7:13 | 16:42 | Record Peaks | 10:07
ISLAND PEAK DATE | 2017-07-02 | 2018-07-04 | 2017-02-08 | 2017-12-27 |  | 2014-02-10
Printed Date/Time: | 2018-11-16 | 43420.5135
Comments: | Updated 2018-08-08-0910. Newfoundland Power Energy
2018-07-01 | [5 empty] | H:\Operations\Monthly Reports\SPGD\2008-2018 SPGD (excel) - Paul Stratton\2018\[SPGD Island June 2018.xlsx]Sheet1
2018-06-01 | [5 empty] | H:\Operations\Monthly Reports\SPGD\2008-2018 SPGD (excel) - Paul Stratton\2018\[SPGD Island May 2018.xlsx]Sheet1