## Introduction
DG3 O&M Budget - MF, LTA & LITL - Overview
This Operating Budget was based on the Operating Budget prepared for DG2, which was amended to reflect the changes which have occurred between DG2 and DG3. The budget draws on the Newfoundland and Labrador Hydro Operations annual budget for 2011. The budget includes costs associated with the operation and maintenance of the Muskrat Falls hydro power plant, converter and terminal stations at Soldiers pond and Muskrat Falls, terminal station extension, two 315 kVac transmission lines from Muskrat Falls to Churchill Falls, 350 kVdc transmission from Muskrat Falls to Soldiers Pond, transition compounds on each side of the Strait of Belle Isle, the Strait of Belle Isle cable crossing, electrode lines and electrodes in Labrador and Newfoundland and the related operation of the Energy Control Center in Hydro Place and includes a 15% contingency. It does not include depreciation, financing costs and related costs, such as lenders audit or inspection costs, capital fund for extraordinary repair, etc.. The budget includes minor sustaining capital items, such as the replacement of pumps, compressors, thyristors, etc., but does not include major capital items such as runner and transformer replacements and generator rewinds as these events are not expected to occur within the first 50 years of operation. It has been assumed that routine day to day maintenance will be performed by facility staff aided by Nalcor staff from other locations as required and that major repair, modification and replacement will be performed by contractors. Similarly, it has been assumed that normal technical support will be provided by facilities staff, augmented by Project Execution and Technical Services staff. Extraordinary technical support will be provided by OEM technical staff, consultants, service providers and other contractors. The costs for these services were based on the Holyrood experience, where service contracts have been used for many years for technical support, maintenance and repair. The Muskrat Falls complex (powerhouse, intake, dam, spillway) will be subjected to a semiannual inspection and assessment by Nalcor’s Dyke Review Board of Consultants. Staff numbers and philosophy used to build the budget are those contained in Operations and Maintenance Philosophy LCP-PT-MD-0000-PM-PH-0001-01. Salaries are based on current Newfoundland and Labrador Hydro rates, except for the new positions at Churchill Falls, which are based on current CFLCo rates and benefits. The Muskrat Falls plant will have a relatively small staff and it is expected that the few tradesmen on site will assist each other (limited cross-trading) and that the utility staff will also be flexible in their duties, providing assistance to the trades as required. It was assumed that Nalcor would increase its staff in Happy Valley Goose Bay to perform all inspection, maintenance and repair on the AC and DC lines in Labrador. If this does not occur and personnel are brought from the Island, the budget will have to be increased to include additional travel and accommodation costs. As with the other LCP facilities, it was assumed that major repair and maintenance will be performed by contractors. Trash removal at Muskrat Falls will be accomplished by two methods. An automated trash removal system will remove trash from the intakes and dump it into trucks provided by a contractor. Trash accumulating on the trash boom and other upstream areas will be removed by boat to a landing on the North shore of the reservoir. This trash will be removed from this location by contractor’s trucks. All trash will be removed from the site and either chipped or landfilled by a contractor. No allowance has been provided for trash removal downstream of the plant, as this is not expected to be a problem. The budget provides for environmental activities similar to those employed at existing Nalcor generating, terminal and transmission facilities. As the details of pending environmental approvals and permits were not known at the time of the preparation of this budget, the implications of permits on operating costs should be assessed as details become available. Insurance costs were based on discussion with Hydro’s Risk and Insurance Department, which consulted FM Global for typical rates. These rates will be adjusted as the design of the project progresses and FM Global develops a more thorough knowledge of the project details. Allowance has been included for the annual purchase of tools and equipment. It was assumed that each facility will be supplied with the tools and equipment required for adjustment, maintenance and repair, funded by the capital project. Inevitably, some necessary tools and equipment will be overlooked and annually some tools will be lost, broken or the need for additional tools and equipment will be identified. This allowance has been included to cover this cost. Administrative functions will be provided by Nalcor staff at Hydro Place, or other locations and billed to the appropriate company at established rates. Provisions for these administrative costs have been included. Modified by Rob Henderson to reflect reduced requirement at Churchill Falls for extension and for efficiency of TRO Labrador doing terminal work on 315 kV in Churchill Falls.

## Summary
MF, LTA and LITL O&M Estimate
Sub-Project | Annual Cost/Year
Muskrat Falls Generation | 6345025.1225
Labrador Transmission Assets | 2148359.6507
Labrador - Island Transmission Link | 15970623.9399
Total Cost/Year: | 24464008.7131
Notes:
a. Labrador salaries based on Hydro rates , except for Churchill Falls Terminal Station which are based on Churchill Falls rates.
b. Costs in January 2012 CDN dollars including 15% Contingency.
c. Does not include Sinking Fund, Lenders Audit costs or any other finance related costs.
d. This budget for year 1 of operation will be typical for subsequent years, with minor adjustments and incorporating inflation. The exception is the frequency of subsea cable inspections; see sheet "LITL" for details. Periodic larger expenditures for equipment replacement, major repair and overhaul are considered to be capital projects and will be included in the 50 year capital plan.
e. Corporate Costs allocated to the 3 sub-Projects based on O&M estimate for each components. Allocation percentage for each component are: Muskrat Falls: 23.95 %; LTA: 19.28%; LITL: 56.77%
f. ECC costs allocated to the 2 sub-Projects based upon LTA = 25%, LITL = 75%

## Summary - Base Year Escaladed
MF, LTA and LITL O&M Estimate
Sub-Project | Annual Cost/Base Year
Muskrat Falls Generation | 7358283.873
Labrador Transmission Assets | 2491438.5468
Labrador - Island Transmission Link | 18521027.4679
Total Cost/Year: | 28370749.8877
Notes:
a. Labrador salaries based on Hydro rates , except for Churchill Falls Terminal Station which are based on Churchill Falls rates.
b. Costs in 2017 CDN dollars including 15% Contingency.
c. Does not include Sinking Fund, Lenders Audit costs or any other finance related costs.
d. This budget for year 1 of operation will be typical for subsequent years, with minor adjustments and incorporating inflation. The exception is the frequency of subsea cable inspections; see sheet "LITL" for details. Periodic larger expenditures for equipment replacement, major repair and overhaul are considered to be capital projects and will be included in the 50 year capital plan.
e. Corporate Costs allocated to the 3 sub-Projects based on O&M estimate for each components. Allocation percentage for each component are: Muskrat Falls: 23.95 %; LTA: 19.28%; LITL: 56.77%
f. ECC costs allocated to the 2 sub-Projects based upon LTA = 25%, LITL = 75%

## Muskrat Falls
Muskrat Falls Generation Annual Opex |  | Return to Summary Sheet
Item | Comments | Classification/Description | Quantity | Unit | Unit Cost |  | Annual Cost | Notes
Staff |  |  |  |  | Base Salary | Overhead
Plant Manager | Salary - NLH Salary grades and ranges effective April 1, 2007 | Electrical/Mechanical Engineer | 1 | FTE | 130000 | 0.3 | 169000 | b
Plant Engineer/Asset Specialist |  | Electrical/Mechanical Engineer | 1 | FTE | 95000 | 0.3 | 123500 | c, j
Technical Supervisor |  | P&C Operations Mechanical/Electrical | 1 | FTE | 95000 | 0.3 | 123500 | e
Technical Operator |  | Trades & Technologists | 4 | FTE | 76000 | 0.3 | 395200 | d
Mechanic |  | Trade | 1 | FTE | 72000 | 0.3 | 93600 | f,h
Electrician |  | Trade | 1 | FTE | 72000 | 0.3 | 93600 | f, g
Technologist |  | P&C Technologist | 1 | FTE | 80000 | 0.3 | 104000 | f, i
Utility |  | Building Maintenance | 1 | FTE | 47000 | 0.3 | 61100 | f, t
Planner |  | Mechanical/Electrical Trade or Technologist | 1 | FTE | 70000 | 0.3 | 91000 | k
Area Office Clerk |  | Administration/Management Systems/Accounting | 1 | FTE | 63000 | 0.3 | 81900 | m
Clerk |  | Clerical/Document Control/Warehousing | 1 | FTE | 55000 | 0.3 | 71500 | n
Safety/Environment/Security Co-ordinator |  | Safety & Environment Technologist | 1 | FTE | 80000 | 0.3 | 104000 | o
Overtime allowance | [6 empty] | 167310 | q
Travel |  | Air fare, accomodations, per deims | 1 | Lot |  |  | 75000 | x
Training |  | Training courses | 1 | Lot |  |  | 100000 | x
Sub-total |  |  | 15 |  |  |  | 1854210
Vehicles |  |  |  |  | Unit Cost | Depreciation Years
Crew Cab Pickup (4x4) | Assume new every 3 years |  | 2 | each | 42000 | 5 | 16800 | r
Extended Cab Pickup (4x4) | Assume new every 3 years |  | 2 | each | 39000 | 5 | 15600 | r
Utility Van or Truck (4x2) | Assume new every 3 years |  | 1 | each | 39000 | 5 | 7800 | r
ATV | Assume new every 5 years |  | 2 | each | 15000 | 5 | 6000 | r
Snowmobile | Assume new every 5 years |  | 2 | each | 15000 | 5 | 6000 | r
Forklift | Assume new every 10 years |  | 1 | each | 25000 | 10 | 2500 | r
Boom Truck | Assume new every 10 years |  | 1 | each | 125000 | 10 | 12500 | r
Sissor Lift | Assume new every 10 years |  | 1 | each | 75000 | 10 | 7500 | r
Snow Blower | Assume new every 5 years | Small tractor with bucket and snowblower | 1 | each | 50000 | 10 | 5000 | r
Work Boat | Assume new every 10 years |  | 1 | each | 75000 | 10 | 7500 | r
Fuel and maintenance | [6 empty] | 50000 | x
Sub-total | [6 empty] | 137200
Service Contracts
Snow Clearing | 1 loader for Approx 5 months (includes operator as necessary) |  | 1 | Lot | 150000 |  | 150000
Road Maintenance | 50 hrs 2 times per year grader, dump truck & excavator |  | 1 | Lot | 300000 |  | 300000
Janitorial & Garbage Removal | 1 day/week for 2 people |  | 1 | Lot | 52000 |  | 52000
Trash removal - Intake & Dam | 8 wks @ $12,000 (dive team) |  | 1 | Lot | 200000 |  | 200000 | aa
Pest Control | ? |  | 1 | Lot | 25000 |  | 25000
Generators/Exciters - Technical Support | ? |  | 1 | Lot | 50000 |  | 50000 | u
Turbine/Governors - Technical Support | ? |  | 1 | Lot | 50000 |  | 50000 | u
Labour contract (Mech, elec, other trades) |  |  | 1 | Lot | 200000 |  | 200000 | v
Emergency diesel generator maintenance |  |  | 1 | Lot | 10000 |  | 10000 | w
Diving Inspections | 2 inspections per year |  | 1 | Lot | 50000 |  | 50000
Elevator Inspections | 1 inspections per year |  | 1 | Lot | 50000 |  | 50000 | w
Fire Panel Inspections | 1 inspections per year |  | 1 | Lot | 25000 |  | 25000 | w
Fire Suppression Systems Inspections | 1 inspections per year |  | 1 | Lot | 25000 |  | 25000 | w
Crane & Hoist Inspections | 2 inspections per year |  | 1 | Lot | 50000 |  | 50000 | w
Pressure Vessel Inspections | 1 inspections per year |  | 1 | Lot | 15000 |  | 15000 | s
Air Conditioner Inspections | 1 inspections per year |  | 1 | Lot | 50000 |  | 50000 | w
Consulting Services |  |  | 1 | Lot | 25000 |  | 25000
Dyke Board Inspections | 1 inspections per year |  | 1 | Lot | 25000 |  | 25000 | y
Sub-total | [6 empty] | 1352000
Miscellaneous Costs
Parts and materials |  |  | 1 | Lot | 500000 |  | 500000 | x
Fuel (diesel generators) |  |  | 1 | Lot | 5000 |  | 5000
Maintenance Tools & Equipment |  |  | 1 | Lot | 100000 |  | 100000 | z
Miscellaneous and consumables |  | Lubricants, chemicals, gases, hardware, etc. | 1 | Lot | 100000 |  | 100000 | x
Property and Equipment Policy Premiums |  | Based upon value of asset, less Eng., EA & Historical | 0.038% |  | per $ insured | 2700000000 | 1026000 | a
Sub-total | [6 empty] | 1731000
Corporate Support Allocated Costs | [6 empty] | 509453.6225
Sub-Total | [6 empty] | 5583863.6225
Contingency (15%) | [6 empty] | 761161.5
Total | [6 empty] | 6345025.1225
NOTES:
a. 2012-01-24 M Leonard. 0.038% of $2.3 billion
b. Based on Mgr Hydro Generation - Hydro | [6 empty] | 42.33%
c. Based on Plant Engineer - Hydro
d. Based on Hydro Plant Operator - Hydro
e. Based on Labour Manager Hydro – Operations & Tech.
f. Trades expected to do some utility work. Use contractor for plant cleaning and major utility work.
g. Based on Electrical Maint A
h. Based on Mech Maint A
i. Based on Technologist
j. Plant Engineer performs this role until Gull Island is built, at which time a dedicated Asset Specialist will be hired.
k. Based on Planner Hydro
l. Duties performed by Plant Engineer with assistance from operators, Reg Operations and PE&TS
m. Based on Area Office Clerk
n. Based on Office Clerk
o. Based on Safety and Env Coordinator
p. Duties performed by office clerk
q. Based on O/T at BDE for staff , excluding Plant Manager, PlanT Engineer, Safety/Environmental/Security Co-ordinator
r. Based on vehicle lives accepted by PUB
s. Cost of Provincial inspector and expenses
t. Based on Utility Worker. Performs basic utility work but larger utility jobs are performed by contractor.
u. Initial 5 years of operation only
v. Assume 4 tradespeople, 500 hrs/year weach at contractor rate of $100/hr.
w. Inspection and routine maintenance
x. Based on Bay D'Espoir Budget
y. Costs for Dyke Board of Consultants prorated based on time alocated to Muskrat Falls.
z. Initial maintenance tools and equipment are included in the project capital cost. Annual allowance is for replacement (loss and breakage) and additional tools and equipment, based on BDE.
aa. Based on analysis performed by Besaw/Broderick for justification of automated trash removal system.
Staff |  | 1854210
Vehicles |  | 137200
Service Contracts |  | 1352000
Misc Expenses |  | 1731000
Corporate Overhead |  | 509453.6225
Contingency |  | 761161.5

## LTA
Labrador Transmission Assets Annual Opex | Return to Summary Sheet | Return to Summary Sheet
Item | Classification/Description | Comments | Quantity | Unit |  |  | Annual Cost | Notes
CF(L)Co Staff - Switchyard at Chruchull Falls |  |  |  |  | Base salary | O/H
Lineworkers | Trades | Salary - NLH Salary grades and ranges effective April 1, 2007 | 0.1 | FTE | 82000 | 0.3 | 10660 | a,A
P & C Technologist | Electrical Technologist |  | 0.1 | FTE | 90000 | 0.3 | 11700 | a,A
Electricians | Trades |  | 0.2 | FTE | 86000 | 0.3 | 22360 | a,A
Planner | Mechanical/Electrical Trade or Technologist |  | 0.1 | FTE | 94000 | 0.3 | 12220 | a,A
Mechanic | Trades |  | 0.2 | FTE | 86000 | 0.3 | 22360 | a,A
Technical Operator | Trades & Technologists |  | 0.2 | FTE | 90000 | 0.3 | 23400 | a,A
Travel expenses | Air fare, vehicle rental, accomodations, per deims. |  |  | FTE |  |  | 5000 | D
Hydro staff in HV-GB - Trandmission, switchyard distribution
Lineworkers | Trades |  | 1.5 | FTE | 73000 | 0.3 | 142350 | b,B
P & C Technologist |  |  | 0.5 | FTE | 80000 | 0.3 | 52000 | b,B
Electricians | Trades |  | 1 | FTE | 77000 | 0.3 | 100100 | b,B
Terminal maintenance A | Trades |  | 0.5 | FTE | 73000 | 0.3 | 47450 | b,B
Supervisor | Trades |  | 0.5 | FTE | 82000 | 0.3 | 53300 | b,B
Clerk | Clerical/Document Control/Warehousing |  | 0.25 | FTE | 55000 | 0.3 | 17875 | b,B
Planner | Trades |  | 0.25 | FTE | 82000 | 0.3 | 26650 | b,B
Equipment engineer | Electrical/Mechanical Engineer |  | 0.25 | FTE | 85000 | 0.3 | 27625 | b,B
Mechanic | Trades |  | 0.25 | FTE | 77000 | 0.3 | 25025 | b,B
Travel expenses | Air fare, vehicle rental, accomodations, per diems |  | 1 | Lot |  |  | 70000 | g,C
Sub-total | [6 empty] | 670075
Vehicles |  |  |  |  | Unit Cost | Depreciation Years
Crew Cab Pickup (4x4) |  | Assume new every 3 years | 0.5 | each | 42000 | 5 | 4200 | m,B
Extended Cab Pickup (4x4) |  | Assume new every 3 years | 0.5 | each | 40000 | 5 | 4000 | m,B
Utility Van or Truck (4x2) |  | Assume new every 3 years | 0.5 | each | 100000 | 10 | 5000 | m,B
All Terrian Vehicle with Tracks |  | Assume new every 5 years | 0.5 | each | 250000 | 15 | 8333.3333 | m,B
Altec AH100 |  |  | 0.25 | each | 350000 | 15 | 5833.3333 | c, m,B
ATV |  |  | 1.5 | each | 15000 | 5 | 4500 | m,B | Staff | 670075
Snowmobile |  | Assume new every 5 years | 1.5 | each | 15000 | 5 | 4500 | m,B | Vehicles | 121366.6667
Maintenance and fuel | [6 empty] | 85000 | h,B | Service Contracts | 99925
Sub-total |  |  | 5.25 |  |  |  | 121366.6667 |  | Misc Expenses | 521837.5
Service Contracts |  |  |  |  | Unit Cost |  |  |  | Corporate & ECC | 523174.859
Helicopter Rental |  |  | 10 | hr | 1500 |  | 15000 | n,B | Contingency | 211980.625
Vegetation Management | Vegetation Management Contractor |  | 80.7 | ha | 750 |  | 70525 | k,B
Control System - Technical Support | 3rd Party Support | Assumes $225/hr |  |  |  |  | 0 | d
(3rd | 3rd Party Support | Assumes $225/hr | 120 | hrs | 120 |  | 14400 | e,B
Sub-total | [6 empty] | 99925
Miscellaneous
Maintenance Tools & Equipment | [6 empty] | 200000 | i
Materials |  |  | 526 | km | 431.25 |  | 226837.5 | l
Property and Equipment Insurance Premiums | Based upon value of non-OL TL asset, less Eng., EA & Historical | 0.038% | 0.038% | per $ insured | 250000000 |  | 95000 | j
Sub total | [6 empty] | 521837.5
Corporate & Energy Control Center Allocated Costs | [6 empty] | 523174.859
| Sub-Total | [5 empty] | 1936379.0257
| Contingency (15%) | [5 empty] | 211980.625
Total | [6 empty] | 2148359.6507
John Mallam's Notes:
a. Based on CFLCo rates
b. Based on Hydro rates | [6 empty] | 61.62%
c. Required to access towers and insulators on AC and DC lines in Labrador
d. Included in IS support personel
e. Provided by Equipment Engineer and PE&TS
f. All support costs are estimated individually - personnel, vehicles, travel, etc
g. Based on BDE rather than BF line crews, due to nature of geography. At least 1/2 of line crew work will be based out of HV-GB and crews will be home each night
h. Based on BDE budget
i. Initial complement of tools and equipment is funded by capital project. This annual budget for tools and equipment is based on BDE
j. Nalcor does not insure transmission assets
k. 10% of ROW cleared every year; all accessable by vehicle therefore control can be by spraying at TRO contractor rate $750 per hectare , plus a mob/demob cost of $10k.
l. From TRO - $750 per km for 230 kV steel; assuming 50/50 labour/materials, material cost is therefore $375/km. Prorate 1.15 for higher voltage class. Conservatively high because average age of existing Hydro lines is approx 40 years.
m. Services lives as agreed with PUB for Hydro vehicles.
n. Semi annual line patrols and emergency maintenance.
RJH Notes for Efficiency Adjustments
A. CF(L)Co will have only two additional 735 kV Breakers and some bus work. Therefore no travel. The new station in Churchill Falls terminal station will be maintained by Nalcor staff stationed in Happy Valley.
B. Only part of the time of the crew will be on the two 315kV lines and terminal stations. The remainder of their time will be working on the LIL.
C. Allowance for travel to Churchill Falls to work on the Churchill Falls Terminal Station

## LITL
Labrador - Island Transmission Link Annual Opex |  |  |  |  | Return to Summary Sheet
Item | Classification/Description | Quantity | Unit |  |  | Annual Cost | Notes
Personnel - Labrador Facilities | [5 empty] | 0 | c
Personnel - TRO Northern/Central |  |  |  | Base Salary | O/H
Lineworkers | Trades | 8 | FTE | 73000 | 0.3 | 759200 | f
Electricians |  | 6 | FTE | 77000 | 0.3 | 600600 | f
P&C Technologist |  | 4 | FTE | 80000 | 0.3 | 416000 | f
Network Services Technologist |  | 3 | FTE | 80000 | 0.3 | 312000 | f
Equipment engineer |  | 1 | FTE | 95000 | 0.3 | 123500 | f
Terminal maintenance A |  | 2 | FTE | 73000 | 0.3 | 189800 | f
Terminal maintenance B |  | 1 | FTE | 55000 | 0.3 | 71500 | f
Supervisor |  | 2 | FTE | 82000 | 0.3 | 213200 | f
Vegitation inspector |  | 1 | FTE | 68000 | 0.3 | 88400 | f
Planner |  | 1 | FTE | 82000 | 0.3 | 106600 | f
Mechanic |  | 2 | FTE | 77000 | 0.3 | 200200 | f
Personnel - Soldiers Pond:
Technical Supervisor |  | 1 | FTE | 78000 | 0.3 | 101400 | f, g
Technical Operator |  | 4 | FTE | 75000 | 0.3 | 390000 | f, g
Utility Worker |  | 1 | FTE | 47000 | 0.3 | 61100 | f, g
Asset Specialist |  | 1 | FTE | 83000 | 0.3 | 107900 | f, g
Travel expenses | Air fare, vehicle rental, accomodations, per diems | 1 | Lot |  |  | 70000 |  | g
Sub-total |  | 39 |  |  |  | 3741400
Vehicles |  |  |  | Unit Cost | Depreciation Years
Crew Cab Pickup (4x4) |  | 3 | each | 42000 | 5 | 25200 | t
Extended Cab Pickup (4x4) |  | 3 | each | 40000 | 5 | 24000 | t
Utility Van or Truck (4x2) |  | 3 | each | 75000 | 8 | 28125 | t |  | Staff | 3741400
Stake Body & Boom Trucks |  | 3 | each | 150000 | 10 | 45000 | t |  | Vehicles | 415325
Bucket Trucks |  | 3 | each | 150000 | 10 | 45000 | t |  | Service Contracts | 1879045.7143
All Terrian Vehicle with Tracks |  | 3 | each | 250000 | 15 | 50000 | t |  | Submarine Cable/Sea Electrodes | 400000
Snowmobile |  | 8 | each | 15000 | 5 | 24000 | t |  | Misc Expenses | 4761064
ATV |  | 8 | each | 15000 | 5 | 24000 | t |  | Corporate & ECC | 1546764.0185
Maintenance and fuel | [5 empty] | 150000 |  |  | Contingency | 1679525.2071
Sub-total |  | 34 |  |  |  | 415325
Service Contracts |  |  |  | Unit Cost
Helicopter Rental |  | 160.2771 | hr | 1500 |  | 240415.7143 | h
Vegetation Management - herbicide |  | 551.88 | ha | 750 |  | 413910 | d
Vegetation Management - manual clearing |  | 105.12 | ha | 2100 |  | 220752 | d
Vegetation Management - special treatment |  | 52.56 | ha | 2800 |  | 147168 | e
Converter Station - Technical Support |  | 1000 | hr | 300 |  | 300000 | i
Converter/terminal station maintenance |  | 1 | LOT | 400000 |  | 400000 | s
Control System - Technical Support |  | 250 | hr | 120 |  | 30000 | j
Switchgear/Transformers - Technical Support |  | 240 | hr | 120 |  | 28800 | k
Submarine Cables - Technical Support |  | 160 | hr | 300 |  | 48000 | l, i
Consulting Services | [5 empty] | 50000
Sub-total | [5 empty] | 1879045.7143
Submarine Cable, Sea Electrodes
Sea Electrode Assessment | [5 empty] | 50000 | w
Cable Survey | Annualized Cost based on Worksheet "SOBI" |  |  |  |  | N/A
Material Allowance | [5 empty] | 250000 | n
Cable Storage and Preservation Allowance | [5 empty] | 100000 | v
Sub-total | [5 empty] | 400000
Miscellaneous
Maintenance Tools & Equipment | [5 empty] | 200000 | p
Materials | Converter/terminal/transition stations |  |  |  |  | 500000 | r
Property and Equipment Policy Premiums | Subsea Cable including seabed protection | 1% |  | 276100000 |  | 2761000 | a, b
Property and Equipment Policy Premiums | Based upon value of non-OL TL asset, less Eng., EA & Historical | 0.038% | per $ insured | 802800000 |  | 305064 | a, b
Materials - Transmission Repairs |  | 1100 | km | 450 |  | 495000 | q
Materials - Communications system | [5 empty] | 250000 | aa
Submarine Cable Repairs | [5 empty] | 250000 | u
Sub-total | [5 empty] | 4761064
Corporate & Energy Control Center Allocated Costs | [5 empty] | 1546764.0185
| Sub-Total |  |  |  |  | 12743598.7328
| Contingency (15%) |  |  |  |  | 1679525.2071
Total | [5 empty] | 14423123.9399
NOTES:
a. Rate from M Leonard 2012-01-24 | [5 empty] | 41.5%
b. Nalcor does not insure transmission lines.
c. Staff and costs for portion of line in Labrador included on sheet "MF to CL TL"
d. Assume vegetation control every 10 years (10% performed each year). 16% of line is accessible only by helicopter and the cut and drop method will be used; 84% of the length is accessible by vehicle and will be controlled using herbicide spray. Percentages from the Clearing and Access Study.
e. Experience has shown that in areas which have been cut rather than treated with herbicide, the cutting stimulates the growth of hardwood species present, requiring more frequent cutting. This allowance is provided for cutting hardwoods every 5 years , using an estimated 25% hardwood content (A guess by Ken Sparkes - there is no supporting information available) in the area to be cut rather than sprayed. A higher unit rate is used due to the "culling" nature of this activity, rather than clear cutting, which requires more travel time (on foot and by helicopter) per hectare. In these areas there would be a general cut and drop every 10 years and a hardwood cut and drop every 5 years.
f. Hydro rates
g. Routine maintenance by HRD or WBN staff.
h. Excludes helicopter rental for vegetation control, which is included in the per hectare clearing rates. Useage based on Hydro experience of 230 hours per year on 3500 km of transmission lines, with an allowance of 50% added due to remote terrain along part of route.
i. $300/hr typical for major manufacturers. Support will be frequent in early years, then taper off to a nomlnal amount in later years as staff gains experience in converter station equipment.
j. Most support by Hydro personnel
k. Routine activity within Nalcor
l. Assist tech staff during first condition assessment tests. Should be able to reduce requirement when experience is developed in house.
m. Survey in years 1 & 3, then every five years, taking approximately 40 days to complete (5 days per cable + 5 days for mob/demob + 6 days for transit + 4 days for weather downtime).
n. Nominal amount for cable berm remediation.
o. All support costs are estimated individually - personnel, vehicles, travel, etc
p. Based on BDE budget. Initial stock of tools will be provided from project capital budget. In initial 5 years of operation this amount will be as stated, then will reduce to about $100k/yr..
q. From TRO - $750 per km for 230 kV steel; assuming 50/50 labour/materials, material cost is therefore $375/km. Prorate 1.5 for higher voltage class and 0.8 for number of conductors. Conservatively high because average age of existing Hydro lines is approx 40 years.
r. Materials for maintenance of TS HV equipment and controls (breakers, switches, PTs, CTs, etc) at two converter/terminal stations two transition stations. Larger items will be included in 50 year capital plan.
s. Snowclearing, fence repairs, road repairs, building maintenance, by contractors at two terminal/converter stations and two transition stations.
t. Depreciation years accepted by PUB for Hydro.
u. Submarine cable repair allowance is based on an estimated failure rate of 0.1 failures per 100 km per year. (This number is based on historical submarine cable failure for an embedded submarine cable project). The estimated cost per failure for an embedded submarine cable was $6 million in 1998 (Teshmont report) approximated at $50 million in 2008. This value assumes mobilization of a rock removal and replacement vessel along with a separate repair vessel which would be covered under the Property and Equipment Policy with the assumption of a $250k deductible per event.
v. Storage and preservation cost for spare cable segment on turntable.
w. Provisional allowance only. Electrode replacement will be very infrequent and is included in 50 year sustaining capital plan.
x. Not used
aa. Nominal amount

## Corporate Support
Corporate Support Annual Overhead | Return to Summary Sheet
Item | Classification/Description | Base Salary | O/H | # of FTEsb | Annual Cost | Notes
Project Execution and Technical Services | Mechanical Engineer | 95000 | 0.3 | 0.75 | 92625
Project Execution and Technical Services | Elecrical Engineer | 95000 | 0.3 | 0.75 | 92625
Project Execution and Technical Services | Civil Engineer | 95000 | 0.3 | 0.5 | 61750
Project Execution and Technical Services | P&C Engineer | 95000 | 0.3 | 0.25 | 30875
Project Execution and Technical Services | Network Services Engineer | 95000 | 0.3 | 0.25 | 30875
Project Execution and Technical Services | Planning Engineer | 95000 | 0.3 | 0.5 | 61750
Finance | Accounting / Buyer / IS | 70000 | 0.3 | 7.5 | 682500
HROE | Ecologist / Safety Specialist | 83000 | 0.3 | 3 | 323700
IS Support |  | 70000 | 0.3 | 3 | 273000
Business Interruption Insurance |  |  |  |  | N/A | e, B
Liability Insurance Premiums |  |  |  |  | 200000 | d
| Sub total |  |  |  | 1849700
| Contingency (15%) |  |  |  | 277455
Total Corporate and Energy Control Center |  |  |  | 16.5 | 2127155
JM NOTES:
a. See LCP-PT-MD-0000-PM-PH-0001-01 Operations and Maintenance Philosophy for staffing levels for all locations.
b. FTE = Full Time Equivalent
c. Based on Power System Operator
d. Email from Gail Cullen (M Leonard) 2012-01-23.
e. Rate from M Leonard 2012-01-24. Expect financiers to insist on this coverage for project. Rate is high (2%) because of cable exposure, with which they claim there is not a lot of experience. Revenue estimated at 4.9 TWhr with 8% losses and $0.05/kWhr - VOID
f. Based on System Performance Engineer
G Corporate Costs allocated to the three components based on O&M estimate for each components. Allocation percentage for each component are:
Muskrat Falls: 23.95 %; MF to CF 345 kV TL: 19.28%; Island Link: 56.77%
G ECC Costs allocated to the three components based on O&M estimate for each components. Allocation percentage for each component are:
Muskrat Falls: 23.95 %; MF to CF 345 kV TL: 19.28%; Island Link: 56.77% | 0
A. Reduced by Rob Henderson following a review with Bob Butler of System Operations
B. Removed by Rob Henderson after discussion with Jim Meaney and reflection of the NLH PPA arrangement
IS Support | 273000
Liability Insurance Premiums | 200000
Project Execution and Technical Services | 370500
Finance | 682500

## ECC
Energy Control Centre Annual OPEX | Return to Summary Sheet
Item | Classification/Description | Base Salary | O/H | # of FTEsb | Annual Cost | Notes
Energy Control Center Staff | System performance Engineer | 95000 | 0.3 | 1 | 123500 | c
Energy Control Center Staff | Operations Planning Engineer | 95000 | 0.3 | 0.5 | 61750 | c, A
Energy Control Center Staff | Generation Coordinator | 80000 | 0.3 | 1 | 104000 | c
Energy Control Center Staff | System Operators | 80000 | 0.3 | 1 | 104000 | a,A
| Sub total |  |  |  | 393250
| Contingency (15%) |  |  |  | 58987.5
Total Corporate and Energy Control Center |  |  |  | 3.5 | 452237.5
NOTES:
a. Based on Power System Operator
b. FTE = Full Time Equivalent
c. Based on System Performance Engineer
d. Based on Power System Operator
A. Reduced by Rob Henderson following a review with Bob Butler of System Operations
IS Support | 0
Liability Insurance Premiums | 0
Project Execution and Technical Services | 0
Energy Control Center | 0
Business Interruption Insurance | 0
Finance | 0

## SOBI
SOBI Seabed Crossing - DG3 Estimate
SOBI Marine Crossing Operating Costs
| Detail | Quantity | Unit | Assumptions
| Onshore Inspection and Testing for the first two years | 200000 | /Scheduled Maintainance | Based on 3 visits in the first 2 years and 1 visit per year for life of field. Visual inspection of the cleats and steelwork structure Pre-pressured pressured tanks and pipe work to be inspected link-boxes inspected for corrosion and cleaned and sprayed with a rust inhibiting paint inside of the link-boxes examined Within the link-box contact resistance tests made across all link contacts The integrity of the serving checked by TDR testing. The spare cable visually inspected. Spare accessories materials / compounds inspected to ensure that the shelf life has not been exceeded Porcelains of the terminations, and the surge arresters cleaned for salt deposits and contaminants that could impair the creepage
| DTS Unit Replacement | 200000 | /unit | Replaced once every 10 years |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50
| Offshore |  |  |  | Onshore Inspection Cost | 300000 | 300000 | 200000 | 200000 | 200000 | 200000 | 200000 | 200000 | 200000 | 200000 | 200000 | 200000 | 200000 | 200000 | 200000 | 200000 | 200000 | 200000 | 200000 | 200000 | 200000 | 200000 | 200000 | 200000 | 200000 | 200000 | 200000 | 200000 | 200000 | 200000 | 200000 | 200000 | 200000 | 200000 | 200000 | 200000 | 200000 | 200000 | 200000 | 200000 | 200000 | 200000 | 200000 | 200000 | 200000 | 200000 | 200000 | 200000 | 200000 | 200000
| Spread Cost | 120000 | /day | Includes Vessel + ROV | DTS Unit Replacement | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 200000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 200000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 200000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 200000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 200000
| Mob | 3 | days
| Demob | 2 | day |  | Offshore Costs | 1247500 | 1247500 | 0 | 1247500 | 0 | 1247500 | 0 | 1247500 | 0 | 1247500 | 0 | 1247500 | 0 | 0 | 0 | 0 | 1247500 | 0 | 0 | 0 | 0 | 1247500 | 0 | 0 | 0 | 0 | 1247500 | 0 | 0 | 0 | 0 | 1247500 | 0 | 0 | 0 | 0 | 1247500 | 0 | 0 | 0 | 0 | 1247500 | 0 | 0 | 0 | 0 | 1247500 | 0 | 0 | 0
| Survey duration | 3 | days |  | Annual Cost | 1547500 | 1547500 | 200000 | 1447500 | 200000 | 1447500 | 200000 | 1447500 | 200000 | 1647500 | 200000 | 1447500 | 200000 | 200000 | 200000 | 200000 | 1447500 | 200000 | 200000 | 400000 | 200000 | 1447500 | 200000 | 200000 | 200000 | 200000 | 1447500 | 200000 | 200000 | 400000 | 200000 | 1447500 | 200000 | 200000 | 200000 | 200000 | 1447500 | 200000 | 200000 | 400000 | 200000 | 1447500 | 200000 | 200000 | 200000 | 200000 | 1447500 | 200000 | 200000 | 400000
| Technical / PM Support | 250000 | per survey | Covers third party PM and technical support for survey activity.
| Cost Per Survey | 1247500 | Total | Based on 1 inspection per year for the first 2 years, 1 per every 2 years for the next 10 years, then 1 per 5 years for the remaining life of field. 15% contingency included.

## Cost Curve
Year: | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50
Muskrat Falls Generation | 6345025.1225 | 6345025.1225 | 6345025.1225 | 6345025.1225 | 6345025.1225 | 6345025.1225 | 6345025.1225 | 6345025.1225 | 6345025.1225 | 6345025.1225 | 6345025.1225 | 6345025.1225 | 6345025.1225 | 6345025.1225 | 6345025.1225 | 6345025.1225 | 6345025.1225 | 6345025.1225 | 6345025.1225 | 6345025.1225 | 6345025.1225 | 6345025.1225 | 6345025.1225 | 6345025.1225 | 6345025.1225 | 6345025.1225 | 6345025.1225 | 6345025.1225 | 6345025.1225 | 6345025.1225 | 6345025.1225 | 6345025.1225 | 6345025.1225 | 6345025.1225 | 6345025.1225 | 6345025.1225 | 6345025.1225 | 6345025.1225 | 6345025.1225 | 6345025.1225 | 6345025.1225 | 6345025.1225 | 6345025.1225 | 6345025.1225 | 6345025.1225 | 6345025.1225 | 6345025.1225 | 6345025.1225 | 6345025.1225 | 6345025.1225
Labrador Transmisson Assets | 2148359.6507 | 2148359.6507 | 2148359.6507 | 2148359.6507 | 2148359.6507 | 2148359.6507 | 2148359.6507 | 2148359.6507 | 2148359.6507 | 2148359.6507 | 2148359.6507 | 2148359.6507 | 2148359.6507 | 2148359.6507 | 2148359.6507 | 2148359.6507 | 2148359.6507 | 2148359.6507 | 2148359.6507 | 2148359.6507 | 2148359.6507 | 2148359.6507 | 2148359.6507 | 2148359.6507 | 2148359.6507 | 2148359.6507 | 2148359.6507 | 2148359.6507 | 2148359.6507 | 2148359.6507 | 2148359.6507 | 2148359.6507 | 2148359.6507 | 2148359.6507 | 2148359.6507 | 2148359.6507 | 2148359.6507 | 2148359.6507 | 2148359.6507 | 2148359.6507 | 2148359.6507 | 2148359.6507 | 2148359.6507 | 2148359.6507 | 2148359.6507 | 2148359.6507 | 2148359.6507 | 2148359.6507 | 2148359.6507 | 2148359.6507
Labrador - Island Transmisson Link | 15970623.9399 | 15970623.9399 | 14623123.9399 | 15870623.9399 | 14623123.9399 | 15870623.9399 | 14623123.9399 | 15870623.9399 | 14623123.9399 | 16070623.9399 | 14623123.9399 | 15870623.9399 | 14623123.9399 | 14623123.9399 | 14623123.9399 | 14623123.9399 | 15870623.9399 | 14623123.9399 | 14623123.9399 | 14823123.9399 | 14623123.9399 | 15870623.9399 | 14623123.9399 | 14623123.9399 | 14623123.9399 | 14623123.9399 | 15870623.9399 | 14623123.9399 | 14623123.9399 | 14823123.9399 | 14623123.9399 | 15870623.9399 | 14623123.9399 | 14623123.9399 | 14623123.9399 | 14623123.9399 | 15870623.9399 | 14623123.9399 | 14623123.9399 | 14823123.9399 | 14623123.9399 | 15870623.9399 | 14623123.9399 | 14623123.9399 | 14623123.9399 | 14623123.9399 | 15870623.9399 | 14623123.9399 | 14623123.9399 | 14823123.9399
Total: | 24464008.7131 | 24464008.7131 | 23116508.7131 | 24364008.7131 | 23116508.7131 | 24364008.7131 | 23116508.7131 | 24364008.7131 | 23116508.7131 | 24564008.7131 | 23116508.7131 | 24364008.7131 | 23116508.7131 | 23116508.7131 | 23116508.7131 | 23116508.7131 | 24364008.7131 | 23116508.7131 | 23116508.7131 | 23316508.7131 | 23116508.7131 | 24364008.7131 | 23116508.7131 | 23116508.7131 | 23116508.7131 | 23116508.7131 | 24364008.7131 | 23116508.7131 | 23116508.7131 | 23316508.7131 | 23116508.7131 | 24364008.7131 | 23116508.7131 | 23116508.7131 | 23116508.7131 | 23116508.7131 | 24364008.7131 | 23116508.7131 | 23116508.7131 | 23316508.7131 | 23116508.7131 | 24364008.7131 | 23116508.7131 | 23116508.7131 | 23116508.7131 | 23116508.7131 | 24364008.7131 | 23116508.7131 | 23116508.7131 | 23316508.7131
[6 empty] | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45
Nominal $
| 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050 | 2051 | 2052 | 2053 | 2054 | 2055 | 2056 | 2057 | 2058 | 2059 | 2060 | 2061 | 2062 | 2063 | 2064 | 2065 | 2066
Escalator Index
2.5% | 1.1314 | 1.1597 | 1.1887 | 1.2184 | 1.2489 | 1.2801 | 1.3121 | 1.3449 | 1.3785 | 1.413 | 1.4483 | 1.4845 | 1.5216 | 1.5597 | 1.5987 | 1.6386 | 1.6796 | 1.7216 | 1.7646 | 1.8087 | 1.8539 | 1.9003 | 1.9478 | 1.9965 | 2.0464 | 2.0976 | 2.15 | 2.2038 | 2.2589 | 2.3153 | 2.3732 | 2.4325 | 2.4933 | 2.5557 | 2.6196 | 2.6851 | 2.7522 | 2.821 | 2.8915 | 2.9638 | 3.0379 | 3.1139 | 3.1917 | 3.2715 | 3.3533 | 3.4371 | 3.523 | 3.6111 | 3.7014 | 3.7939
Project Opex
Muskrat Falls | 0 | 7358283.873 | 7542240.9698 | 7730796.994 | 7924066.9189 | 8122168.5918 | 8325222.8066 | 8533353.3768 | 8746687.2112 | 8965354.3915 | 9189488.2513 | 9419225.4576 | 9654706.094 | 9896073.7464 | 10143475.59 | 10397062.4798 | 10656989.0418 | 10923413.7678 | 11196499.112 | 11476411.5898 | 11763321.8796 | 12057404.9266 | 12358840.0497 | 12667811.051 | 12984506.3272 | 13309118.9854 | 13641846.9601 | 13982893.1341 | 14332465.4624 | 14690777.099 | 15058046.5264 | 15434497.6896 | 15820360.1318 | 16215869.1351 | 16621265.8635 | 17036797.5101 | 17462717.4479 | 17899285.384 | 18346767.5187 | 18805436.7066 | 19275572.6243 | 19757461.9399 | 20251398.4884 | 20757683.4506 | 21276625.5369 | 21808541.1753 | 22353754.7047 | 22912598.5723 | 23485413.5366 | 24072548.875
LTA | 0 | 2491438.5468 | 2553724.5105 | 2617567.6233 | 2683006.8138 | 2750081.9842 | 2818834.0338 | 2889304.8846 | 2961537.5068 | 3035575.9444 | 3111465.343 | 3189251.9766 | 3268983.276 | 3350707.8579 | 3434475.5544 | 3520337.4432 | 3608345.8793 | 3698554.5263 | 3791018.3895 | 3885793.8492 | 3982938.6954 | 4082512.1628 | 4184574.9669 | 4289189.3411 | 4396419.0746 | 4506329.5514 | 4618987.7902 | 4734462.485 | 4852824.0471 | 4974144.6483 | 5098498.2645 | 5225960.7211 | 5356609.7391 | 5490524.9826 | 5627788.1072 | 5768482.8099 | 5912694.8801 | 6060512.2521 | 6212025.0584 | 6367325.6849 | 6526508.827 | 6689671.5477 | 6856913.3364 | 7028336.1698 | 7204044.574 | 7384145.6884 | 7568749.3306 | 7757968.0638 | 7951917.2654 | 8150715.1971
LIL | 9910074.65 | 18521027.4679 | 17382299.1015 | 19336814.1937 | 18262277.9935 | 20315740.4123 | 19186805.817 | 21344224.7706 | 20158137.8614 | 22707370.9138 | 21178643.5907 | 23560030.4422 | 22250812.4225 | 22807082.733 | 23377259.8013 | 23961691.2964 | 26656011.9383 | 25174751.9182 | 25804120.7162 | 26810968.924 | 27110454.3275 | 30158830.8299 | 28482921.0778 | 29194994.1047 | 29924868.9574 | 30672990.6813 | 34121948.8921 | 32225810.8345 | 33031456.1054 | 34320306.9346 | 34703673.5707 | 38605853.2164 | 36460547.0452 | 37372060.7214 | 38306362.2394 | 39264021.2954 | 43678979.3946 | 41251762.3735 | 42283056.4328 | 43932894.459 | 44423636.1647 | 49418756.0178 | 46672582.7456 | 47839397.3142 | 49035382.2471 | 50261266.8032 | 55912786.4293 | 52805743.4351 | 54125887.021 | 56237819.1788
Total Opex | 9910074.65 | 28370749.8877 | 27478264.5818 | 29685178.811 | 28869351.7263 | 31187990.9883 | 30330862.6574 | 32766883.0321 | 31866362.5794 | 34708301.2498 | 33479597.185 | 36168507.8764 | 35174501.7925 | 36053864.3373 | 36955210.9458 | 37879091.2194 | 40921346.8594 | 39796720.2124 | 40791638.2177 | 42173174.363 | 42856714.9025 | 46298747.9192 | 45026336.0944 | 46151994.4968 | 47305794.3592 | 48488439.2182 | 52382783.6424 | 50943166.4536 | 52216745.6149 | 53985228.6818 | 54860218.3617 | 59266311.6271 | 57637516.9162 | 59078454.8391 | 60555416.2101 | 62069301.6154 | 67054391.7226 | 65211560.0096 | 66841849.0099 | 69105656.8505 | 70225717.616 | 75865889.5053 | 73780894.5703 | 75625416.9346 | 77516052.3579 | 79453953.6669 | 85835290.4646 | 83476310.0713 | 85563217.8231 | 88461083.2509
Check |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Totals as Per Opex Transmittal 000s | 9910.0747 | 28370.7499 | 27478.2646 | 29685.1788 | 28869.3517 | 31187.991 | 30330.8627 | 32766.883 | 31866.3626 | 34708.3012 | 33479.5972 | 36168.5079 | 35174.5018 | 36053.8643 | 36955.2109 | 37879.0912 | 40921.3469 | 39796.7202 | 40791.6382 | 42173.1744 | 42856.7149 | 46298.7479 | 45026.3361 | 46151.9945 | 47305.7944 | 48488.4392 | 52382.7836 | 50943.1665 | 52216.7456 | 53985.2287 | 54860.2184 | 59266.3116 | 57637.5169 | 59078.4548 | 60555.4162 | 62069.3016 | 67054.3917 | 65211.56 | 66841.849 | 69105.6569 | 70225.7176 | 75865.8895 | 73780.8946 | 75625.4169 | 77516.0524 | 79453.9537 | 85835.2905 | 83476.3101 | 85563.2178 | 88461.0833 | 89894.8557
Check | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
LIL Base Opex 2012$ | 14423123.9399 | 14423123.9399 | 14423123.9399 | 14423123.9399 | 14423123.9399 | 14423123.9399 | 14423123.9399 | 14423123.9399 | 14423123.9399 | 14423123.9399 | 14423123.9399 | 14423123.9399 | 14423123.9399 | 14423123.9399 | 14423123.9399 | 14423123.9399 | 14423123.9399 | 14423123.9399 | 14423123.9399 | 14423123.9399 | 14423123.9399 | 14423123.9399 | 14423123.9399 | 14423123.9399 | 14423123.9399 | 14423123.9399 | 14423123.9399 | 14423123.9399 | 14423123.9399 | 14423123.9399 | 14423123.9399 | 14423123.9399 | 14423123.9399 | 14423123.9399 | 14423123.9399 | 14423123.9399 | 14423123.9399 | 14423123.9399 | 14423123.9399 | 14423123.9399 | 14423123.9399 | 14423123.9399 | 14423123.9399 | 14423123.9399 | 14423123.9399 | 14423123.9399 | 14423123.9399 | 14423123.9399 | 14423123.9399 | 14423123.9399
Cable Survey related 2012$ | 1547500 | 1547500 | 200000 | 1447500 | 200000 | 1447500 | 200000 | 1447500 | 200000 | 1647500 | 200000 | 1447500 | 200000 | 200000 | 200000 | 200000 | 1447500 | 200000 | 200000 | 400000 | 200000 | 1447500 | 200000 | 200000 | 200000 | 200000 | 1447500 | 200000 | 200000 | 400000 | 200000 | 1447500 | 200000 | 200000 | 200000 | 200000 | 1447500 | 200000 | 200000 | 400000 | 200000 | 1447500 | 200000 | 200000 | 200000 | 200000 | 1447500 | 200000 | 200000 | 400000
Nominal LIL Opex | 9910074.65 | 18521027.4679 | 17382299.1015 | 19336814.1937 | 18262277.9935 | 20315740.4123 | 19186805.817 | 21344224.7706 | 20158137.8614 | 22707370.9138 | 21178643.5907 | 23560030.4422 | 22250812.4225 | 22807082.733 | 23377259.8013 | 23961691.2964 | 26656011.9383 | 25174751.9182 | 25804120.7162 | 26810968.924 | 27110454.3275 | 30158830.8299 | 28482921.0778 | 29194994.1047 | 29924868.9574 | 30672990.6813 | 34121948.8921 | 32225810.8345 | 33031456.1054 | 34320306.9346 | 34703673.5707 | 38605853.2164 | 36460547.0452 | 37372060.7214 | 38306362.2394 | 39264021.2954 | 43678979.3946 | 41251762.3735 | 42283056.4328 | 43932894.459 | 44423636.1647 | 49418756.0178 | 46672582.7456 | 47839397.3142 | 49035382.2471 | 50261266.8032 | 55912786.4293 | 52805743.4351 | 54125887.021 | 56237819.1788
check LIL | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
labour % | 43.65%
Note on C34: Goudie, Steve: needed to relfect full survey cost in first year so not total at 50%