{"text_format":"1","workbook":"xlsx","n_sheets":1,"sheets":["Summary of Factors"],"not_rendered":{"charts":0,"images":0,"macros":1,"external_links":0,"defined_names":5,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Summary of Factors","index":0,"n_rows":107,"n_cols":91,"rows_kept":107,"cut":false,"hidden":false,"merged":[]}
["LM","NEWFOUNDLAND & LABRADOR HYDRO"]
[null,"SUMMARY OF DEMAND & ENERGY FACTORS"]
[]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"Current Year percentages",null,null,null,"Current Year percentages",null,null,null,"Current Year percentages",null,null,null,"Current Year percentages",null,null,null,null,"Prior Year Percentages",null,null,null,"Prior Year Percentages",null,null,null,"Prior Year Percentages",null,null,null,"Prior Year Percentages",null,null,null,null,"Percent Change (%/% not %-%)",null,null,null,"Percent Change (%/% not %-%)",null,null,null,"Percent Change (%/% not %-%)",null,null,null,"Percent Change (%/% not %-%)"]
[null,"2027 Forecast",null,null,"Billing",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"Billing",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"Billing",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"Billing"]
[null,null,null,null,"Demand",null,null,"MWH @",null,"Coincident kW @",null,null,null,null,"Non-Coincident kW @",null,null,null,null,null,null,null,null,null,null,null,null,null,null,"Demand",null,"MWH @",null,null,"Coincident kW @",null,null,null,null,"Non-Coincident kW @",null,null,null,null,null,null,"Demand",null,"MWH @",null,null,"Coincident kW @",null,null,null,null,"Non-Coincident kW @",null,null,null,null,null,null,"Demand",null,"MWH @",null,null,"Coincident kW @",null,null,null,null,"Non-Coincident kW @"]
[null,null,"MWh Sales","Number of RuralCust","(kW)",null,null,"Generation",null,"Generation","Transm.","Primary","Secondary",null,"Generation","Transm.","Primary","Secondary",null,"Transmission",null,null,null,null,null,null,null,"MWh Sales","Number of Customers","(kW)",null,"Generation","Transmission",null,"Generation","Transm.","Primary","Secondary",null,"Generation","Transm.","Primary","Secondary",null,"MWh Sales","Number of Customers","(kW)",null,"Generation","Transmission",null,"Generation","Transm.","Primary","Secondary",null,"Generation","Transm.","Primary","Secondary",null,"MWh Sales","Number of Customers","(kW)",null,"Generation","Transmission",null,"Generation","Transm.","Primary","Secondary",null,"Generation","Transm.","Primary","Secondary"]
[null,null,"(A)","(B)","(C)",null,null,"(D)",null,"(F)","(G)","(H)","(I)",null,"(J)","(K)","(L)","(M)",null,null,null,null,null,null,null,null,null,"(A)","(B)","(C)",null,"(D)","(E)",null,"(F)","(G)","(H)","(I)",null,"(J)","(K)","(L)","(M)",null,"(A)","(B)","(C)",null,"(D)","(E)",null,"(F)","(G)","(H)","(I)",null,"(J)","(K)","(L)","(M)",null,"(A)","(B)","(C)",null,"(D)","(E)",null,"(F)","(G)","(H)","(I)",null,"(J)","(K)","(L)","(M)",null,null,"2027-01-01","2027-02-01","2027-03-01","2027-04-01","2027-05-01","2027-06-01","2027-07-01","2027-08-01","2027-09-01","2027-10-01","2027-11-01","2027-12-01"]
[null,0]
[null,"ISLAND INTERCONNECTED"]
[]
["ISLINTNP","Newfoundland Light & Power",6014582,1,0,null,null,6292250.3375076158,null,1459197.7922357633,1435868.6189540578,0,0,null,1466282.8354765472,1444300,0,0,0.89001457100935732,6014582,0.95587137786739729,null,null,null,null,null,null,0.85271211264827063,4.0975209997951238E-5,0,null,0.8483695330439589,0.8483695330439589,null,0.88738604118773867,0.89001457100935732,0,0,null,0.85875851986291163,0.86207156609487956,0,0,null,0.85271211264827063,4.0975209997951238E-5,0,null,0.8483695330439589,0.8483695330439589,null,0.88738604118773867,0.89001457100935732,0,0,null,0.85875851986291163,0.86207156609487956,0,0,null,0,0,0,null,0,0,null,0,0,0,0,null,0,0,0,0]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0,0,0,null,0,0,null,0,0,0,0,null,0,0,0,0,null,0,0,0,null,0,0,null,0,0,0,0,null,0,0,0,0,null,0,0,0,null,0,0,null,0,0,0,0,null,0,0,0,0]
["ISLINTINDF","TOTAL INDUSTRIAL",613371.34,6,1095600,null,null,641688.15407828812,null,81910.551160551287,78487.191974464193,0,0,null,95282.212713017434,91300,0,0,4.8649816266453906E-2,613371.34,0.95587137786739729,null,null,null,null,null,null,8.6960186288806224E-2,2.4585125998770742E-4,0.6670045970020938,null,8.6517326939485953E-2,8.6517326939485953E-2,null,4.9812492941411594E-2,4.8649816266453906E-2,0,0,null,5.5803975862610926E-2,5.4495003797315311E-2,0,0,null,8.6960186288806224E-2,2.4585125998770742E-4,0.6670045970020938,null,8.6517326939485953E-2,8.6517326939485953E-2,null,4.9812492941411594E-2,4.8649816266453906E-2,0,0,null,5.5803975862610926E-2,5.4495003797315311E-2,0,0,null,0,0,0,null,0,0,null,0,0,0,0,null,0,0,0,0]
[]
["ISLINTINDNF","Interruptible",0,0,0,null,null,0,null,0,0,0,0,null,0,0,0,0,null,0,0,null,null,null,null,null,null,0,0,0,null,0,0,null,0,0,0,0,null,0,0,0,0,null,0,0,0,null,0,0,null,0,0,0,0,null,0,0,0,0,null,0,0,0,null,0,0,null,0,0,0,0,null,0,0,0,0]
[]
["ISLINT1.1","1.1 Domestic",108815.75679415271,11493.898665000001,0,null,null,123930.29141337438,null,33032.894404811479,31652.321805780819,29316.627237629978,25936.41080084311,null,40058.585093422931,38384.381668855254,35551.913570120079,31452.76663773711,null,118461.41841281024,0.95587137786739729,null,null,null,null,null,null,1.5427258929275944E-2,0.47096491149354641,0,null,1.6709234028665809E-2,1.6709234028665809E-2,null,2.008838661271916E-2,1.9619502259157255E-2,0.31987130131692526,0.33336063786469511,null,2.3461129333516365E-2,2.2910810786438852E-2,0.27459989067734086,0.29802115949893698,null,1.5427258929275944E-2,0.47096491149354641,0,null,1.6709234028665809E-2,1.6709234028665809E-2,null,2.008838661271916E-2,1.9619502259157255E-2,0.31987130131692526,0.33336063786469511,null,2.3461129333516365E-2,2.2910810786438852E-2,0.27459989067734086,0.29802115949893698,null,0,0,0,null,0,0,null,0,0,0,0,null,0,0,0,0]
["ISLINT1.12","1.12 Domestic All Electric ",146705.74320584731,8713.6013349999994,0,null,null,167083.2059911135,null,38341.390881527077,36738.955654051213,34027.907166447694,30104.478656709522,null,50959.035308066137,48829.25984978523,45226.041176040424,40011.464256433959,null,159710.05432922783,0.95587137786739729,null,null,null,null,null,null,2.0799078676904354E-2,0.35704164454005322,0,null,2.2527441510268264E-2,2.2527441510268264E-2,null,2.331665744632155E-2,2.2772421810841461E-2,0.37127568796358862,0.38693280595550095,null,2.9845200854836496E-2,2.9145133635642303E-2,0.34932201154841158,0.37911650533934138,null,2.0799078676904354E-2,0.35704164454005322,0,null,2.2527441510268264E-2,2.2527441510268264E-2,null,2.331665744632155E-2,2.2772421810841461E-2,0.37127568796358862,0.38693280595550095,null,2.9845200854836496E-2,2.9145133635642303E-2,0.34932201154841158,0.37911650533934138,null,0,0,0,null,0,0,null,0,0,0,0,null,0,0,0,0]
["ISLINT1.3","1.3 Special",345,1,0,null,null,392.92058243454392,null,132.87059119312002,127.3174145574236,117.9223820085484,104.32589388938578,null,164.50644623910097,157.6310846901435,145.99913962963134,129.16539243447764,null,375.58153852416774,0.95587137786739729,null,null,null,null,null,null,4.8912073833834732E-5,4.0975209997951238E-5,0,null,5.2976571681569863E-5,5.2976571681569863E-5,null,8.080296484582867E-5,7.8916937527256798E-5,1.2866413820976537E-3,1.3409005124039605E-3,null,9.6346563474763921E-5,9.4086599767407458E-5,1.1276846660365904E-3,1.2238675364816087E-3,null,4.8912073833834732E-5,4.0975209997951238E-5,0,null,5.2976571681569863E-5,5.2976571681569863E-5,null,8.080296484582867E-5,7.8916937527256798E-5,1.2866413820976537E-3,1.3409005124039605E-3,null,9.6346563474763921E-5,9.4086599767407458E-5,1.1276846660365904E-3,1.2238675364816087E-3,null,0,0,0,null,0,0,null,0,0,0,0,null,0,0,0,0]
["ISLINT2.1","2.1 General Service 0-10 kW",72837.152972242664,3041.5,248252.61462861442,null,null,82954.250923847998,null,15206.722803502131,14571.174959395807,13495.935853302155,11939.850160654752,null,21075.806631632517,20194.967042418004,18704.735927165464,16548.073930740193,null,79293.594130536396,0.95587137786739729,null,null,null,null,null,null,1.0326423779781589E-2,0.1246261012087687,0.15113694338725361,null,1.1184529436276763E-2,1.1184529436276763E-2,null,9.2477069385935567E-3,9.0318556025242389E-3,0.14725304274921433,0.15346287102436565,null,1.2343477035939951E-2,1.2053940916355166E-2,0.14447375471414936,0.15679626015462456,null,1.0326423779781589E-2,0.1246261012087687,0.15113694338725361,null,1.1184529436276763E-2,1.1184529436276763E-2,null,9.2477069385935567E-3,9.0318556025242389E-3,0.14725304274921433,0.15346287102436565,null,1.2343477035939951E-2,1.2053940916355166E-2,0.14447375471414936,0.15679626015462456,null,0,0,0,null,0,0,null,0,0,0,0,null,0,0,0,0]
["ISLINT2.2","2.2 General Service 10-100 kW",0,0,0,null,null,0,null,0,0,0,0,null,0,0,0,0,null,0,null,null,null,null,null,null,null,0,0,0,null,0,0,null,0,0,0,0,null,0,0,0,0,null,0,0,0,null,0,0,null,0,0,0,0,null,0,0,0,0,null,0,0,0,null,0,0,null,0,0,0,0,null,0,0,0,0]
["ISLINT2.3","2.3 General Service 110-1,000 kVA",54456.91931091177,83.5,171006.48543209292,null,null,61765.191512199752,null,10056.001782820453,9635.7225197612879,8924.6813238669383,7321.4492405157407,null,15374.826959148946,14732.253391282995,13645.127952783345,11193.913604453446,null,59039.578715010044,0.95587137786739718,null,null,null,null,null,null,7.7205821973869481E-3,3.4214300348289284E-3,0.10410926606460165,null,8.3276576536100311E-3,8.3276576536100311E-3,null,6.1153845350610985E-3,5.9726449422911601E-3,9.737646168382913E-2,9.4102572929365233E-2,null,9.0045817376672964E-3,8.7933647809526633E-3,0.10539378243937317,0.10606453639367838,null,7.7205821973869481E-3,3.4214300348289284E-3,0.10410926606460165,null,8.3276576536100311E-3,8.3276576536100311E-3,null,6.1153845350610985E-3,5.9726449422911601E-3,9.737646168382913E-2,9.4102572929365233E-2,null,9.0045817376672964E-3,8.7933647809526633E-3,0.10539378243937317,0.10606453639367838,null,0,0,0,null,0,0,null,0,0,0,0,null,0,0,0,0]
["ISLINT2.3S"]
["ISLINT2.3P"]
["ISLINT2.4","2.4 General Service Over 1,000 kVA",40282.427716845523,8,127708.28991570807,null,null,44444.834845810292,null,5870.2839954461024,5624.9420906973419,5209.8652199382013,1902.3445380822127,null,17617.90479049784,16881.584312249055,15635.855009297913,5709.3191703596731,null,42483.545523153596,0.95587137786739729,null,null,null,null,null,null,5.7110060251955334E-3,3.2780167998360991E-4,7.7749193546050949E-2,null,5.992394097799246E-3,5.9923940977992468E-3,null,3.5699122511590286E-3,3.486586694436738E-3,5.6844409627324649E-2,2.4450830669018028E-2,null,1.0318286127966897E-2,1.0076254120489713E-2,0.12076998521420115,5.4096923768182509E-2,null,5.7110060251955334E-3,3.2780167998360991E-4,7.7749193546050949E-2,null,5.992394097799246E-3,5.9923940977992468E-3,null,3.5699122511590286E-3,3.486586694436738E-3,5.6844409627324649E-2,2.4450830669018028E-2,null,1.0318286127966897E-2,1.0076254120489713E-2,0.12076998521420115,5.4096923768182509E-2,null,0,0,0,null,0,0,null,0,0,0,0,null,0,0,0,0]
["ISLINT2.4S"]
["ISLINT2.4P"]
["ISLINT4.1","4.1 Street and Area Lighting",2076.8202679999999,1056.5,0,null,null,2365.2910994621029,null,629.16376368647036,602.86857314688427,558.38157278563892,494,null,629.16376368647036,602.86857314688427,558.38157278563892,494,null,2260.9140623003314,0.95587137786739729,null,null,null,null,null,null,2.9443938054498676E-4,4.3290309362835483E-2,0,null,3.1890671825344672E-4,3.1890671825344678E-4,null,3.826151221494641E-4,3.7368447741075361E-4,6.0924552770202289E-3,6.3493810446511806E-3,null,3.6848262107574395E-4,3.5983926815905278E-4,4.3128907404873683E-3,4.6807473087546129E-3,null,2.9443938054498676E-4,4.3290309362835483E-2,0,null,3.1890671825344672E-4,3.1890671825344678E-4,null,3.826151221494641E-4,3.7368447741075361E-4,6.0924552770202289E-3,6.3493810446511806E-3,null,3.6848262107574395E-4,3.5983926815905278E-4,4.3128907404873683E-3,4.6807473087546129E-3,null,0,0,0,null,0,0,null,0,0,0,0,null,0,0,0,0]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"-------------","-------------","-------------",null,"-------------","-------------",null,"-------------","-------------","-------------","-------------",null,"-------------","-------------","-------------","-------------",null,"-------------","-------------","-------------",null,"-------------","-------------",null,"-------------","-------------","-------------","-------------",null,"-------------","-------------","-------------","-------------",null,"-------------","-------------","-------------",null,"-------------","-------------",null,"-------------","-------------","-------------","-------------",null,"-------------","-------------","-------------","-------------"]
["INTRRL","    Sub-Total Rural",425519.82026800001,24398,546967.38997641532,null,null,482935.98636824259,null,103269.32822298685,98953.303017390775,91651.320755979163,77802.859290694716,null,145879.82899269395,139782.94592242755,129468.05434782249,105538.70299215885,6.1335612724188866E-2,461624.68671156262,0.95587137786739729,null,null,null,null,null,null,6.0327701062923192E-2,0.99971317353001432,0.33299540299790614,null,6.5113140016555132E-2,6.5113140016555132E-2,null,6.2801465870849699E-2,6.1335612724188866E-2,1,1,null,8.5437504274477508E-2,8.3433430107805143E-2,1,1,null,6.0327701062923192E-2,0.99971317353001432,0.33299540299790614,null,6.5113140016555132E-2,6.5113140016555132E-2,null,6.2801465870849699E-2,6.1335612724188866E-2,1,1,null,8.5437504274477508E-2,8.3433430107805143E-2,1,1,null,0,0,0,null,0,0,null,0,0,0,0,null,0,0,0,0]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"-------------","-------------","-------------",null,"-------------","-------------",null,"-------------","-------------","-------------","-------------",null,"-------------","-------------","-------------","-------------",null,"-------------","-------------","-------------",null,"-------------","-------------",null,"-------------","-------------","-------------","-------------",null,"-------------","-------------","-------------","-------------",null,"-------------","-------------","-------------",null,"-------------","-------------",null,"-------------","-------------","-------------","-------------",null,"-------------","-------------","-------------","-------------"]
["INTTOT","    Grand Total",7053473.1602679994,24405,1642567.3899764153,null,null,7416874.4779541465,null,1644377.6716193014,1613309.1139459126,91651.320755979163,77802.859290694716,null,1707444.8771822585,1675382.9459224276,129468.05434782249,105538.70299215885,null,7089578.0267115626,0.95587137786739729,null,null,null,null,null,null,1,1,1,null,1,1,null,1,1,1,1,null,1,1,1,1,null,1,1,1,null,1,1,null,1,1,1,1,null,1,1,1,1,null,0,0,0,null,0,0,null,0,0,0,0,null,0,0,0,0]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"========","========","========",null,"========","========",null,"========","========","========","========",null,"========","========","========","========",null,"========","========","========",null,"========","========",null,"========","========","========","========",null,"========","========","========","========",null,"========","========","========",null,"========","========",null,"========","========","========","========",null,"========","========","========","========"]
["INTTOTCPGen","Coincident Peak at Generation for System Load Factor",null,null,null,null,null,null,null,1683676.4749928168]
[null,"Zero check -->"]
[]
[null,"LABRADOR INTERCONNECTED"]
[]
["LINTCFB","CFB-Goose Bay Boiler",0,0,null,null,null,0,null,0,0,0,0,null,0,0,0,0,null,0,null,null,null,null,null,null,null,0,0,0,null,0,0,null,0,0,0,0,null,0,0,0,0,null,0,0,0,null,0,0,null,0,0,0,0,null,0,0,0,0,null,0,0,0,null,0,0,null,0,0,0,0,null,0,0,0,0]
["LINTIOCF","IOCC Firm",1902365.3370249998,0,3804000,null,null,2026309.439922652,null,317009.34717939096,298387.28042030276,0,0,null,336783.66890946496,317000,0,0,null,1902365.3370249998,null,null,null,null,null,null,null,0.7304049774225807,0,4.0591478950833126,null,0.72108640687218151,0.72108640687218151,null,0.66020386925815278,0.66020386925815278,0,0,null,0.62398910293210597,0.62398910293210597,0,0,null,0.7304049774225807,0,4.0591478950833126,null,0.72108640687218151,0.72108640687218151,null,0.66020386925815278,0.66020386925815278,0,0,null,0.62398910293210597,0.62398910293210597,0,0,null,0,0,0,null,0,0,null,0,0,0,0,null,0,0,0,0,null,"LIOCCFIRMK",262,262,262,262,240,230,230,230,230,245,250,262]
["LINTIOCNF","IOCC Non-Firm",0,0,null,null,null,0,null,0,0,0,0,null,0,0,0,0,null,0,null,null,null,null,null,null,null,0,0,0,null,0,0,null,0,0,0,0,null,0,0,0,0,null,0,0,0,null,0,0,null,0,0,0,0,null,0,0,0,0,null,0,0,0,null,0,0,null,0,0,0,0,null,0,0,0,0,null,"LWABFIRMK",55,55,50,50,45,45,45,45,45,50,50,55]
[null,null,"-------------","-------------","-------------",null,null,"-------------",null,"-------------","-------------","-------------","-------------",null,"-------------","-------------","-------------","-------------",null,0,null,null,null,null,null,null,null,"-------------","-------------","-------------",null,"-------------","-------------",null,"-------------","-------------","-------------","-------------",null,"-------------","-------------","-------------","-------------",null,"-------------","-------------","-------------",null,"-------------","-------------",null,"-------------","-------------","-------------","-------------",null,"-------------","-------------","-------------","-------------",null,"-------------","-------------","-------------",null,"-------------","-------------",null,"-------------","-------------","-------------","-------------",null,"-------------","-------------","-------------","-------------",null,"LKAMIK",0,0,0,0,0,0,0,0,0,0,0,0]
[null,"    Total Industrial",1902365.3370249998,0,null,null,null,2026309.439922652,null,317009.34717939096,298387.28042030276,0,0,null,336783.66890946496,317000,0,0,null,1902365.3370249998,1720948.9860249998,null,null,null,null,null,null,0.7304049774225807,0,0,null,0.72108640687218151,0.72108640687218151,null,0.66020386925815278,0.66020386925815278,0,0,null,0.62398910293210597,0.62398910293210597,0,0,null,0.7304049774225807,0,0,null,0.72108640687218151,0.72108640687218151,null,0.66020386925815278,0.66020386925815278,0,0,null,0.62398910293210597,0.62398910293210597,0,0,null,0,0,0,null,0,0,null,0,0,0,0,null,0,0,0,0]
[null,null,"-------------","-------------","-------------",null,null,"-------------",null,"-------------","-------------","-------------","-------------",null,"-------------","-------------","-------------","-------------"]
["LINT1.1","1.1 Domestic ",2273.0300560277997,315.5,0,null,null,2551.8156452723865,null,741.45868058704275,697.90320447300917,673.28028826859395,636.16436908141873,null,1019.6442244246326,959.74730659965371,925.88619612422474,874.84487227937996,null,2395.7276881805255,null,null,null,null,null,null,null,8.7272009978386943E-4,2.5917980148963078E-2,0,null,9.0809406421159527E-4,9.0809406421159537E-4,null,1.5441623225753078E-3,1.5441623225753078E-3,4.5443787697172205E-3,5.266031996215486E-3,null,1.8891856810303561E-3,1.8891856810303556E-3,5.0242843911229443E-3,5.8317552581973325E-3,null,8.7272009978386943E-4,2.5917980148963078E-2,0,null,9.0809406421159527E-4,9.0809406421159537E-4,null,1.5441623225753078E-3,1.5441623225753078E-3,4.5443787697172205E-3,5.266031996215486E-3,null,1.8891856810303561E-3,1.8891856810303556E-3,5.0242843911229443E-3,5.8317552581973325E-3,null,0,0,0,null,0,0,null,0,0,0,0,null,0,0,0,0]
["LINT1.1A","1.1A Domestic All Electric ",320448.46021936415,10070,0,null,null,359751.24575353099,null,88402.045948676052,83209.048278595845,80273.326805931021,75848.099508282801,null,109753.61766991579,103306.36551951143,99661.585032380142,94167.541317480907,null,337746.19334508135,null,null,null,null,null,null,null,0.12303480608916791,0.82723949318560441,0,null,0.12802177597223602,0.12802177597223605,null,0.1841061574522784,0.1841061574522784,0.54181357818976772,0.62785427520797565,null,0.20335030393595013,0.20335030393595008,0.54080960291752489,0.62772506490083202,null,0.12303480608916791,0.82723949318560441,0,null,0.12802177597223602,0.12802177597223605,null,0.1841061574522784,0.1841061574522784,0.54181357818976772,0.62785427520797565,null,0.20335030393595013,0.20335030393595008,0.54080960291752489,0.62772506490083202,null,0,0,0,null,0,0,null,0,0,0,0,null,0,0,0,0]
["LINT2.1","2.1 General Service 0-10 kW",4417.930480017686,428.5,0,null,null,4959.7866463482405,null,914.35487516339344,860.64296515729825,830.27838239400592,784.50763003313966,null,1464.0761092010216,1378.0719478458072,1329.4518098696749,1256.1631263924576,null,4656.4093366768939,null,null,null,null,null,null,null,1.6962453792173165E-3,3.5200806636547316E-2,0,null,1.7649992943843756E-3,1.7649992943843758E-3,null,1.9042360480188772E-3,1.9042360480188772E-3,5.6040545366467963E-3,6.4939856455572134E-3,null,2.7126242224359788E-3,2.7126242224359783E-3,7.2142170442102277E-3,8.3736398870420409E-3,null,1.6962453792173165E-3,3.5200806636547316E-2,0,null,1.7649992943843756E-3,1.7649992943843758E-3,null,1.9042360480188772E-3,1.9042360480188772E-3,5.6040545366467963E-3,6.4939856455572134E-3,null,2.7126242224359788E-3,2.7126242224359783E-3,7.2142170442102277E-3,8.3736398870420409E-3,null,0,0,0,null,0,0,null,0,0,0,0,null,0,0,0,0]
["LINT2.2","2.2 General Service 10-100 kW",74799.47078205258,758.5,248711.60595066138,null,null,83943.213821624639,null,16659.56651314718,15680.934297581187,15127.690912622329,14139.213571573335,null,24006.345629010833,22596.141876588965,21798.921138233916,20374.530613009803,null,78808.624737410428,null,null,null,null,null,null,null,2.8718934635985814E-2,6.2309945936572089E-2,0.2653935835377017,null,2.9872194859956389E-2,2.9872194859956392E-2,null,3.4695223879059031E-2,3.4695223879059038E-2,0.10210600045183557,0.11704137277719819,null,4.4478694950471111E-2,4.4478694950471104E-2,0.11829097320666178,0.13581753725793999,null,2.8718934635985814E-2,6.2309945936572089E-2,0.2653935835377017,null,2.9872194859956389E-2,2.9872194859956392E-2,null,3.4695223879059031E-2,3.4695223879059038E-2,0.10210600045183557,0.11704137277719819,null,4.4478694950471111E-2,4.4478694950471104E-2,0.11829097320666178,0.13581753725793999,null,0,0,0,null,0,0,null,0,0,0,0,null,0,0,0,0]
["LINT2.3","2.3 General Service 110-1,000 kVA",155037.44674179412,196.51650000000001,449945.00372545188,null,null,173760.00029229996,null,30752.703410718601,28946.198646640558,27924.939797068746,25055.72535407979,null,34251.322081829145,32239.298108182982,31101.854504658659,27906.220394182441,null,163131.55088994856,null,null,null,null,null,null,null,5.9525959910615503E-2,1.6143615676525207E-2,0.48012442554558915,null,6.1834570673305729E-2,6.1834570673305736E-2,null,6.4045599798720168E-2,6.4045599798720168E-2,0.18848242815153604,0.20740591239570827,null,6.3460475412258188E-2,6.346047541225816E-2,0.16877296883446305,0.18602412002046426,null,5.9525959910615503E-2,1.6143615676525207E-2,0.48012442554558915,null,6.1834570673305729E-2,6.1834570673305736E-2,null,6.4045599798720168E-2,6.4045599798720168E-2,0.18848242815153604,0.20740591239570827,null,6.3460475412258188E-2,6.346047541225816E-2,0.16877296883446305,0.18602412002046426,null,0,0,0,null,0,0,null,0,0,0,0,null,0,0,0,0]
["LINT2.4","2.4 General Service over 1000 kVA",144226.74000000002,6,238485.88877969244,null,null,157717.89164486076,null,25421.327080562722,23928.003132196725,23083.792628094005,4111.5504424261371,null,32180.100591929087,30289.74629522135,29221.085369035452,5204.68921259538,null,148070.69649998812,null,null,null,null,null,null,null,5.5375235620185217E-2,4.9289344181863224E-4,0.25448199091670914,null,5.612579477988807E-2,5.612579477988807E-2,null,5.2942472042526778E-2,5.2942472042526771E-2,0.15580657709945694,3.4034531382405871E-2,null,5.9622938860556002E-2,5.9622938860555988E-2,0.15856705038468671,3.4694692333000314E-2,null,5.5375235620185217E-2,4.9289344181863224E-4,0.25448199091670914,null,5.612579477988807E-2,5.612579477988807E-2,null,5.2942472042526778E-2,5.2942472042526771E-2,0.15580657709945694,3.4034531382405871E-2,null,5.9622938860556002E-2,5.9622938860555988E-2,0.15856705038468671,3.4694692333000314E-2,null,0,0,0,null,0,0,null,0,0,0,0,null,0,0,0,0]
["LINT4.1","4.1 Street and Area Lighting",966.59722807720243,398,0,null,null,1085.1497201910115,null,268.06829307536094,252.32116860076525,243.4189555843511,230,null,268.06829307536094,252.32116860076525,243.4189555843511,230,null,1018.7739209528422,null,null,null,null,null,null,null,3.7112084246369978E-4,3.2695264973969268E-2,0,null,3.8616348383628839E-4,3.8616348383628844E-4,null,5.5827919866864855E-4,5.5827919866864844E-4,1.6429828010395709E-3,1.9038905949392293E-3,null,4.9667400519234136E-4,4.9667400519234125E-4,1.3209032213304707E-3,1.5331903425239988E-3,null,3.7112084246369978E-4,3.2695264973969268E-2,0,null,3.8616348383628839E-4,3.8616348383628844E-4,null,5.5827919866864855E-4,5.5827919866864844E-4,1.6429828010395709E-3,1.9038905949392293E-3,null,4.9667400519234136E-4,4.9667400519234125E-4,1.3209032213304707E-3,1.5331903425239988E-3,null,0,0,0,null,0,0,null,0,0,0,0,null,0,0,0,0]
[null,null,"-------------","-------------","-------------",null,null,"-------------",null,"-------------","-------------","-------------","-------------",null,"-------------","-------------","-------------","-------------",null,"-------------",null,null,null,null,null,null,null,"-------------","-------------","-------------",null,"-------------","-------------",null,"-------------","-------------","-------------","-------------",null,"-------------","-------------","-------------","-------------",null,"-------------","-------------","-------------",null,"-------------","-------------",null,"-------------","-------------","-------------","-------------",null,"-------------","-------------","-------------","-------------",null,"-------------","-------------","-------------",null,"-------------","-------------",null,"-------------","-------------","-------------","-------------",null,"-------------","-------------","-------------","-------------"]
[null,"    Sub-Total Jurisdictional",702169.6755073336,12173.0165,937142.4984558057,null,null,783769.10352412798,null,163159.52480193035,153575.05169324539,148156.72776996306,120805.26087547663,null,202943.17459938585,191021.69222255095,184282.2030058864,150013.98953594037,null,735827.97641823872,null,null,null,null,null,null,null,0.26959502257741935,1,1,null,0.27891359312781844,0.27891359312781849,null,0.33979613074184722,0.33979613074184722,1,1,null,0.37601089706789403,0.37601089706789403,1,1,null,0.26959502257741935,1,1,null,0.27891359312781844,0.27891359312781849,null,0.33979613074184722,0.33979613074184722,1,1,null,0.37601089706789403,0.37601089706789403,1,1,null,0,0,0,null,0,0,null,0,0,0,0,null,0,0,0,0]
[null,null,"-------------","-------------","-------------",null,null,"-------------",null,"-------------","-------------","-------------","-------------",null,"-------------","-------------","-------------","-------------",null,"-------------",null,null,null,null,null,null,null,"-------------","-------------","-------------",null,"-------------","-------------",null,"-------------","-------------","-------------","-------------",null,"-------------","-------------","-------------","-------------",null,"-------------","-------------","-------------",null,"-------------","-------------",null,"-------------","-------------","-------------","-------------",null,"-------------","-------------","-------------","-------------",null,"-------------","-------------","-------------",null,"-------------","-------------",null,"-------------","-------------","-------------","-------------",null,"-------------","-------------","-------------","-------------"]
["LINTTOT","    Grand Total",2604535.0125323334,12173.0165,937142.4984558057,null,null,2810078.5434467802,null,480168.87198132131,451962.33211354818,148156.72776996306,120805.26087547663,null,539726.84350885078,508021.69222255098,184282.2030058864,150013.98953594037,null,2638193.3134432384,null,null,null,null,null,null,null,1,1,1,null,1,1,null,1,1,1,1,null,1,1,1,1,null,1,1,1,null,1,1,null,1,1,1,1,null,1,1,1,1,null,0,0,0,null,0,0,null,0,0,0,0,null,0,0,0,0]
[null,null,"========","========","========",null,null,"========",null,"========","========","========","========",null,"========","========","========","========",null,"========",null,null,null,null,null,null,null,"========","========","========",null,"========","========",null,"========","========","========","========",null,"========","========","========","========",null,"========","========","========",null,"========","========",null,"========","========","========","========",null,"========","========","========","========",null,"========","========","========",null,"========","========",null,"========","========","========","========",null,"========","========","========","========"]
[null,"Zero check -->",0,0,null,null,null,0,null,0,0,0,0,null,0,0,0,0,null,0]
[]
[null,"ISLAND ISOLATED"]
[]
["ISLISO1.2","1.2 Domestic Diesel",3993.04,544.5,0,null,null,4209.6591581977773,null,1416.7644011580312,1416.7644011580312,1354.9109375173107,1262.4842980500757,null,1751.7358293388058,1751.7358293388058,1675.2580971628763,1560.9786475890471,null,4209.6591581977773,null,null,null,null,null,null,null,0.69900655585606886,0.81738574446791945,0,null,0.69900655585606875,0.69900655585606875,null,0.78300455235204858,0.78300455235204858,0.78300455235204869,0.78300455235204858,null,0.73714615829000585,0.73714615829000585,0.73714615829000585,0.73714615829000585,null,0.69900655585606886,0.81738574446791945,0,null,0.69900655585606875,0.69900655585606875,null,0.78300455235204858,0.78300455235204858,0.78300455235204869,0.78300455235204858,null,0.73714615829000585,0.73714615829000585,0.73714615829000585,0.73714615829000585,null,0,0,0,null,0,0,null,0,0,0,0,null,0,0,0,0]
["ISLISO1.2G","1.2G Government Domestic Diesel",27.72,3,0,null,null,29.223787356310577,null,10.982669776418847,10.982669776418847,10.503185562149696,9.7866999848843079,null,13.728337220523558,13.728337220523558,13.12898195268712,12.233374981105385,null,29.223787356310577,null,null,null,null,null,null,null,4.8525588845416594E-3,4.5035027243411543E-3,0,null,4.8525588845416585E-3,4.8525588845416585E-3,null,6.0698027314112302E-3,6.0698027314112302E-3,6.0698027314112302E-3,6.0698027314112293E-3,null,5.7770075101097641E-3,5.7770075101097641E-3,5.7770075101097641E-3,5.7770075101097641E-3,null,4.8525588845416594E-3,4.5035027243411543E-3,0,null,4.8525588845416585E-3,4.8525588845416585E-3,null,6.0698027314112302E-3,6.0698027314112302E-3,6.0698027314112302E-3,6.0698027314112293E-3,null,5.7770075101097641E-3,5.7770075101097641E-3,5.7770075101097641E-3,5.7770075101097641E-3,null,0,0,0,null,0,0,null,0,0,0,0,null,0,0,0,0]
["ISLISO1.23","1.23 Churches & Schools",251.3,15,0,null,null,264.93281972008828,null,53.540515160041871,53.540515160041871,51.203029615479764,47.710162426311001,null,89.23419193340311,89.23419193340311,85.338382692466269,79.516937377185002,null,264.93281972008828,null,null,null,null,null,null,null,4.3991632311880205E-2,2.251751362170577E-2,0,null,4.3991632311880184E-2,4.3991632311880184E-2,null,2.959028831562974E-2,2.959028831562974E-2,2.9590288315629744E-2,2.9590288315629744E-2,null,3.7550548815713458E-2,3.7550548815713458E-2,3.7550548815713465E-2,3.7550548815713465E-2,null,4.3991632311880205E-2,2.251751362170577E-2,0,null,4.3991632311880184E-2,4.3991632311880184E-2,null,2.959028831562974E-2,2.959028831562974E-2,2.9590288315629744E-2,2.9590288315629744E-2,null,3.7550548815713458E-2,3.7550548815713458E-2,3.7550548815713465E-2,3.7550548815713465E-2,null,0,0,0,null,0,0,null,0,0,0,0,null,0,0,0,0]
["ISLISO2.1"," 2.1 General Service 0-10 kW",563.55999999999995,62.648148148148152,0,null,null,594.13266964366471,null,102.96252915392668,102.96252915392668,98.467364645153395,91.750312358290387,null,161.99437920217798,161.99437920217798,154.92198704170801,144.35382477704354,null,594.13266964366471,null,null,null,null,null,null,null,9.865469282006846E-2,9.4045368620037817E-2,0,null,9.8654692820068432E-2,9.8654692820068432E-2,null,5.6904400606980272E-2,5.6904400606980272E-2,5.6904400606980279E-2,5.6904400606980279E-2,null,6.8168688619295217E-2,6.8168688619295217E-2,6.8168688619295217E-2,6.8168688619295217E-2,null,9.865469282006846E-2,9.4045368620037817E-2,0,null,9.8654692820068432E-2,9.8654692820068432E-2,null,5.6904400606980272E-2,5.6904400606980272E-2,5.6904400606980279E-2,5.6904400606980279E-2,null,6.8168688619295217E-2,6.8168688619295217E-2,6.8168688619295217E-2,6.8168688619295217E-2,null,0,0,0,null,0,0,null,0,0,0,0,null,0,0,0,0]
["ISLISO2.2","2.2 General Service 10-100 kW",843.11,7,3304,null,null,888.84802878712162,null,214.16206064016748,214.16206064016748,204.81211846191906,190.840649705244,null,348.69976540129835,348.69976540129835,333.47614159825281,310.72772452007678,null,888.84802878712162,null,null,null,null,null,null,null,0.14759166382200284,1.0508173023462693E-2,1,null,0.14759166382200281,0.14759166382200281,null,0.11836115326251896,0.11836115326251896,0.11836115326251898,0.11836115326251898,null,0.146735990756788,0.146735990756788,0.146735990756788,0.146735990756788,null,0.14759166382200284,1.0508173023462693E-2,1,null,0.14759166382200281,0.14759166382200281,null,0.11836115326251896,0.11836115326251896,0.11836115326251898,0.11836115326251898,null,0.146735990756788,0.146735990756788,0.146735990756788,0.146735990756788,null,0,0,0,null,0,0,null,0,0,0,0,null,0,0,0,0]
["ISLISO2.3","2.3 General Service 110-1,000 kVA",0,0,0,null,null,0,null,0,0,0,0,null,0,0,0,0,null,0,null,null,null,null,null,null,null,0,0,0,null,0,0,null,0,0,0,0,null,0,0,0,0,null,0,0,0,null,0,0,null,0,0,0,0,null,0,0,0,0,null,0,0,0,null,0,0,null,0,0,0,0,null,0,0,0,0]
["ISLISO2.4"]
["ISLISO2.5","2.5 General Service Diesel",0,0,0,null,null,0,null,0,0,0,0,null,0,0,0,0,null,0,null,null,null,null,null,null,null,0,0,0,null,0,0,null,0,0,0,0,null,0,0,0,0,null,0,0,0,null,0,0,null,0,0,0,0,null,0,0,0,0,null,0,0,0,null,0,0,null,0,0,0,0,null,0,0,0,0]
["ISLISO2.5G","2.5G Government General Service Diesel",0,0,0,null,null,0,null,0,0,0,0,null,0,0,0,0,null,0,null,null,null,null,null,null,null,0,0,0,null,0,0,null,0,0,0,0,null,0,0,0,0,null,0,0,0,null,0,0,null,0,0,0,0,null,0,0,0,0,null,0,0,0,null,0,0,null,0,0,0,0,null,0,0,0,0]
["ISLISO4.1","4.1 Street and Area Lighting",33.72,34,0,null,null,35.549282455079094,null,10.982669776418847,10.982669776418847,10.503185562149696,9.7866999848843079,null,10.982669776418847,10.982669776418847,10.503185562149696,9.7866999848843079,null,35.549282455079094,null,null,null,null,null,null,null,5.9028963054381231E-3,5.1039697542533083E-2,0,null,5.9028963054381205E-3,5.9028963054381205E-3,null,6.0698027314112302E-3,6.0698027314112302E-3,6.0698027314112302E-3,6.0698027314112293E-3,null,4.621606008087812E-3,4.621606008087812E-3,4.6216060080878111E-3,4.6216060080878111E-3,null,5.9028963054381231E-3,5.1039697542533083E-2,0,null,5.9028963054381205E-3,5.9028963054381205E-3,null,6.0698027314112302E-3,6.0698027314112302E-3,6.0698027314112302E-3,6.0698027314112293E-3,null,4.621606008087812E-3,4.621606008087812E-3,4.6216060080878111E-3,4.6216060080878111E-3,null,0,0,0,null,0,0,null,0,0,0,0,null,0,0,0,0]
["ISLISO4.1G","4.1G Government Street Lighting",0,0,0,null,null,0,null,0,0,0,0,null,0,0,0,0,null,0,null,null,null,null,null,null,null,0,0,0,null,0,0,null,0,0,0,0,null,0,0,0,0,null,0,0,0,null,0,0,null,0,0,0,0,null,0,0,0,0,null,0,0,0,null,0,0,null,0,0,0,0,null,0,0,0,0]
[null,null,"-------------","-------------","-------------",null,null,"-------------",null,"-------------","-------------","-------------","-------------",null,"-------------","-------------","-------------","-------------",null,"-------------",null,null,null,null,null,null,null,"-------------","-------------","-------------",null,"-------------","-------------",null,"-------------","-------------","-------------","-------------",null,"-------------","-------------","-------------","-------------",null,"-------------","-------------","-------------",null,"-------------","-------------",null,"-------------","-------------","-------------","-------------",null,"-------------","-------------","-------------","-------------",null,"-------------","-------------","-------------",null,"-------------","-------------",null,"-------------","-------------","-------------","-------------",null,"-------------","-------------","-------------","-------------"]
["ISLISOTOT","    Total Rural",5712.4499999999989,666.14814814814815,3304,null,null,6022.3457461600419,null,1809.3948456650048,1809.3948456650048,1730.3998213641621,1612.3588225096896,null,2376.3751728726274,2376.3751728726274,2272.62677601014,2117.5972092293418,null,6022.3457461600419,null,null,null,null,null,null,null,1,1,1,null,1,1,null,1,1,1,1,null,1,1,1,1,null,1,1,1,null,1,1,null,1,1,1,1,null,1,1,1,1,null,0,0,0,null,0,0,null,0,0,0,0,null,0,0,0,0]
[null,null,"========","========","========",null,null,"========",null,"========","========","========","========",null,"========","========","========","========",null,"========",null,null,null,null,null,null,null,"========","========","========",null,"========","========",null,"========","========","========","========",null,"========","========","========","========",null,"========","========","========",null,"========","========",null,"========","========","========","========",null,"========","========","========","========",null,"========","========","========",null,"========","========",null,"========","========","========","========",null,"========","========","========","========"]
[null,"Zero check -->",0,0,null,null,null,0,null,0,0,0,0,null,0,0,0,0,null,0]
[]
[null,"LABRADOR ISOLATED"]
[]
["LABISO1.2","1.2 Domestic Diesel",23694.339973829337,2232.4166666666665,0,null,null,24737.064456650867,null,6194.074300852436,6194.074300852436,6024.6358327314074,5767.1303785001919,null,9709.7347801793658,9709.7347801793658,9444.1256661930111,9040.4641110368793,null,24737.064456650867,null,null,null,null,null,null,null,0.53672884658095599,0.74941160088076464,0,null,0.5367288465809561,0.5367288465809561,null,0.63932558669400763,0.63932558669400763,0.63932558669400774,0.63932558669400774,null,0.56786411078483634,0.56786411078483634,0.56786411078483634,0.56786411078483634,null,0.53672884658095599,0.74941160088076464,0,null,0.5367288465809561,0.5367288465809561,null,0.63932558669400763,0.63932558669400763,0.63932558669400774,0.63932558669400774,null,0.56786411078483634,0.56786411078483634,0.56786411078483634,0.56786411078483634,null,0,0,0,null,0,0,null,0,0,0,0,null,0,0,0,0]
["LABISO1.2G","1.2G Government Domestic Diesel",820.93420000000003,58.833333333333329,0,null,null,857.06131685875096,null,224.05507538721395,224.05507538721395,217.92606451255807,208.61145168131486,null,356.06740533540022,356.06740533540022,346.32720643278833,331.52446198795593,null,857.06131685875096,null,null,null,null,null,null,null,1.8595962865879723E-2,1.9750068693188245E-2,0,null,1.8595962865879723E-2,1.8595962865879723E-2,null,2.3125996810207338E-2,2.3125996810207338E-2,2.3125996810207342E-2,2.3125996810207338E-2,null,2.0824245469917541E-2,2.0824245469917541E-2,2.0824245469917544E-2,2.0824245469917544E-2,null,1.8595962865879723E-2,1.9750068693188245E-2,0,null,1.8595962865879723E-2,1.8595962865879723E-2,null,2.3125996810207338E-2,2.3125996810207338E-2,2.3125996810207342E-2,2.3125996810207338E-2,null,2.0824245469917541E-2,2.0824245469917541E-2,2.0824245469917544E-2,2.0824245469917544E-2,null,0,0,0,null,0,0,null,0,0,0,0,null,0,0,0,0]
["LABISO1.23","1.23 Churches & Schools",1465.2,49,0,null,null,1529.6795302978508,null,246.12946705097883,246.12946705097883,239.39661274039628,229.1643040637104,null,479.57418061778998,479.57418061778998,466.45546253862636,446.51818681034655,null,1529.6795302978508,null,null,null,null,null,null,null,3.318999840801732E-2,1.6449065710474064E-2,0,null,3.318999840801732E-2,3.318999840801732E-2,null,2.5404420141262242E-2,2.5404420141262242E-2,2.5404420141262249E-2,2.5404420141262245E-2,null,2.8047415485313292E-2,2.8047415485313292E-2,2.8047415485313296E-2,2.8047415485313296E-2,null,3.318999840801732E-2,1.6449065710474064E-2,0,null,3.318999840801732E-2,3.318999840801732E-2,null,2.5404420141262242E-2,2.5404420141262242E-2,2.5404420141262249E-2,2.5404420141262245E-2,null,2.8047415485313292E-2,2.8047415485313292E-2,2.8047415485313296E-2,2.8047415485313296E-2,null,0,0,0,null,0,0,null,0,0,0,0,null,0,0,0,0]
["LABISO2.1"," 2.1 General Service 0-10 kW",3653.355,386.84259259259261,0,null,null,3814.1293751100902,null,742.80327948568959,742.80327948568959,722.48394786675658,691.60348266761036,null,1429.5252288004262,1429.5252288004262,1390.4206664165083,1330.9911979442659,null,3814.1293751100902,null,null,null,null,null,null,null,8.2756515584167425E-2,0.12986120867685108,0,null,8.2756515584167412E-2,8.2756515584167412E-2,null,7.666894508999772E-2,7.666894508999772E-2,7.6668945089997734E-2,7.666894508999772E-2,null,8.3604350816495532E-2,8.3604350816495532E-2,8.3604350816495532E-2,8.3604350816495518E-2,null,8.2756515584167425E-2,0.12986120867685108,0,null,8.2756515584167412E-2,8.2756515584167412E-2,null,7.666894508999772E-2,7.666894508999772E-2,7.6668945089997734E-2,7.666894508999772E-2,null,8.3604350816495532E-2,8.3604350816495532E-2,8.3604350816495532E-2,8.3604350816495518E-2,null,0,0,0,null,0,0,null,0,0,0,0,null,0,0,0,0]
["LABISO2.2","2.2 General Service 10-100 kW",10170.4,121.79999999999998,39367.128504907232,null,null,10617.972082269491,null,1961.3096993255133,1961.3096993255133,1907.6582100434271,1826.1209341758449,null,3504.1762731716326,3504.1762731716326,3408.3197769603194,3262.6411074608063,null,10617.972082269491,null,null,null,null,null,null,null,0.23038189995147373,4.0887677623178381E-2,0.71024299550289505,null,0.23038189995147371,0.23038189995147371,null,0.20243791296422878,0.20243791296422878,0.20243791296422878,0.20243791296422875,null,0.20493823862830288,0.20493823862830288,0.20493823862830293,0.2049382386283029,null,0.23038189995147373,4.0887677623178381E-2,0.71024299550289505,null,0.23038189995147371,0.23038189995147371,null,0.20243791296422878,0.20243791296422878,0.20243791296422878,0.20243791296422875,null,0.20493823862830288,0.20493823862830288,0.20493823862830293,0.2049382386283029,null,0,0,0,null,0,0,null,0,0,0,0,null,0,0,0,0]
["LABISO2.3","2.3 General Service 110-1,000 kVA",2378.6,6,10422.646475096348,null,null,2483.2758195239335,null,155.62446122954267,155.62446122954267,151.36736500625955,144.89760929588866,null,739.72674982963224,739.72674982963224,719.4915764636894,688.73901143623311,null,2483.2758195239335,null,null,null,null,null,null,null,5.3880514751098819E-2,2.0141713114866198E-3,0.18804042699272216,null,5.3880514751098812E-2,5.3880514751098812E-2,null,1.6062884483937116E-2,1.6062884483937116E-2,1.6062884483937119E-2,1.6062884483937116E-2,null,4.3262177858168174E-2,4.3262177858168174E-2,4.3262177858168181E-2,4.3262177858168174E-2,null,5.3880514751098819E-2,2.0141713114866198E-3,0.18804042699272216,null,5.3880514751098812E-2,5.3880514751098812E-2,null,1.6062884483937116E-2,1.6062884483937116E-2,1.6062884483937119E-2,1.6062884483937116E-2,null,4.3262177858168174E-2,4.3262177858168174E-2,4.3262177858168181E-2,4.3262177858168174E-2,null,0,0,0,null,0,0,null,0,0,0,0,null,0,0,0,0]
["LABISO2.4","2.4 General Service over 1000 kVA",1788,1,5637.9149151046695,null,null,1866.6850943028644,null,118.09799540114231,118.09799540114231,114.86743301893453,109.9577602458162,null,833.44771870954344,833.44771870954344,810.64881481236603,776,null,1866.6850943028644,null,null,null,null,null,null,null,4.0502127459415074E-2,3.3569521858110331E-4,0.10171657750438272,null,4.0502127459415067E-2,4.0502127459415067E-2,null,1.2189564821143768E-2,1.2189564821143768E-2,1.2189564821143769E-2,1.2189564821143768E-2,null,4.8743354827442818E-2,4.8743354827442818E-2,4.8743354827442818E-2,4.8743354827442811E-2,null,4.0502127459415074E-2,3.3569521858110331E-4,0.10171657750438272,null,4.0502127459415067E-2,4.0502127459415067E-2,null,1.2189564821143768E-2,1.2189564821143768E-2,1.2189564821143769E-2,1.2189564821143768E-2,null,4.8743354827442818E-2,4.8743354827442818E-2,4.8743354827442818E-2,4.8743354827442811E-2,null,0,0,0,null,0,0,null,0,0,0,0,null,0,0,0,0]
["LABISO2.5","2.5 General Service Diesel",0,0,0,null,null,0,null,0,0,0,0,null,0,0,0,0,null,0,null,null,null,null,null,null,null,0,0,0,null,0,0,null,0,0,0,0,null,0,0,0,0,null,0,0,0,null,0,0,null,0,0,0,0,null,0,0,0,0,null,0,0,0,null,0,0,null,0,0,0,0,null,0,0,0,0]
["LABISO2.5G","2.5G Government General Service Diesel",0,0,0,null,null,0,null,0,0,0,0,null,0,0,0,0,null,0,null,null,null,null,null,null,null,0,0,0,null,0,0,null,0,0,0,0,null,0,0,0,0,null,0,0,0,null,0,0,null,0,0,0,0,null,0,0,0,0,null,0,0,0,null,0,0,null,0,0,0,0,null,0,0,0,0]
["LABISO4.1","4.1 Street and Area Lighting",175,123,0,null,null,182.70128160123113,null,46.35622249390633,46.35622249390633,45.088151278460288,43.160990003030662,null,46.44186813645107,46.44186813645107,45.171454090459385,43.240732279747938,null,182.70128160123113,null,null,null,null,null,null,null,3.9641343989919673E-3,4.1290511885475709E-2,0,null,3.9641343989919673E-3,3.9641343989919673E-3,null,4.7846889952153108E-3,4.7846889952153108E-3,4.7846889952153117E-3,4.7846889952153108E-3,null,2.7161061295234716E-3,2.7161061295234716E-3,2.7161061295234716E-3,2.7161061295234716E-3,null,3.9641343989919673E-3,4.1290511885475709E-2,0,null,3.9641343989919673E-3,3.9641343989919673E-3,null,4.7846889952153108E-3,4.7846889952153108E-3,4.7846889952153117E-3,4.7846889952153108E-3,null,2.7161061295234716E-3,2.7161061295234716E-3,2.7161061295234716E-3,2.7161061295234716E-3,null,0,0,0,null,0,0,null,0,0,0,0,null,0,0,0,0]
["LABISO4.1G","4.1G Government Street Lighting",0,0,0,null,null,0,null,0,0,0,0,null,0,0,0,0,null,0,null,null,null,null,null,null,null,0,0,0,null,0,0,null,0,0,0,0,null,0,0,0,0,null,0,0,0,null,0,0,null,0,0,0,0,null,0,0,0,0,null,0,0,0,null,0,0,null,0,0,0,0,null,0,0,0,0]
[null,null,"-------------","-------------","-------------",null,null,"-------------",null,"-------------","-------------","-------------","-------------",null,"-------------","-------------","-------------","-------------",null,"-------------",null,null,null,null,null,null,null,"-------------","-------------","-------------",null,"-------------","-------------",null,"-------------","-------------","-------------","-------------",null,"-------------","-------------","-------------","-------------",null,"-------------","-------------","-------------",null,"-------------","-------------",null,"-------------","-------------","-------------","-------------",null,"-------------","-------------","-------------","-------------",null,"-------------","-------------","-------------",null,"-------------","-------------",null,"-------------","-------------","-------------","-------------",null,"-------------","-------------","-------------","-------------"]
["LABISOTOT","    Total Rural",44145.829173829334,2978.8925925925928,55427.689895108255,null,null,46088.568956615076,null,9688.4505012264235,9688.4505012264235,9423.4236171981993,9020.646910633408,null,17098.69420478024,17098.69420478024,16630.960623907766,15920.118808956235,null,46088.568956615076,null,null,null,null,null,null,null,1,1,1,null,1,1,null,1,1,1,1,null,1,1,1,1,null,1,1,1,null,1,1,null,1,1,1,1,null,1,1,1,1,null,0,0,0,null,0,0,null,0,0,0,0,null,0,0,0,0]
[null,null,"========","========","========",null,null,"========",null,"========","========","========","========",null,"========","========","========","========",null,"========",null,null,null,null,null,null,null,"========","========","========",null,"========","========",null,"========","========","========","========",null,"========","========","========","========",null,"========","========","========",null,"========","========",null,"========","========","========","========",null,"========","========","========","========",null,"========","========","========",null,"========","========",null,"========","========","========","========",null,"========","========","========","========"]
[null,"Zero check -->",0,0,null,null,null,0,null,0,0,0,0,null,0,0,0,0,null,0]
[]
[null,"L'ANSE AU LOUP"]
[]
["LAL1.2","1.1 Domestic",4925.66,413.5,0,null,null,5336.8696252316158,null,1520.1251660742312,1520.1251660742312,1438.6032967232659,1318.0564490229144,null,1862.7763305581768,1862.7763305581768,1762.8786300010513,1615.1593371223419,null,5336.8696252316158,null,null,null,null,null,null,null,0.19731890554558074,0.36509838546922296,0,null,0.19731890554558074,0.19731890554558074,null,0.24898926256057802,0.24898926256057802,0.24898926256057799,0.24898926256057799,null,0.21803142697783881,0.21803142697783881,0.21803142697783878,0.21803142697783881,null,0.19731890554558074,0.36509838546922296,0,null,0.19731890554558074,0.19731890554558074,null,0.24898926256057802,0.24898926256057802,0.24898926256057799,0.24898926256057799,null,0.21803142697783881,0.21803142697783881,0.21803142697783878,0.21803142697783881,null,0,0,0,null,0,0,null,0,0,0,0,null,0,0,0,0]
["LAL1.12","1.12 Domestic All Electric ",11157.61,479,0,null,null,12089.082457818959,null,2898.205849416936,2898.205849416936,2742.7797280150135,2512.9502462518844,null,3928.6513513377467,3928.6513513377467,3717.9640939085716,3406.4196588272534,null,12089.082457818959,null,null,null,null,null,null,null,0.44696698385686939,0.42293138244197775,0,null,0.44696698385686939,0.44696698385686939,null,0.4747123153409053,0.4747123153409053,0.47471231534090524,0.4747123153409053,null,0.45983484231513433,0.45983484231513433,0.45983484231513422,0.45983484231513427,null,0.44696698385686939,0.42293138244197775,0,null,0.44696698385686939,0.44696698385686939,null,0.4747123153409053,0.4747123153409053,0.47471231534090524,0.4747123153409053,null,0.45983484231513433,0.45983484231513433,0.45983484231513422,0.45983484231513427,null,0,0,0,null,0,0,null,0,0,0,0,null,0,0,0,0]
["LAL2.1","2.1 General Service 0-10 kW",6468.49,195.5,23004,null,null,7008.4999374935451,null,1341.9465605425794,1341.9465605425794,1269.9801234188174,1163.5629472112121,null,2026.0028852759838,2026.0028852759838,1917.3516069442874,1756.6883492715237,null,7008.4999374935451,null,null,null,null,null,null,null,0.25912372500995473,0.17261604439959635,0.71507460195144124,null,0.25912372500995473,0.25912372500995473,null,0.21980445555552663,0.21980445555552663,0.21980445555552661,0.21980445555552663,null,0.23713652191703408,0.23713652191703408,0.23713652191703402,0.23713652191703408,null,0.25912372500995473,0.17261604439959635,0.71507460195144124,null,0.25912372500995473,0.25912372500995473,null,0.21980445555552663,0.21980445555552663,0.21980445555552661,0.21980445555552663,null,0.23713652191703408,0.23713652191703408,0.23713652191703402,0.23713652191703408,null,0,0,0,null,0,0,null,0,0,0,0,null,0,0,0,0]
["LAL2.2","2.2 General Service 10-100 kW",0,0,0,null,null,0,null,0,0,0,0,null,0,0,0,0,null,0,null,null,null,null,null,null,null,0,0,0,null,0,0,null,0,0,0,0,null,0,0,0,0,null,0,0,0,null,0,0,null,0,0,0,0,null,0,0,0,0,null,0,0,0,null,0,0,null,0,0,0,0,null,0,0,0,0]
["LAL2.3","2.3 General Service 110-1,000 kVA",2346.02,6.5714285714285712,9166.07,null,null,2541.873145565442,null,326.45310943561356,326.45310943561356,308.94595388647184,283.05802429836359,null,707.73040518865855,707.73040518865855,669.77596109738943,613.65251069263559,null,2541.873145565442,null,null,null,null,null,null,null,9.3980116124142421E-2,5.8022199798183644E-3,0.28492539804855882,null,9.3980116124142407E-2,9.3980116124142407E-2,null,5.3471464582681504E-2,5.3471464582681504E-2,5.3471464582681497E-2,5.3471464582681504E-2,null,8.2837358209640444E-2,8.2837358209640444E-2,8.283735820964043E-2,8.283735820964043E-2,null,9.3980116124142421E-2,5.8022199798183644E-3,0.28492539804855882,null,9.3980116124142407E-2,9.3980116124142407E-2,null,5.3471464582681504E-2,5.3471464582681504E-2,5.3471464582681497E-2,5.3471464582681504E-2,null,8.2837358209640444E-2,8.2837358209640444E-2,8.283735820964043E-2,8.283735820964043E-2,null,0,0,0,null,0,0,null,0,0,0,0,null,0,0,0,0]
["LAL4.1","4.1 Street and Area Lighting",65.16,38,0,null,null,70.599762220716016,null,18.452929444120386,18.452929444120386,17.463328497527872,16,null,18.452929444120386,18.452929444120386,17.463328497527872,16,null,70.599762220716016,null,null,null,null,null,null,null,2.6102694634526219E-3,3.3551967709384456E-2,0,null,2.6102694634526215E-3,2.6102694634526215E-3,null,3.0225019603086736E-3,3.0225019603086736E-3,3.0225019603086732E-3,3.0225019603086736E-3,null,2.1598505803524823E-3,2.1598505803524823E-3,2.1598505803524823E-3,2.1598505803524827E-3,null,2.6102694634526219E-3,3.3551967709384456E-2,0,null,2.6102694634526215E-3,2.6102694634526215E-3,null,3.0225019603086736E-3,3.0225019603086736E-3,3.0225019603086732E-3,3.0225019603086736E-3,null,2.1598505803524823E-3,2.1598505803524823E-3,2.1598505803524823E-3,2.1598505803524827E-3,null,0,0,0,null,0,0,null,0,0,0,0,null,0,0,0,0]
[null,null,"-------------","-------------","-------------",null,null,"-------------",null,"-------------","-------------","-------------","-------------",null,"-------------","-------------","-------------","-------------",null,"-------------",null,null,null,null,null,null,null,"-------------","-------------","-------------",null,"-------------","-------------",null,"-------------","-------------","-------------","-------------",null,"-------------","-------------","-------------","-------------",null,"-------------","-------------","-------------",null,"-------------","-------------",null,"-------------","-------------","-------------","-------------",null,"-------------","-------------","-------------","-------------",null,"-------------","-------------","-------------",null,"-------------","-------------",null,"-------------","-------------","-------------","-------------",null,"-------------","-------------","-------------","-------------"]
["LALTOT","    Total Rural",24962.940000000002,1132.5714285714287,32170.07,null,null,27046.924928330282,null,6105.1836149134797,6105.1836149134797,5777.7724305410966,5293.627666784374,null,8543.6139018046852,8543.6139018046852,8085.4336204488282,7407.919855913754,null,27046.924928330282,null,null,null,null,null,null,null,1,1,1,null,1,1,null,1,1,1,1,null,1,1,1,1,null,1,1,1,null,1,1,null,1,1,1,1,null,1,1,1,1,null,0,0,0,null,0,0,null,0,0,0,0,null,0,0,0,0]
[null,null,"========","========","========",null,null,"========",null,"========","========","========","========",null,"========","========","========","========",null,"========",null,null,null,null,null,null,null,"========","========","========",null,"========","========",null,"========","========","========","========",null,"========","========","========","========",null,"========","========","========",null,"========","========",null,"========","========","========","========",null,"========","========","========","========",null,"========","========","========",null,"========","========",null,"========","========","========","========",null,"========","========","========","========"]
[null,"Zero check -->",0,0,null,null,null,0,null,0,0,0,0,null,null,null,null,null,null,0]