## Summary (MAY-NOV)
Days Unavailable to Hydro (Excluding Portable Maintenance)
| 2021 | 2022 | 2023 | 2024 | 2025 | Average
Portable P1 | 170 | 54 | 96 | 108 | 56 | 96.8 | Average Usage | 2021 | 2022 | 2023 | 2024 | 2025 | Average |  |  |  | 4 Portable Substations + * 5 Portable 2030 - 2031
Portable P3 | 191 | 80 | 100 | 40 | 42 | 90.6 | Portable Maint | 0% | 1.519% | 4.673% | 7.477% | 8.645% | 4.463% |  |  |  | Year | Typical Usage | Transformer Replacement | Emergency Standby Spare | Max Capacity
Portable P4 | 196 | 95 | 141 | 150 | 49 | 126.2 | Capital | 64.25% | 33.64% | 42.29% | 20.91% | 17.99% | 35.82% |  |  |  | 2021 | 66.12% | 0% | 25% | 100%
Portable P5 | 0 | 136 | 214 | 0 | 196 | 109.2 | Others | 1.051% | 11.21% | 3.037% | 0% | 7.827% | 4.626% |  |  |  | 2022 | 55.37% | 0% | 25% | 100%
Total | 557 | 365 | 551 | 298 | 343 | 422.8 | Txfmr Maint | 0.8178% | 8.995% | 22.08% | 13.9% | 22.08% | 13.57% |  |  |  | 2023 | 72.08% | 0% | 25% | 100%
Percentage Unavailable | [7 empty] | 66.12% | 55.37% | 72.08% | 42.29% | 56.54% |  |  |  |  | 2024 | 42.29% | 0% | 25% | 100%
| 2021 | 2022 | 2023 | 2024 | 2025 | Average | 5-Year Average - Typical Substation Utilization |  |  |  |  | 58.48% |  |  |  |  | 2025 | 56.54% | 0% | 25% | 100%
P1 | 79.44% | 25.23% | 44.86% | 50.47% | 26.17% | 45.23% | [10 empty] | 2026F | 43.09% | 0% | 25% | 100%
P3 | 89.25% | 37.38% | 46.73% | 18.69% | 19.63% | 42.34% | [9 empty] | added 15 weeks (12.25%) to account for P4 maintenance | 2027F | 43.11% | 8.178% | 25% | 100%
P4 | 91.59% | 44.39% | 65.89% | 70.09% | 22.9% | 58.97% | [10 empty] | 2028F | 68.46% | 8.178% | 25% | 100%
P5 | 0% | 63.55% | 100% | 0% | 91.59% | 51.03% | Calculations | [9 empty] | 2029F | 47.2% | 16.36% | 25% | 100%
Notes: The values above do not include NP's annual portable substation maintenance (all portables for three to five weeks each). It was assumed that portables were available if there was no record of them being installed. | [6 empty] | Assume 10 weeks for each portable installation for the 3 transformer replacement. | [9 empty] | 2030F | 71.73% | 24.53% | 25% | 100%
[7 empty] | 4 Portable Substations | [9 empty] | 2030F* | 57.38% | 19.63% | 20% | 100%
[8 empty] | 3 Txfmr Replacements |  |  | 30 weeks | 30 | = | 24.59% | increase |  | 2031F | 71.73% | 24.53% | 25% | 100%
[8 empty] | Total Portable Capacity |  |  | (214/7) * 4 | 122 |  |  |  |  | 2031F* | 57.38% | 19.63% | 20% | 100%
Total Days in Use (Excluding Portable Maintenance) | [6 empty] | Notes (Condensed Typical Usage Category - 4 Portables)
| 2021 | 2022 | 2023 | 2024 | 2025 | Average | Typical Usage includes Portable Maintenance, Capital, Others and transformer Maintenance
Portable P1 | 179 | 150 | 122 | 108 | 84 | 128.6 | Forecasted Capital based on 5 year plan
Portable P3 | 191 | 80 | 100 | 40 | 42 | 90.6 | Others (NLH and MECL) based on 5-year historical
Portable P4 | 196 | 95 | 141 | 150 | 88 | 134 | Transformer Maintenance based on 5-year historical
Portable P5 | 0 | 136 | 214 | 0 | 196 | 109.2 | Transformer Replacements based on proposed projects 2026-2029 & forecasted averages for 2030 & 2031
Total | 566 | 461 | 577 | 298 | 410 | 462.4 | Emergency Standby Spare is based on keeping one of four portables available for
Percentage Unavailable
| 2021 | 2022 | 2023 | 2024 | 2025 | Average
P1 | 83.64% | 70.09% | 57.01% | 50.47% | 39.25% | 65.3%
P3 | 89.25% | 37.38% | 46.73% | 18.69% | 19.63% | 48.01%
P4 | 91.59% | 44.39% | 65.89% | 70.09% | 41.12% | 67.99%
P5 | 0% | 63.55% | 100% | 0% | 91.59% | 40.89%
Notes: The values above do not include NP's annual portable substation maintenance (all portables for three to five weeks each). It was assumed that portables were available if there was no record of them being installed.
DAYS Portables are in MAINTENANCE
| 2021 | 2022 | 2023 | 2024 | 2025 | Average
Portable P1 | 0 | 0 | 40 | 40 | 32 | 22.4
Portable P3 | 0 | 13 | 0 | 24 | 0 | 7.4
Portable P4 | 0 | 0 | 0 | 0 | 35 | 7
Portable P5 | 0 | 0 | 0 | 0 | 7 | 1.4
Total | 0 | 13 | 40 | 64 | 74 | 38.2
Percentage Unavailable
| 2021 | 2022 | 2023 | 2024 | 2025 | Average
P1 | 0% | 0% | 18.69% | 18.69% | 14.95% | 10.47%
P3 | 0% | 6.075% | 0% | 11.21% | 0% | 3.458%
P4 | 0% | 0% | 0% | 0% | 16.36% | 3.271%
P5 | 0% | 0% | 0% | 0% | 3.271% | 0.6542%
Notes: The values above do not include NP's annual portable substation maintenance (all portables for three to five weeks each). It was assumed that portables were available if there was no record of them being installed.
Total Days in Use Including Maintenance
| 2021 | 2022 | 2023 | 2024 | 2025 | Average
Portable P1 | 179 | 150 | 162 | 148 | 116 | 151
Portable P3 | 191 | 93 | 100 | 64 | 42 | 98
Portable P4 | 196 | 95 | 141 | 150 | 123 | 141
Portable P5 | 0 | 136 | 214 | 0 | 203 | 110.6
Total | 566 | 474 | 617 | 362 | 484 | 500.6
Percentage Unavailable
| 2021 | 2022 | 2023 | 2024 | 2025 | Average
P1 | 83.64% | 70.09% | 75.7% | 69.16% | 54.21% | 74.65%
P3 | 89.25% | 43.46% | 46.73% | 29.91% | 19.63% | 52.34%
P4 | 91.59% | 44.39% | 65.89% | 70.09% | 57.48% | 67.99%
P5 | 0% | 63.55% | 100% | 0% | 94.86% | 40.89%
Average | 66.12% | 55.37% | 72.08% | 42.29% | 56.54% | 58.97%
Notes: The values above do not include NP's annual portable substation maintenance (all portables for three to five weeks each). It was assumed that portables were available if there was no record of them being installed.

## Forecasted Portable Usage (MAY)
| Weeks | [5 empty] | Percentage of fleet (4 Portables) | [6 empty] | Percentage of fleet (5 Portables)
Site | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | Site | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | Site | 2026 | 2027 | 2028 | 2029 | 2030 | 2031
R&M 1 | 0 | [5 empty] | R&M 1 | 0% | 0% | 0% | 0% | 0% | 0% | R&M 1 | 0% | 0% | 0% | 0% | 0% | 0%
R&M 2 | 10 | [5 empty] | R&M 2 | 8.178% | 0% | 0% | 0% | 0% | 0% | R&M 2 | 8.178% | 0% | 0% | 0% | 0% | 0%
R&M 3 |  | 0 |  |  |  |  | R&M 3 | 0% | 0% | 0% | 0% | 0% | 0% | R&M 3 | 0% | 0% | 0% | 0% | 0% | 0%
R&M 4 |  | 10 |  |  |  |  | R&M 4 | 0% | 8.178% | 0% | 0% | 0% | 0% | R&M 4 | 0% | 8.178% | 0% | 0% | 0% | 0%
R&M 5 |  | 15 |  |  |  |  | R&M 5 | 0% | 12.27% | 0% | 0% | 0% | 0% | R&M 5 | 0% | 12.27% | 0% | 0% | 0% | 0%
R&M 6 |  | 0 |  |  |  |  | R&M 6 | 0% | 0% | 0% | 0% | 0% | 0% | R&M 6 | 0% | 0% | 0% | 0% | 0% | 0%
R&M 7 |  |  | 0 |  |  |  | R&M 7 | 0% | 0% | 0% | 0% | 0% | 0% | R&M 7 | 0% | 0% | 0% | 0% | 0% | 0%
R&M 8 |  |  | 28 |  |  |  | R&M 8 | 0% | 0% | 22.9% | 0% | 0% | 0% | R&M 8 | 0% | 0% | 22.9% | 0% | 0% | 0%
R&M 9 |  |  | 20 |  |  |  | R&M 9 | 0% | 0% | 16.36% | 0% | 0% | 0% | R&M 9 | 0% | 0% | 16.36% | 0% | 0% | 0%
R&M 10 |  |  | 8 |  |  |  | R&M 10 | 0% | 0% | 6.542% | 0% | 0% | 0% | R&M 10 | 0% | 0% | 6.542% | 0% | 0% | 0%
R&M 11 |  |  |  | 10 |  |  | R&M 11 | 0% | 0% | 0% | 8.178% | 0% | 0% | R&M 11 | 0% | 0% | 0% | 8.178% | 0% | 0%
R&M 12 |  |  |  | 0 |  |  | R&M 12 | 0% | 0% | 0% | 0% | 0% | 0% | R&M 12 | 0% | 0% | 0% | 0% | 0% | 0%
R&M 13 |  |  |  | 20 |  |  | R&M 13 | 0% | 0% | 0% | 16.36% | 0% | 0% | R&M 13 | 0% | 0% | 0% | 16.36% | 0% | 0%
R&M 14 |  |  |  | 0 |  |  | R&M 14 | 0% | 0% | 0% | 0% | 0% | 0% | R&M 14 | 0% | 0% | 0% | 0% | 0% | 0%
R&M 15 |  |  |  |  | 30 |  | R&M 15 | 0% | 0% | 0% | 0% | 24.53% | 0% | R&M 15 | 0% | 0% | 0% | 0% | 19.63% | 0%
R&M 16 |  |  |  |  | 0 |  | R&M 16 | 0% | 0% | 0% | 0% | 0% | 0% | R&M 16 | 0% | 0% | 0% | 0% | 0% | 0%
R&M 17 |  |  |  |  | 30 |  | R&M 17 | 0% | 0% | 0% | 0% | 24.53% | 0% | R&M 17 | 0% | 0% | 0% | 0% | 19.63% | 0%
R&M 18 |  |  |  |  | 0 |  | R&M 18 | 0% | 0% | 0% | 0% | 0% | 0% | R&M 18 | 0% | 0% | 0% | 0% | 0% | 0%
R&M 19 |  |  |  |  | 0 |  | R&M 19 | 0% | 0% | 0% | 0% | 0% | 0% | R&M 19 | 0% | 0% | 0% | 0% | 0% | 0%
R&M 20 | [5 empty] | 30 | R&M 20 | 0% | 0% | 0% | 0% | 0% | 24.53% | R&M 20 | 0% | 0% | 0% | 0% | 0% | 19.63%
R&M 21 | [5 empty] | 0 | R&M 21 | 0% | 0% | 0% | 0% | 0% | 0% | R&M 21 | 0% | 0% | 0% | 0% | 0% | 0%
R&M 22 | [5 empty] | 0 | R&M 22 | 0% | 0% | 0% | 0% | 0% | 0% | R&M 22 | 0% | 0% | 0% | 0% | 0% | 0%
R&M 23 | [5 empty] | 0 | R&M 23 | 0% | 0% | 0% | 0% | 0% | 0% | R&M 23 | 0% | 0% | 0% | 0% | 0% | 0%
R&M 24 | [5 empty] | 30 | R&M 24 | 0% | 0% | 0% | 0% | 0% | 24.53% | R&M 24 | 0% | 0% | 0% | 0% | 0% | 19.63%
[7 empty] | Total | 8.178% | 20.44% | 45.79% | 24.53% | 49.07% | 49.07% | Total | 8.178% | 20.44% | 45.79% | 24.53% | 39.25% | 39.25%
| Weeks | [5 empty] | Percentage of fleet | [6 empty] | Percentage of fleet
Site | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | Site | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | Site | 2026 | 2027 | 2028 | 2029 | 2030 | 2031
Transformer Replacement 1 |  | 0 |  |  |  |  | Transformer Replacement 1 | 0% | 0% | 0% | 0% | 0% | 0% | Transformer Replacement 1 | 0% | 0% | 0% | 0% | 0% | 0%
Transformer Replacement 2 |  | 10 |  |  |  |  | Transformer Replacement 2 | 0% | 8.178% | 0% | 0% | 0% | 0% | Transformer Replacement 2 | 0% | 8.178% | 0% | 0% | 0% | 0%
Transformer Replacement 3 |  |  | 0 |  |  |  | Transformer Replacement 3 | 0% | 0% | 0% | 0% | 0% | 0% | Transformer Replacement 3 | 0% | 0% | 0% | 0% | 0% | 0%
Transformer Replacement 4 |  |  | 0 |  |  |  | Transformer Replacement 4 | 0% | 0% | 0% | 0% | 0% | 0% | Transformer Replacement 4 | 0% | 0% | 0% | 0% | 0% | 0%
Transformer Replacement 5 |  |  | 10 |  |  |  | Transformer Replacement 5 | 0% | 0% | 8.178% | 0% | 0% | 0% | Transformer Replacement 5 | 0% | 0% | 8.178% | 0% | 0% | 0%
Transformer Replacement 6 |  |  |  | 0 |  |  | Transformer Replacement 6 | 0% | 0% | 0% | 0% | 0% | 0% | Transformer Replacement 6 | 0% | 0% | 0% | 0% | 0% | 0%
Transformer Replacement 7 |  |  |  | 10 |  |  | Transformer Replacement 7 | 0% | 0% | 0% | 8.178% | 0% | 0% | Transformer Replacement 7 | 0% | 0% | 0% | 8.178% | 0% | 0%
Transformer Replacement 8 |  |  |  | 10 |  |  | Transformer Replacement 8 | 0% | 0% | 0% | 8.178% | 0% | 0% | Transformer Replacement 8 | 0% | 0% | 0% | 8.178% | 0% | 0%
Transformer Replacement 9 |  |  |  |  | 10 |  | Transformer Replacement 9 | 0% | 0% | 0% | 0% | 8.178% | 0% | Transformer Replacement 9 | 0% | 0% | 0% | 0% | 6.542% | 0%
Transformer Replacement 10 |  |  |  |  | 10 |  | Transformer Replacement 10 | 0% | 0% | 0% | 0% | 8.178% | 0% | Transformer Replacement 10 | 0% | 0% | 0% | 0% | 6.542% | 0%
Transformer Replacement 11 |  |  |  |  | 10 |  | Transformer Replacement 11 | 0% | 0% | 0% | 0% | 8.178% | 0% | Transformer Replacement 11 | 0% | 0% | 0% | 0% | 6.542% | 0%
Transformer Replacement 12 | [5 empty] | 10 | Transformer Replacement 12 | 0% | 0% | 0% | 0% | 0% | 8.178% | Transformer Replacement 12 | 0% | 0% | 0% | 0% | 0% | 6.542%
Transformer Replacement 13 | [5 empty] | 10 | Transformer Replacement 13 | 0% | 0% | 0% | 0% | 0% | 8.178% | Transformer Replacement 13 | 0% | 0% | 0% | 0% | 0% | 6.542%
Transformer Replacement 14 | [5 empty] | 10 | Transformer Replacement 14 | 0% | 0% | 0% | 0% | 0% | 8.178% | Transformer Replacement 14 | 0% | 0% | 0% | 0% | 0% | 6.542%
[7 empty] | 4 Portable Substations - Forecasted Fleet Usage | [6 empty] | 5 Portable Substations (2030 & 2031) - Forecasted Fleet Usage
[7 empty] | Total | 0% | 8.178% | 8.178% | 16.36% | 24.53% | 24.53% | Total | 0% | 8.178% | 8.178% | 16.36% | 19.63% | 19.63%

## Usage Type Data (MAY-NOV)
|  | January |  |  |  | February |  |  |  | March |  |  |  |  | April |  |  |  | May |  |  |  | June |  |  |  |  | July |  |  |  | August |  |  |  | September |  |  |  |  | October |  |  |  | November |  |  |  | December
|  | 6 | 13 | 20 | 27 | 3 | 10 | 17 | 24 | 3 | 10 | 17 | 24 | 31 | 7 | 14 | 21 | 28 | 5 | 12 | 19 | 26 | 2 | 9 | 17 | 24 | 1 | 8 | 15 | 22 | 29 | 5 | 12 | 19 | 26 | 2 | 9 | 16 | 23 | 30 | 7 | 14 | 21 | 28 | 4 | 11 | 18 | 25 | 2 | 9 | 16 | 23 | 30 |  | WEEKS
2025 Project Schedule | [53 empty] | Year | Spare (S) | Portable Maintenance (M) | Portable Substation Repairs (R) | Transformer Maintenance (T) | Capital (C) | Others (O) | Emergency (E) | Multipurpose (T/C) | Sum Excluding maintenance and spare
[54 empty] | 2025 | 51 | 12 | 0 | 27 | 24 | 10 | 0 | 0 | 61 | 49.88%
Portable Schedule | P1 | S | S | S | S | S | S | S | S | S | S | M | M | M | M | M | M | M | M | M | M | M | S | S | S | S | S | S | T | T | T | T | T | T | O | O | O | O | S | S | S | S | S | S | S | S | T | T | T | T | S | S | S | 2024 | 71 | 11 | 0 | 17 | 19 | 0 | 6 | 0 | 42 | 34.35%
| P3 | S | M | M | M | M | M | M | M | M | M | S | S | S | S | S | S | T | T | T | T | T | T | S | S | S | S | S | S | S | S | S | S | S | S | S | S | S | S | S | S | T | T | T | T | T | T | S | S | S | S | S | S | 2023 | 35 | 6 | 0 | 27 | 53 | 3 | 0 | 0 | 83 | 67.87%
| P4 | S | S | S | S | S | S | O | O | O | O | O | O | O | O | O | O | O | O | O | O | O | O | S | S | S | S | S | S | S | S | S | S | S | T | T | T | T | T | T | T | M | M | M | M | M | M | S | S | S | S | S | S | 2022 | 53 | 3 | 0 | 11 | 31 | 14 | 0 | 12 | 68 | 55.61%
| P5 | S | S | S | S | S | S | S | S | S | S | S | S | S | S | S | S | S | S | C | C | C | C | C | C | C | C | C | C | C | C | C | C | C | C | C | C | C | C | C | C | C | C | S | S | S | S | M | M | M | M | M | M | 2021 | 42 | 29 | 13 | 1 | 25 | 1 | 0 | 13 | 40 | 32.71%
[54 empty] | Total | 252 | 61 | 13 | 83 | 152 | 28 | 6 | 25 | 294
[54 empty] | Percentage |  |  |  | 28.23% | 51.7% | 9.524% | 2.041% | 8.503%
2024 Project Schedule
Portable Schedule | P1 | S | S | S | S | S | S | S | S | S | S | S | S | S | S | S | S | S | S | S | S | S | M | M | M | M | M | M | T | T | T | T | E | E | E | E | E | E | S | S | S | S | S | C | C | C | C | C | C | S | S | S | S
| P3 | S | S | O | O | O | O | O | O | O | O | O | O | O | O | O | M | M | M | M | M | M | S | S | S | S | S | S | S | S | S | T | T | T | T | T | T | S | S | S | S | S | S | S | S | S | S | S | S | S | S | S | S | Year | Spare (S) | Portable Maintenance (M) | Portable Substation Repairs (R) | Transformer Maintenance (T) | Capital (C) | Others (O) | Emergency (E) | Multipurpose (T/C) | Sum Excluding maintenance and spare
| P4 | S | S | M | M | M | M | M | M | M | S | S | S | S | S | S | S | S | S | S | T | T | T | T | T | T | T | C | C | C | C | S | S | S | S | S | S | S | C | C | C | C | C | C | C | C | C | C | C | S | S | S | S | 2025 | 41.71% | 9.813% | 0% | 22.08% | 19.63% | 8.178% | 0% | 0% | 49.88%
| P5 | [52 empty] | 2024 | 58.06% | 8.995% | 0% | 13.9% | 15.54% | 0% | 4.907% | 0% | 34.35% | bar: S S S to S S S
[54 empty] | 2023 | 28.62% | 4.907% | 0% | 22.08% | 43.34% | 2.453% | 0% | 0% | 67.87%
[54 empty] | 2022 | 43.34% | 2.453% | 0% | 8.995% | 25.35% | 11.45% | 0% | 9.813% | 55.61%
[54 empty] | 2021 | 34.35% | 23.71% | 10.63% | 0.8178% | 20.44% | 0.8178% | 0% | 10.63% | 32.71%
[54 empty] | Total | 252 | 61 | 13 | 83 | 152 | 28 | 6 | 25 | 294
2023 Project Schedule
Portable Schedule | P1 | S | S | S | S | S | S | S | S | C | C | C | C | C | C | C | C | S | S | S | T | T | T | T | T | T | T | T | T | T | T | T | T | T | S | S | S | S | M | M | M | M | M | M | O | O | O | S | S | S | S | S | S
| P3 | S | S | S | S | S | S | S | E | E | E | E | E | E | E | E | E | S | S | S | S | S | S | T | T | T | T | T | T | T | C | C | C | C | C | S | S | S | S | S | S | S | S | S | S | S | S | C | C | C | C | C | S
| P4 | M | M | M | M | M | M | M | M | M | S | S | S | S | S | S | T | T | T | T | T | T | T | S | S | S | S | S | S | S | C | C | C | C | C | C | C | C | C | C | C | C | C | S | S | C | C | C | S | S | S | S | S
| P5 | S | S | S | S | S | S | S | S | M | M | M | M | M | M | S | S | C | C | C | C | C | C | C | C | C | C | C | C | C | C | C | C | C | C | C | C | C | C | C | C | C | C | C | C | C | C | C | C | C | C | C | C
2022 Project Schedule
Portable Schedule | P1 | S | S | S | S | S | M | M | M | M | M | M | S | S | S | S | S | S | T | T | T | T | T | O | O | O | O | O | O | O | O | O | S | S | S | S | C | C | C | S | S | S | O | O | O | O | O | S | S | S | S | S | S
| P3 | O | O | O | O | O | O | O | O | O | O | O | O | O | M | M | M | M | M | M | S | S | S | S | S | T/C | T/C | T/C | T/C | T/C | T/C | S | S | T | T | T | T | T | T | S | S | S | S | S | S | S | S | S | S | S | S | S | S
| P4 | M | M | M | M | M | S | S | S | S | S | S | S | S | S | S | S | C | C | C | C | C | C | C | C | C | S | S | S | S | S | S | S | S | S | S | S | S | S | S | T/C | T/C | T/C | T/C | T/C | T/C | S | S | S | S | S | S | S
| P5 | S | S | S | S | S | S | S | M | M | M | M | M | M | S | S | S | S | S | S | S | S | S | S | S | S | S | S | S | C | C | C | C | C | C | C | C | C | C | C | C | C | C | C | C | C | C | C | C | C | C | C | C
2021 Project Schedule
Portable Schedule | P1 | S | S | S | S | S | S | S | S | S | S | M | M | M | M | M | M | S | C | C | C | C | C | C | C | C | C | C | S | S | S | S | C | C | C | C | C | C | C | C | C | C | C | C | C | C | C | O | O | O | O | S | S
| P3 | O | O | S | S | S | S | S | S | S | S | S | S | S | S | S | S | S | S | S | S | T/C | T/C | T/C | T/C | T/C | T/C | T/C | T/C | T/C | T/C | T/C | T/C | T/C | R | R | R | R | R | R | R | R | R | R | R | R | R | T | T | T | T | S | S
P4 | bar: S to S
P5 | bar: S to S

## Unavailability Data
*DATA PULLED FROM USAGE TYPE DATA (MAY-NOV) SHEET
2021-01-01
| Jan | [30 empty] | Feb | [27 empty] | Mar | [30 empty] | Apr | [29 empty] | May | [30 empty] | Jun | [29 empty] | Jul | [30 empty] | Aug | [30 empty] | Sep | [29 empty] | Oct | [30 empty] | Nov | [29 empty] | Dec
U = Unavailable | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri
Assigned to: | time axis 2021-01-01 to 2021-12-31
P1 | [73 empty] | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | [9 empty] | U | U | U | U | U | U | U | U | U | U | U | U | U | U | U | U | U | U | U | U | U | U | U | U | U | U | U | U | U | U | U | U | U | U | U | U | U | U | U | U | U | U | U | U | U | U | U | U | U | U | U | U | U | U | U | U | U | U | U | U | U | U | U | U | U | U | U | [31 empty] | U | U | U | U | U | U | U | U | U | U | U | U | U | U | U | U | U | U | U | U | U | U | U | U | U | U | U | U | U | U | U | U | U | U | U | U | U | U | U | U | U | U | U | U | U | U | U | U | U | U | U | U | U | U | U | U | U | U | U | U | U | U | U | U | U | U | U | U | U | U | U | U | U | U | U | U | U | U | U | U | U | U | U | U | U | U | U | U | U | U | U | U | U | U | U | U | U | U | U | U | U | U | U |  |  | H | H | H | H | H | H | H | H | H | H | H | H | H | H | H | H | H | H | H | H | H | H | H | H | H | H | [14 empty] | YEAR END
P3 | [365 empty] | YEAR END | bar: 2021-01-04 to 2021-03-31; 2021-05-24 to 2021-12-17
P4 | [365 empty] | YEAR END | bar: 2021-01-18 to 2021-02-19; 2021-03-22 to 2021-11-12
P5 | [365 empty] | YEAR END | bar: 2021-02-22 to 2021-03-26
2022-01-01
| Jan | [30 empty] | Feb | [27 empty] | Mar | [30 empty] | Apr | [29 empty] | May | [30 empty] | Jun | [29 empty] | Jul | [30 empty] | Aug | [30 empty] | Sep | [29 empty] | Oct | [30 empty] | Nov | [29 empty] | Dec
U = Unavailable | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat
Assigned to: | time axis 2022-01-01 to 2022-12-31
P1 | 2022-02-07: M; 2022-02-08: M; 2022-02-09: M; 2022-02-10: M; 2022-02-11: M; 2022-02-12: M; 2022-02-13: M; 2022-02-14: M; 2022-02-15: M; 2022-02-16: M; 2022-02-17: M; 2022-02-18: M; 2022-02-19: M; 2022-02-20: M; 2022-02-21: M; 2022-02-22: M; 2022-02-23: M; 2022-02-24: M; 2022-02-25: M; 2022-02-26: M; 2022-02-27: M; 2022-02-28: M; 2022-03-01: M; 2022-03-02: M; 2022-03-03: M; 2022-03-04: M; 2022-03-05: M; 2022-03-06: M; 2022-03-07: M; 2022-03-08: M; 2022-03-09: M; 2022-03-10: M; 2022-03-11: M; 2022-03-12: M; 2022-03-13: M; 2022-03-14: M; 2022-03-15: M; 2022-03-16: M; 2022-03-17: M; 2022-03-18: M; 2022-05-02: U; 2022-05-03: U; 2022-05-04: U; 2022-05-05: U; 2022-05-06: U; 2022-05-07: U; 2022-05-08: U; 2022-05-09: U; 2022-05-10: U; 2022-05-11: U; 2022-05-12: U; 2022-05-13: U; 2022-05-14: U; 2022-05-15: U; 2022-05-16: U; 2022-05-17: U; 2022-05-18: U; 2022-05-19: U; 2022-05-20: U; 2022-05-21: U; 2022-05-22: U; 2022-05-23: U; 2022-05-24: U; 2022-05-25: U; 2022-05-26: U; 2022-05-27: U; 2022-05-28: U; 2022-05-29: U; 2022-05-30: U; 2022-05-31: U; 2022-06-01: U; 2022-06-02: U; 2022-06-03: U; 2022-06-04: U; 2022-06-05: U; 2022-06-06: H; 2022-06-07: H; 2022-06-08: H; 2022-06-09: H; 2022-06-10: H; 2022-06-11: H; 2022-06-12: H; 2022-06-13: H; 2022-06-14: H; 2022-06-15: H; 2022-06-16: H; 2022-06-17: H; 2022-06-18: H; 2022-06-19: H; 2022-06-20: H; 2022-06-21: H; 2022-06-22: H; 2022-06-23: H; 2022-06-24: H; 2022-06-25: H; 2022-06-26: H; 2022-06-27: H; 2022-06-28: H; 2022-06-29: H; 2022-06-30: H; 2022-07-01: H; 2022-07-02: H; 2022-07-03: H; 2022-07-04: H; 2022-07-05: H; 2022-07-06: H; 2022-07-07: H; 2022-07-08: H; 2022-07-09: H; 2022-07-10: H; 2022-07-11: H; 2022-07-12: H; 2022-07-13: H; 2022-07-14: H; 2022-07-15: H; 2022-07-16: H; 2022-07-17: H; 2022-07-18: H; 2022-07-19: H; 2022-07-20: H; 2022-07-21: H; 2022-07-22: H; 2022-07-23: H; 2022-07-24: H; 2022-07-25: H; 2022-07-26: H; 2022-07-27: H; 2022-07-28: H; 2022-07-29: H; 2022-07-30: H; 2022-07-31: H; 2022-08-01: H; 2022-08-02: H; 2022-08-03: H; 2022-08-04: H; 2022-08-05: H; 2022-08-06: H; 2022-08-07: H; 2022-09-05: U; 2022-09-06: U; 2022-09-07: U; 2022-09-08: U; 2022-09-09: U; 2022-09-10: U; 2022-09-11: U; 2022-09-12: U; 2022-09-13: U; 2022-09-14: U; 2022-09-15: U; 2022-09-16: U; 2022-09-17: U; 2022-09-18: U; 2022-09-19: U; 2022-09-20: U; 2022-09-21: U; 2022-09-22: U; 2022-09-23: U; 2022-10-17: H; 2022-10-18: H; 2022-10-19: H; 2022-10-20: H; 2022-10-21: H; 2022-10-22: H; 2022-10-23: H; 2022-10-24: H; 2022-10-25: H; 2022-10-26: H; 2022-10-27: H; 2022-10-28: H; 2022-10-29: H; 2022-10-30: H; 2022-10-31: H; 2022-11-01: H; 2022-11-02: H; 2022-11-03: H; 2022-11-04: H; 2022-11-05: H; 2022-11-06: H; 2022-11-07: H; 2022-11-08: H; 2022-11-09: H; 2022-11-10: H; 2022-11-11: H; 2022-11-12: H; 2022-11-13: H; 2022-11-14: H; 2022-11-15: H; 2022-11-16: H; 2022-11-17: H; 2022-11-18: H | YEAR END
P3 | 2022-01-03: H; 2022-01-04: H; 2022-01-05: H; 2022-01-06: H; 2022-01-07: H; 2022-01-08: H; 2022-01-09: H; 2022-01-10: H; 2022-01-11: H; 2022-01-12: H; 2022-01-13: H; 2022-01-14: H; 2022-01-15: H; 2022-01-16: H; 2022-01-17: H; 2022-01-18: H; 2022-01-19: H; 2022-01-20: H; 2022-01-21: H; 2022-01-22: H; 2022-01-23: H; 2022-01-24: H; 2022-01-25: H; 2022-01-26: H; 2022-01-27: H; 2022-01-28: H; 2022-01-29: H; 2022-01-30: H; 2022-01-31: H; 2022-02-01: H; 2022-02-02: H; 2022-02-03: H; 2022-02-04: H; 2022-02-05: H; 2022-02-06: H; 2022-02-07: H; 2022-02-08: H; 2022-02-09: H; 2022-02-10: H; 2022-02-11: H; 2022-02-12: H; 2022-02-13: H; 2022-02-14: H; 2022-02-15: H; 2022-02-16: H; 2022-02-17: H; 2022-02-18: H; 2022-02-19: H; 2022-02-20: H; 2022-02-21: H; 2022-02-22: H; 2022-02-23: H; 2022-02-24: H; 2022-02-25: H; 2022-02-26: H; 2022-02-27: H; 2022-02-28: H; 2022-03-01: H; 2022-03-02: H; 2022-03-03: H; 2022-03-04: H; 2022-03-05: H; 2022-03-06: H; 2022-03-07: H; 2022-03-08: H; 2022-03-09: H; 2022-03-10: H; 2022-03-11: H; 2022-03-12: H; 2022-03-13: H; 2022-03-14: H; 2022-03-15: H; 2022-03-16: H; 2022-03-17: H; 2022-03-18: H; 2022-03-19: H; 2022-03-20: H; 2022-03-21: H; 2022-03-22: H; 2022-03-23: H; 2022-03-24: H; 2022-03-25: H; 2022-03-26: H; 2022-03-27: H; 2022-03-28: H; 2022-03-29: H; 2022-03-30: H; 2022-03-31: H; 2022-04-01: H; 2022-04-02: M; 2022-04-03: M; 2022-04-04: M; 2022-04-05: M; 2022-04-06: M; 2022-04-07: M; 2022-04-08: M; 2022-04-09: M; 2022-04-10: M; 2022-04-11: M; 2022-04-12: M; 2022-04-13: M; 2022-04-14: M; 2022-04-15: M; 2022-04-16: M; 2022-04-17: M; 2022-04-18: M; 2022-04-19: M; 2022-04-20: M; 2022-04-21: M; 2022-04-22: M; 2022-04-23: M; 2022-04-24: M; 2022-04-25: M; 2022-04-26: M; 2022-04-27: M; 2022-04-28: M; 2022-04-29: M; 2022-04-30: M; 2022-05-01: M; 2022-05-02: M; 2022-05-03: M; 2022-05-04: M; 2022-05-05: M; 2022-05-06: M; 2022-05-07: M; 2022-05-08: M; 2022-05-09: M; 2022-05-10: M; 2022-05-11: M; 2022-05-12: M; 2022-05-13: M; 2022-06-20: U; 2022-06-21: U; 2022-06-22: U; 2022-06-23: U; 2022-06-24: U; 2022-06-25: U; 2022-06-26: U; 2022-06-27: U; 2022-06-28: U; 2022-06-29: U; 2022-06-30: U; 2022-07-01: U; 2022-07-02: U; 2022-07-03: U; 2022-07-04: U; 2022-07-05: U; 2022-07-06: U; 2022-07-07: U; 2022-07-08: U; 2022-07-09: U; 2022-07-10: U; 2022-07-11: U; 2022-07-12: U; 2022-07-13: U; 2022-07-14: U; 2022-07-15: U; 2022-07-16: U; 2022-07-17: U; 2022-07-18: U; 2022-07-19: U; 2022-07-20: U; 2022-07-21: U; 2022-07-22: U; 2022-07-23: U; 2022-07-24: U; 2022-07-25: U; 2022-07-26: U; 2022-07-27: U; 2022-07-28: U; 2022-07-29: U; 2022-08-15: U; 2022-08-16: U; 2022-08-17: U; 2022-08-18: U; 2022-08-19: U; 2022-08-20: U; 2022-08-21: U; 2022-08-22: U; 2022-08-23: U; 2022-08-24: U; 2022-08-25: U; 2022-08-26: U; 2022-08-27: U; 2022-08-28: U; 2022-08-29: U; 2022-08-30: U; 2022-08-31: U; 2022-09-01: U; 2022-09-02: U; 2022-09-03: U; 2022-09-04: U; 2022-09-05: U; 2022-09-06: U; 2022-09-07: U; 2022-09-08: U; 2022-09-09: U; 2022-09-10: U; 2022-09-11: U; 2022-09-12: U; 2022-09-13: U; 2022-09-14: U; 2022-09-15: U; 2022-09-16: U; 2022-09-17: U; 2022-09-18: U; 2022-09-19: U; 2022-09-20: U; 2022-09-21: U; 2022-09-22: U; 2022-09-23: U | YEAR END
P4 | [365 empty] | YEAR END | bar: 2022-01-03 to 2022-02-04; 2022-04-25 to 2022-06-24; 2022-10-03 to 2022-11-11
P5 | [365 empty] | YEAR END | bar: 2022-02-21 to 2022-04-01; 2022-07-18 to 2022-12-31
2023-01-01
| Jan | [30 empty] | Feb | [27 empty] | Mar | [30 empty] | Apr | [29 empty] | May | [30 empty] | Jun | [29 empty] | Jul | [30 empty] | Aug | [30 empty] | Sep | [29 empty] | Oct | [30 empty] | Nov | [29 empty] | Dec
U = Unavailable | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun
Assigned to: | time axis 2023-01-01 to 2023-12-31
P1 | 2023-02-27: U; 2023-02-28: U; 2023-03-01: U; 2023-03-02: U; 2023-03-03: U; 2023-03-04: U; 2023-03-05: U; 2023-03-06: U; 2023-03-07: U; 2023-03-08: U; 2023-03-09: U; 2023-03-10: U; 2023-03-11: U; 2023-03-12: U; 2023-03-13: U; 2023-03-14: U; 2023-03-15: U; 2023-03-16: U; 2023-03-17: U; 2023-03-18: U; 2023-03-19: U; 2023-03-20: U; 2023-03-21: U; 2023-03-22: U; 2023-03-23: U; 2023-03-24: U; 2023-03-25: U; 2023-03-26: U; 2023-03-27: U; 2023-03-28: U; 2023-03-29: U; 2023-03-30: U; 2023-03-31: U; 2023-04-01: U; 2023-04-02: U; 2023-04-03: U; 2023-04-04: U; 2023-04-05: U; 2023-04-06: U; 2023-04-07: U; 2023-04-08: U; 2023-04-09: U; 2023-04-10: U; 2023-04-11: U; 2023-04-12: U; 2023-04-13: U; 2023-04-14: U; 2023-04-15: U; 2023-04-16: U; 2023-04-17: U; 2023-04-18: U; 2023-04-19: U; 2023-04-20: U; 2023-04-21: U; 2023-05-15: U; 2023-05-16: U; 2023-05-17: U; 2023-05-18: U; 2023-05-19: U; 2023-05-20: U; 2023-05-21: U; 2023-05-22: U; 2023-05-23: U; 2023-05-24: U; 2023-05-25: U; 2023-05-26: U; 2023-05-27: U; 2023-05-28: U; 2023-05-29: U; 2023-05-30: U; 2023-05-31: U; 2023-06-01: U; 2023-06-02: U; 2023-06-03: U; 2023-06-04: U; 2023-06-05: U; 2023-06-06: U; 2023-06-07: U; 2023-06-08: U; 2023-06-09: U; 2023-06-10: U; 2023-06-11: U; 2023-06-12: U; 2023-06-13: U; 2023-06-14: U; 2023-06-15: U; 2023-06-16: U; 2023-06-17: U; 2023-06-18: U; 2023-06-19: U; 2023-06-20: U; 2023-06-21: U; 2023-06-22: U; 2023-06-23: U; 2023-06-24: U; 2023-06-25: U; 2023-06-26: U; 2023-06-27: U; 2023-06-28: U; 2023-06-29: U; 2023-06-30: U; 2023-07-01: U; 2023-07-02: U; 2023-07-03: U; 2023-07-04: U; 2023-07-05: U; 2023-07-06: U; 2023-07-07: U; 2023-07-08: U; 2023-07-09: U; 2023-07-10: U; 2023-07-11: U; 2023-07-12: U; 2023-07-13: U; 2023-07-14: U; 2023-07-15: U; 2023-07-16: U; 2023-07-17: U; 2023-07-18: U; 2023-07-19: U; 2023-07-20: U; 2023-07-21: U; 2023-07-22: U; 2023-07-23: U; 2023-07-24: U; 2023-07-25: U; 2023-07-26: U; 2023-07-27: U; 2023-07-28: U; 2023-07-29: U; 2023-07-30: U; 2023-07-31: U; 2023-08-01: U; 2023-08-02: U; 2023-08-03: U; 2023-08-04: U; 2023-08-05: U; 2023-08-06: U; 2023-08-07: U; 2023-08-08: U; 2023-08-09: U; 2023-08-10: U; 2023-08-11: U; 2023-08-12: U; 2023-08-13: U; 2023-08-14: U; 2023-08-15: U; 2023-08-16: U; 2023-08-17: U; 2023-08-18: U; 2023-09-18: M; 2023-09-19: M; 2023-09-20: M; 2023-09-21: M; 2023-09-22: M; 2023-09-23: M; 2023-09-24: M; 2023-09-25: M; 2023-09-26: M; 2023-09-27: M; 2023-09-28: M; 2023-09-29: M; 2023-09-30: M; 2023-10-01: M; 2023-10-02: M; 2023-10-03: M; 2023-10-04: M; 2023-10-05: M; 2023-10-06: M; 2023-10-07: M; 2023-10-08: M; 2023-10-09: M; 2023-10-10: M; 2023-10-11: M; 2023-10-12: M; 2023-10-13: M; 2023-10-14: M; 2023-10-15: M; 2023-10-16: M; 2023-10-17: M; 2023-10-18: M; 2023-10-19: M; 2023-10-20: M; 2023-10-21: M; 2023-10-22: M; 2023-10-23: M; 2023-10-24: M; 2023-10-25: M; 2023-10-26: M; 2023-10-27: M; 2023-10-30: H; 2023-10-31: H; 2023-11-01: H; 2023-11-02: H; 2023-11-03: H; 2023-11-04: H; 2023-11-05: H; 2023-11-06: H; 2023-11-07: H; 2023-11-08: H; 2023-11-09: H; 2023-11-10: H; 2023-11-11: H; 2023-11-12: H; 2023-11-13: H; 2023-11-14: H; 2023-11-15: H; 2023-11-16: H; 2023-11-17: H; 2023-11-18: H; 2023-11-19: H; 2023-11-20: H; 2023-11-21: H; 2023-11-22: H; 2023-11-23: H; 2023-11-24: H | YEAR END
P3 | [365 empty] | YEAR END | bar: 2023-02-20 to 2023-04-21; 2023-06-05 to 2023-09-01; 2023-11-20 to 2023-12-22
P4 | [365 empty] | YEAR END | bar: 2023-01-02 to 2023-03-03; 2023-04-17 to 2023-06-02; 2023-07-24 to 2023-10-20; 2023-11-06 to 2023-11-24
P5 | [365 empty] | YEAR END | bar: 2023-02-27 to 2023-04-07; 2023-04-24 to 2023-12-31
2024-01-01
| Jan | [30 empty] | Feb | [28 empty] | Mar | [91 empty] | Jun | [60 empty] | Aug | [59 empty] | Sep | Oct | [30 empty] | Nov
U = Unavailable | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon
Assigned to: | time axis 2024-01-01 to 2024-12-30
P1 | [365 empty] | YEAR END | bar: 2024-05-27 to 2024-07-05; 2024-07-08 to 2024-09-13; 2024-10-21 to 2024-11-29
P3 | 2024-01-15: H; 2024-01-16: H; 2024-01-17: H; 2024-01-18: H; 2024-01-19: H; 2024-01-20: H; 2024-01-21: H; 2024-01-22: H; 2024-01-23: H; 2024-01-24: H; 2024-01-25: H; 2024-01-26: H; 2024-01-27: H; 2024-01-28: H; 2024-01-29: H; 2024-01-30: H; 2024-01-31: H; 2024-02-01: H; 2024-02-02: H; 2024-02-03: H; 2024-02-04: H; 2024-02-05: H; 2024-02-06: H; 2024-02-07: H; 2024-02-08: H; 2024-02-09: H; 2024-02-10: H; 2024-02-11: H; 2024-02-12: H; 2024-02-13: H; 2024-02-14: H; 2024-02-15: H; 2024-02-16: H; 2024-02-17: H; 2024-02-18: H; 2024-02-19: H; 2024-02-20: H; 2024-02-21: H; 2024-02-22: H; 2024-02-23: H; 2024-02-24: H; 2024-02-25: H; 2024-02-26: H; 2024-02-27: H; 2024-02-28: H; 2024-02-29: H; 2024-03-01: H; 2024-03-02: H; 2024-03-03: H; 2024-03-04: H; 2024-03-05: H; 2024-03-06: H; 2024-03-07: H; 2024-03-08: H; 2024-03-09: H; 2024-03-10: H; 2024-03-11: H; 2024-03-12: H; 2024-03-13: H; 2024-03-14: H; 2024-03-15: H; 2024-03-16: H; 2024-03-17: H; 2024-03-18: H; 2024-03-19: H; 2024-03-20: H; 2024-03-21: H; 2024-03-22: H; 2024-03-23: H; 2024-03-24: H; 2024-03-25: H; 2024-03-26: H; 2024-03-27: H; 2024-03-28: H; 2024-03-29: H; 2024-03-30: H; 2024-03-31: H; 2024-04-01: H; 2024-04-02: H; 2024-04-03: H; 2024-04-04: H; 2024-04-05: H; 2024-04-06: H; 2024-04-07: H; 2024-04-08: H; 2024-04-09: H; 2024-04-10: H; 2024-04-11: H; 2024-04-12: H; 2024-04-15: M; 2024-04-16: M; 2024-04-17: M; 2024-04-18: M; 2024-04-19: M; 2024-04-20: M; 2024-04-21: M; 2024-04-22: M; 2024-04-23: M; 2024-04-24: M; 2024-04-25: M; 2024-04-26: M; 2024-04-27: M; 2024-04-28: M; 2024-04-29: M; 2024-04-30: M; 2024-05-01: M; 2024-05-02: M; 2024-05-03: M; 2024-05-04: M; 2024-05-05: M; 2024-05-06: M; 2024-05-07: M; 2024-05-08: M; 2024-05-09: M; 2024-05-10: M; 2024-05-11: M; 2024-05-12: M; 2024-05-13: M; 2024-05-14: M; 2024-05-15: M; 2024-05-16: M; 2024-05-17: M; 2024-05-18: M; 2024-05-19: M; 2024-05-20: M; 2024-05-21: M; 2024-05-22: M; 2024-05-23: M; 2024-05-24: M; 2024-07-29: U; 2024-07-30: U; 2024-07-31: U; 2024-08-01: U; 2024-08-02: U; 2024-08-03: U; 2024-08-04: U; 2024-08-05: U; 2024-08-06: U; 2024-08-07: U; 2024-08-08: U; 2024-08-09: U; 2024-08-10: U; 2024-08-11: U; 2024-08-12: U; 2024-08-13: U; 2024-08-14: U; 2024-08-15: U; 2024-08-16: U; 2024-08-17: U; 2024-08-18: U; 2024-08-19: U; 2024-08-20: U; 2024-08-21: U; 2024-08-22: U; 2024-08-23: U; 2024-08-24: U; 2024-08-25: U; 2024-08-26: U; 2024-08-27: U; 2024-08-28: U; 2024-08-29: U; 2024-08-30: U; 2024-08-31: U; 2024-09-01: U; 2024-09-02: U; 2024-09-03: U; 2024-09-04: U; 2024-09-05: U; 2024-09-06: U | YEAR END
P4 | [365 empty] | YEAR END | bar: 2024-01-15 to 2024-03-01; 2024-05-13 to 2024-07-26; 2024-09-16 to 2024-11-29
P5 | [365 empty] | YEAR END
2025-01-01
| Jan | [30 empty] | Feb | [27 empty] | Mar | [30 empty] | Apr | [29 empty] | May | [30 empty] | Jun | [29 empty] | Jul | [30 empty] | Aug | [30 empty] | Sep | [29 empty] | Oct | [30 empty] | Nov | [29 empty] | Dec
U = Unavailable | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed
Assigned to: | time axis 2025-01-01 to 2025-12-31
P1 | 2025-03-17: M; 2025-03-18: M; 2025-03-19: M; 2025-03-20: M; 2025-03-21: M; 2025-03-22: M; 2025-03-23: M; 2025-03-24: M; 2025-03-25: M; 2025-03-26: M; 2025-03-27: M; 2025-03-28: M; 2025-03-29: M; 2025-03-30: M; 2025-03-31: M; 2025-04-01: M; 2025-04-02: M; 2025-04-03: M; 2025-04-04: M; 2025-04-05: M; 2025-04-06: M; 2025-04-07: M; 2025-04-08: M; 2025-04-09: M; 2025-04-10: M; 2025-04-11: M; 2025-04-12: M; 2025-04-13: M; 2025-04-14: M; 2025-04-15: M; 2025-04-16: M; 2025-04-17: M; 2025-04-18: M; 2025-04-19: M; 2025-04-20: M; 2025-04-21: M; 2025-04-22: M; 2025-04-23: M; 2025-04-24: M; 2025-04-25: M; 2025-04-26: M; 2025-04-27: M; 2025-04-28: M; 2025-04-29: M; 2025-04-30: M; 2025-05-01: M; 2025-05-02: M; 2025-05-03: M; 2025-05-04: M; 2025-05-05: M; 2025-05-06: M; 2025-05-07: M; 2025-05-08: M; 2025-05-09: M; 2025-05-10: M; 2025-05-11: M; 2025-05-12: M; 2025-05-13: M; 2025-05-14: M; 2025-05-15: M; 2025-05-16: M; 2025-05-17: M; 2025-05-18: M; 2025-05-19: M; 2025-05-20: M; 2025-05-21: M; 2025-05-22: M; 2025-05-23: M; 2025-05-24: M; 2025-05-25: M; 2025-05-26: M; 2025-05-27: M; 2025-05-28: M; 2025-05-29: M; 2025-05-30: M; 2025-05-31: M; 2025-06-01: M; 2025-07-14: U; 2025-07-15: U; 2025-07-16: U; 2025-07-17: U; 2025-07-18: U; 2025-07-19: U; 2025-07-20: U; 2025-07-21: U; 2025-07-22: U; 2025-07-23: U; 2025-07-24: U; 2025-07-25: U; 2025-07-26: U; 2025-07-27: U; 2025-07-28: U; 2025-07-29: U; 2025-07-30: U; 2025-07-31: U; 2025-08-01: U; 2025-08-02: U; 2025-08-03: U; 2025-08-04: U; 2025-08-05: U; 2025-08-06: U; 2025-08-07: U; 2025-08-08: U; 2025-08-09: U; 2025-08-10: U; 2025-08-11: U; 2025-08-12: U; 2025-08-13: U; 2025-08-14: U; 2025-08-15: U; 2025-08-16: U; 2025-08-17: U; 2025-08-18: U; 2025-08-19: U; 2025-08-20: U; 2025-08-21: U; 2025-08-22: U; 2025-08-23: U; 2025-08-24: U; 2025-08-25: H; 2025-08-26: H; 2025-08-27: H; 2025-08-28: H; 2025-08-29: H; 2025-08-30: H; 2025-08-31: H; 2025-09-01: H; 2025-09-02: H; 2025-09-03: H; 2025-09-04: H; 2025-09-05: H; 2025-09-06: H; 2025-09-07: H; 2025-09-08: H; 2025-09-09: H; 2025-09-10: H; 2025-09-11: H; 2025-09-12: H; 2025-09-13: H; 2025-09-14: H; 2025-09-15: H; 2025-09-16: H; 2025-09-17: H; 2025-09-18: H; 2025-09-19: H; 2025-09-20: H; 2025-09-21: H; 2025-11-17: U; 2025-11-18: U; 2025-11-19: U; 2025-11-20: U; 2025-11-21: U; 2025-11-22: U; 2025-11-23: U; 2025-11-24: U; 2025-11-25: U; 2025-11-26: U; 2025-11-27: U; 2025-11-28: U; 2025-11-29: U; 2025-11-30: U; 2025-12-01: U; 2025-12-02: U; 2025-12-03: U; 2025-12-04: U; 2025-12-05: U; 2025-12-06: U; 2025-12-07: U; 2025-12-08: U; 2025-12-09: U; 2025-12-10: U; 2025-12-11: U; 2025-12-12: U; 2025-12-13: U; 2025-12-14: U | YEAR END
P3 | [365 empty] | YEAR END | bar: 2025-01-13 to 2025-03-16; 2025-10-13 to 2025-11-23
P4 | 2025-02-17: P; 2025-02-18: P; 2025-02-19: P; 2025-02-20: P; 2025-02-21: P; 2025-02-22: P; 2025-02-23: P; 2025-02-24: P; 2025-02-25: P; 2025-02-26: P; 2025-02-27: P; 2025-02-28: P; 2025-03-01: P; 2025-03-02: P; 2025-03-03: P; 2025-03-04: P; 2025-03-05: P; 2025-03-06: P; 2025-03-07: P; 2025-03-08: P; 2025-03-09: P; 2025-03-10: P; 2025-03-11: P; 2025-03-12: P; 2025-03-13: P; 2025-03-14: P; 2025-03-15: P; 2025-03-16: P; 2025-03-17: P; 2025-03-18: P; 2025-03-19: P; 2025-03-20: P; 2025-03-21: P; 2025-03-22: P; 2025-03-23: P; 2025-03-24: P; 2025-03-25: P; 2025-03-26: P; 2025-03-27: P; 2025-03-28: P; 2025-03-29: P; 2025-03-30: P; 2025-03-31: P; 2025-04-01: P; 2025-04-02: P; 2025-04-03: P; 2025-04-04: P; 2025-04-05: P; 2025-04-06: P; 2025-04-07: P; 2025-04-08: P; 2025-04-09: P; 2025-04-10: P; 2025-04-11: P; 2025-04-12: P; 2025-04-13: P; 2025-04-14: P; 2025-04-15: P; 2025-04-16: P; 2025-04-17: P; 2025-04-18: P; 2025-04-19: P; 2025-04-20: P; 2025-04-21: P; 2025-04-22: P; 2025-04-23: P; 2025-04-24: P; 2025-04-25: P; 2025-04-26: P; 2025-04-27: P; 2025-04-28: P; 2025-04-29: P; 2025-04-30: P; 2025-05-01: P; 2025-05-02: P; 2025-05-03: P; 2025-05-04: P; 2025-05-05: P; 2025-05-06: P; 2025-05-07: P; 2025-05-08: P; 2025-05-09: P; 2025-05-10: P; 2025-05-11: P; 2025-05-12: P; 2025-05-13: P; 2025-05-14: P; 2025-05-15: P; 2025-05-16: P; 2025-05-17: P; 2025-05-18: P; 2025-05-19: P; 2025-05-20: P; 2025-05-21: P; 2025-05-22: P; 2025-05-23: P; 2025-05-24: P; 2025-05-25: P; 2025-05-26: P; 2025-05-27: P; 2025-05-28: P; 2025-05-29: P; 2025-05-30: P; 2025-05-31: P; 2025-06-01: P; 2025-06-02: P; 2025-06-03: P; 2025-06-04: P; 2025-06-05: P; 2025-06-06: P; 2025-06-07: P; 2025-06-08: P; 2025-08-25: U; 2025-08-26: U; 2025-08-27: U; 2025-08-28: U; 2025-08-29: U; 2025-08-30: U; 2025-08-31: U; 2025-09-01: U; 2025-09-02: U; 2025-09-03: U; 2025-09-04: U; 2025-09-05: U; 2025-09-06: U; 2025-09-07: U; 2025-09-08: U; 2025-09-09: U; 2025-09-10: U; 2025-09-11: U; 2025-09-12: U; 2025-09-13: U; 2025-09-14: U; 2025-09-15: U; 2025-09-16: U; 2025-09-17: U; 2025-09-18: U; 2025-09-19: U; 2025-09-20: U; 2025-09-21: U; 2025-09-22: U; 2025-09-23: U; 2025-09-24: U; 2025-09-25: U; 2025-09-26: U; 2025-09-27: U; 2025-09-28: U; 2025-09-29: U; 2025-09-30: U; 2025-10-01: U; 2025-10-02: U; 2025-10-03: U; 2025-10-04: U; 2025-10-05: U; 2025-10-06: U; 2025-10-07: U; 2025-10-08: U; 2025-10-09: U; 2025-10-10: U; 2025-10-11: U; 2025-10-12: U; 2025-10-13: M; 2025-10-14: M; 2025-10-15: M; 2025-10-16: M; 2025-10-17: M; 2025-10-18: M; 2025-10-19: M; 2025-10-20: M; 2025-10-21: M; 2025-10-22: M; 2025-10-23: M; 2025-10-24: M; 2025-10-25: M; 2025-10-26: M; 2025-10-27: M; 2025-10-28: M; 2025-10-29: M; 2025-10-30: M; 2025-10-31: M; 2025-11-01: M; 2025-11-02: M; 2025-11-03: M; 2025-11-04: M; 2025-11-05: M; 2025-11-06: M; 2025-11-07: M; 2025-11-08: M; 2025-11-09: M; 2025-11-10: M; 2025-11-11: M; 2025-11-12: M; 2025-11-13: M; 2025-11-14: M; 2025-11-15: M; 2025-11-16: M | YEAR END
P5 | [365 empty] | YEAR END | bar: 2025-05-12 to 2025-12-31
| U | Typical Use
| M | Portable Maintenance
| H | In Use by Hydro including Newfoundland Power preparation and transport
| P | In Use by PEI
Note on HA23: Portable Substation P3 was in-service from July 27 to July 31 at Long Pond Substation, but was in place on standby for a longer period of time. Due to the nature of the work, P3 could have been decommissioned and mobilized within a timely period if an emergency had arisen anytime outside this five-day window while the unit was on standby.